## Material Master Data
Classification according to MultiECAD / ECLASS Advanced
Applies to ECLASS numbers (v9/v10/v11/v12/v13)
Not to be filled in for cable PDT
| Must field | Must field | Must field | Must field | Must field | Optional field | Optional field | Optional field | Optional field | Optional field | Should field | Should field | Optional field | Optional field | Must field | Optional field | Optional field | Must field | Must field | Optional field | Optional field | Optional field | Must field if not already available in the catalog otherways notice attribute name in CADENAS eCATALOGsolutions | Must field if not already available in the catalog otherways notice attribute name in CADENAS eCATALOGsolutions | Must field if not already available in the catalog otherways notice attribute name in CADENAS eCATALOGsolutions | Must field if not already available in the catalog otherways notice attribute name in CADENAS eCATALOGsolutions | Optional | Optional | Optional | Optional | Optional | Optional | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field
| Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Description DE | Description DE | Description EN | Description EN | Size | Size | Size | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property
ECLASS property | AAO677 | MANUFACTURER_URL | AAQ326 | AAO676 | AAV774/AAO057 | CERTIFICATION | AAO663 | AAN743 | AAD931 | Enter General table name | CNS_ELECTRO_MATERIAL | AAF040 | BAD875 | AAY811 | AAO057 | AAW338 | AAY812 | AAU731 | AAU732 | AAU733 | AAU734 | ABA671 | CNS_DESCRIPTION_LONG / AAU734 | CNS_DESCRIPTION_SHORT | CNS_DESCRIPTION_LONG / AAU734 | CNS_DESCRIPTION_SHORT | BAB577 | BAF016 | BAA020 | AAC314 | AAC341 | ABC244 | AAO336 | AAS441 | AAS441 | AAS442 | AAS442 | AAS443 | AAS443
Variable name (CNS internal) | Only Classification | Only Classification | AAQ326 | CNSORDERNO | CNSTYPECODE | CERTIFICATION | AAO663 | CNS_EAN | CNS_CTN | Enter General table name | CNS_ELECTRO_MATERIAL | CNS_MASSEXACT | BAD875 | AAY811 | AAO057 | AAW338 | AAY812 | AAU731 | AAU732 | AAU733 | AAU734 | ABA671 | CNS_DESCRIPTION_LONG / AAU734 | CNS_DESCRIPTION_SHORT | CNS_DESCRIPTION_LONG / AAU734 | CNS_DESCRIPTION_SHORT | BAB577 | BAF016 | BAA020 | 00001C001 | IEC_81346_2_SUBCLASS_CODE | IEC_81346_2_SUBCLASS_CODE_3 | CNS_MOUNTING_ORIENTATION | CNS_ROTATION_ON_THE_HORIZONTAL_AXIS_MIN | CNS_ROTATION_ON_THE_HORIZONTAL_AXIS_MAX | CNS_ROTATION_ON_THE_VERTICAL_AXIS_MIN | CNS_ROTATION_ON_THE_VERTICAL_AXIS_MAX | CNS_ROTATION_OF_THE_MOUNTING_PLATFORM_MIN | CNS_ROTATION_OF_THE_MOUNTING_PLATFORM_MAX
English variable description | Manufacturer name | Manufacturer's web address (Main product webpage of vendor) | Product specific web address | Articlenumber | Typecode | Certificates | GTIN | EAN | Customs tariff number | value for custom table | Material (insert number or the name of the material, in common 61 values possible ) 1 - Plastic 2 - GRP 3 - PVC 4 - galvanic/electrolytic zinc plated 5 - Polystyrene (PS) 6 - ABS 7 - Acrylic 8 - Agate 9 - Aluminium die casting … | Weight /Mass (netto) | Net weight | URI of the product (string) | Product type (string) | Manufacturer product designation (string) | GLN of manufacturer (integer) | Manufacturer product family (string) | Manufacturer product base (string) | Manufacturer product order suffix (string) | Manufacturer product description (string) | product identifier (string) | Product description long (if not available could be mapped with Variable [NB] ) | Product description short | Product description long (if not available could be mapped with Variable [NB] ) | Product description short | Depth (otherwais calculated from the bounding box) | Width (otherwais calculated from the bounding box) | Height (otherwais calculated from the bounding box) | Class code level 1 (IEC 81346-2) (otherwise from config) | Class code level 2 (IEC 81346-2) | Class code level 3 (IEC 81346-2) | Mounting Orientation 1 - horizontal 2 - vertical down 3 - vertical up 4 - vertical | Rotation on the horizontal axis (MIN) | Rotation on the horizontal axis (MAX) | Rotation on the vertical axis (MIN) | Rotation on the vertical axis (MAX) | Rotation of the mounting platform (MIN) | Rotation of the mounting platform (MAX)
Units | - | - | - | - | - | - | - | - | - | Enter unit | - | kg | g | - | - | - | - | - | - | - | - | - | - | - | - | - | mm | mm | mm | - | - | - | - | ° | ° | ° | ° | ° | °
| Eaton | https://www.eaton.com/us/en-us.html | https://www.eaton.com/gb/en-gb/skuPage.EP-502476.html | 502476 | PSN-FP-800/150-45/S31MU | CE |  | 9010653073673 |  |  |  | 1.3 | [10 empty] | ProfiSNAP Frontplatte, für Gehäusebreite 800 mm, H=150 mm, mit 45 mm Ausschnitt (symmetrisch geteilt) | Eaton xEnergy Basic – Sonstiges Zubehör | ProfiSNAP Front Plate, for enclosure width 800mm, H=150mm, with 45mm cut-out (symmetrical divided) | Eaton xEnergy Basic other accessory |  |  |  | U
| Eaton | https://www.eaton.com/us/en-us.html | https://www.eaton.com/gb/en-gb/skuPage.EP-502477.html | 502477 | PSN-FP-800/150-45/A22-9MU | CE |  | 9010653073178 |  |  |  | 1.3 | [10 empty] | ProfiSNAP Frontplatte, für Gehäusebreite 800 mm, H=150 mm, mit 45 mm Ausschnitt (asymmetrisch geteilt) | Eaton xEnergy Basic – Sonstiges Zubehör | ProfiSNAP Front Plate, for enclosure width 800mm, H=150mm, with 45mm cut-out (asymmetrical divided) | Eaton xEnergy Basic other accessory |  |  |  | U
| Eaton | https://www.eaton.com/us/en-us.html | https://www.eaton.com/gb/en-gb/skuPage.EP-502478.html | 502478 | PSN-FP-1000/150-45/S42MU | CE |  | 9010653073185 |  |  |  | 1.7 | [10 empty] | ProfiSNAP Frontplatte, für Gehäusebreite 1000 mm, H=150 mm, mit 45 mm Ausschnitt (symmetrisch geteilt) | Eaton xEnergy Basic – Sonstiges Zubehör | ProfiSNAP Front Plate, for enclosure width 1000mm, H=150mm, with 45mm cut-out (symmetrical divided) | Eaton xEnergy Basic other accessory |  |  |  | U
| Eaton | https://www.eaton.com/us/en-us.html | https://www.eaton.com/gb/en-gb/skuPage.EP-502479.html | 502479 | PSN-FP-1000/150-45/A29-13MU | CE |  | 9010653074298 |  |  |  | 1.7 | [10 empty] | ProfiSNAP Frontplatte, für Gehäusebreite 1000 mm, H=150 mm, mit 45 mm Ausschnitt (asymmetrisch geteilt) | Eaton xEnergy Basic – Sonstiges Zubehör | ProfiSNAP Front Plate, for enclosure width 1000mm, H=150mm, with 45mm cut-out (asymmetrical divided) | Eaton xEnergy Basic other accessory |  |  |  | U

## Additional Documents
|  |  | CNSELEK¦5¦1 | CNSELEK¦5¦1 | CNSELEK¦5¦1 | CNSELEK¦5¦1 | CNSELEK¦5¦1
Must field if documents are added | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field INTERNAL (für Buchi)
Material Master Data | Document information | Document information | Document information | Document information | Document information | Document information | Document information
Articlenumber | Document ID | Document type | Document path | Document | Document index | Description | Parent Entity
|  |  | 00001B001 | 000026001 | CNS_DATASHEET_INDEX | CNS_DATASHEET_DESCRIPTION
Articlenumber | Document ID (if there are more than one document for one product) | Document type -pdf -jpg -png -dxf | Document path (default language) - local import path /hyperlink CNSELEK¦5¦1 | Document Language CNSELEK¦5¦1 | Document index CNSELEK¦5¦1 | Document description (current Language) CNSELEK¦5¦1 | Parent Entity CNSELEK¦5¦4Parent Class Type” (00004B001)
502476 | 1 | pdf | https://www.eaton.com/gb/en-gb/skuPage.EP-502476.pdf | english | 1 | Datasheet (EN)
502477 | 1 | pdf | https://www.eaton.com/gb/en-gb/skuPage.EP-502477.pdf | english | 1 | Datasheet (EN)
502478 | 1 | pdf | https://www.eaton.com/gb/en-gb/skuPage.EP-502478.pdf | english | 1 | Datasheet (EN)
502479 | 1 | pdf | https://www.eaton.com/gb/en-gb/skuPage.EP-502479.pdf | english | 1 | Datasheet (EN)
502476 | 2 | pdf | https://www.eaton.com/de/de-de/skuPage.EP-502476.pdf | german | 2 | Datasheet (GER)
502477 | 2 | pdf | https://www.eaton.com/de/de-de/skuPage.EP-502477.pdf | german | 2 | Datasheet (GER)
502478 | 2 | pdf | https://www.eaton.com/de/de-de/skuPage.EP-502478.pdf | german | 2 | Datasheet (GER)
502479 | 2 | pdf | https://www.eaton.com/de/de-de/skuPage.EP-502479.pdf | german | 2 | Datasheet (GER)

## Connection Point Information
ClassId | [10 empty] | CNS_CP¦4¦3 |  |  |  |  | NEU |  | CNS_CP¦4¦7 | CNS_CP¦4¦7 | CNS_CP¦4¦7 | CNS_CP_AREA_BOX | CNS_CP_AREA_BOX | CNS_CP_AREA_BOX | CNS_CP_AREA_BOX | CNS_CP_AREA_BOX | CNS_CP_AREA_BOX | CNS_CP_AREA_BOX | CNS_CP¦4¦6 | CNS_CP¦4¦6 | CNS_CP¦4¦6 | CNS_CP¦4¦6 | CNS_CP¦4¦6 | CNS_CP¦4¦6 | CNS_CP¦4¦6 | CNS_CP¦4¦6 | CNS_CP¦4¦6 | CNS_CP¦4¦6 | CNS_CP¦4¦6 | CNS_CP¦4¦6 | CNS_CP¦4¦15¦3 | CNS_CP¦4¦15¦3 | CNS_CP¦4¦15¦3 | CNS_CP¦4¦15¦3 | CNS_CP¦4¦15¦3 | CNS_CP¦4¦15¦3 | CNS_CP¦4¦15¦3 | CNS_CP¦4¦15¦3 |  | CNS_CP¦4¦3 | CNSELEK¦5¦9¦1 | CNSELEK¦5¦9¦1 | CNSELEK¦5¦9¦1 | CNSELEK¦5¦9¦1 | CNSELEK¦5¦9¦1 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNSELEK¦5¦6¦1¦1 | CNSELEK¦5¦6¦1¦1 | CNSELEK¦5¦6¦1¦1 | CNSELEK¦5¦6¦1¦1 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦8 | CNS_CP¦4¦8 | CNS_CP¦4¦8 | CNS_CP¦4¦8 | CNS_CP¦4¦8 | CNS_CP¦4¦8 | CNS_CP¦4¦14 | CNS_CP¦4¦14 | CNS_CP¦4¦14 | CNS_CP¦4¦14 | CNS_CP¦4¦14 |  |  |  | CNS_CP¦4¦16 | CNS_CP¦4¦16 | CNS_CP¦4¦16 | CNS_CP¦4¦16 | CNS_CP¦4¦16 | CNS_CP¦4¦16 | CNS_CP¦4¦15¦1 | CNS_CP¦4¦15¦1 | CNS_CP¦4¦15¦1 | CNS_CP¦4¦15¦1 | CNS_CP¦4¦15¦1 | CNS_CP¦4¦15¦1 | CNS_CP¦4¦15¦1 | CNS_CP¦4¦15¦1 | CNS_CP¦4¦15¦1 | CNS_CP¦4¦15¦2 |  | CNS_CP¦4¦15¦2 | CNS_CP¦4¦15¦2 | CNS_CP¦4¦15¦2 | CNS_CP¦4¦15¦2 | CNS_CP¦4¦15¦2 | CNS_CP¦4¦15¦2 | CNS_CP¦4¦15¦2
| to be filled in for *Connection |  |  |  |  | ECP, Plug, Pneumatic, Prozess, Hydraulic, Mechanic, Optical, Plug Element | ECP, Plug, Pneumatic, Prozess, Hydraulic, Mechanic, Optical, Plug Element | ECP, Plug, Pneumatic, Prozess, Hydraulic, Mechanic, Optical, Plug Element | ECP, Plug, Pneumatic, Prozess, Hydraulic, Mechanic, Optical, Plug Element | ECP, Plug, Pneumatic, Prozess, Hydraulic, Mechanic, Optical, Plug Element | ECP | ECP, Plug, Pneumatic, Prozess, Hydraulic, Mechanic, Optical | ECP, Plug, Pneumatic, Prozess, Hydraulic, Mechanic, Optical | * | * | * |  | MD | MD | MD | BAR | BAR | BAR | BAR | BAR | BAR | BAR | MP | MP | MP | MP | MP | MP | MP-Area | MP-Area | MP-Area | MP-Area | MP-Area | MP-Area | GRD | GRD | GRD | GRD | GRD | GRD | GRD | GRD | ECP, Plug, Pneumatic, Prozess, Hydraulic, Mechanic, Optical | ECP | Rated Values | Rated Values | Rated Values | Rated Values | Rated Values | ECP | ECP | ECP | ECP | ECP | ECP | ECP | ECP | ECP | ECP | ECP | ECP | ECP | ECP/GeomSpec | ECP/GeomSpec | ECP/GeomSpec | ECP/GeomSpec | ECP | ECP | ECP | ECP | ECP | ECP | ECP | ECP | ECP | ECP | ECP | Drill | Drill | Drill | Drill | Drill | Drill | Drill | Drill | Drill | Drill | Drill | Drill | Drill | PLUG | PLUG | PLUG | PLUG | PLUG | PLUG | Plug Element (Terminal) | Plug Element (Terminal) | Plug Element (Terminal) | Plug Element (Terminal) | Plug Element (Terminal) | Pneumatic, Hydraulic | Pneumatic, Hydraulic | Pneumatic, Hydraulic | Actuation Vector | Actuation Vector | Actuation Vector | Actuation Vector | Actuation Vector | Actuation Vector | ALAB / Labelling Area | ALAB / Labelling Area | ALAB / Labelling Area | ALAB / Labelling Area | ALAB / Labelling Area | ALAB / Labelling Area | ALAB / Labelling Area | ALAB / Labelling Area | ALAB / Labelling Area | ARES / Restricted Area | ARES / Restricted Area | ARES / Restricted Area | ARES / Restricted Area | ARES / Restricted Area | ARES / Restricted Area | ARES / Restricted Area | ARES / Restricted Area | ARES / Restricted Area
Priority | This tab is not to be filled in for cable PDT, please use "wire ID information" tab instead. Also not to be filled in for subcircuit PDT. | Must field | Must field only if coordinates are available | Optional field | Optional field | Must field | Optional field | Optional field | Optional field | Optional field | Must Field if available if not created from ECADPORT | Must field | Must Field if available if not created from ECADPORT | Optional field | Optional field | Optional field | Optional field | Must field | Must field | Must field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Must field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Must field | Must field | Must field | Optional field | Must field | Must field | Must field | Must field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Must field | Optional field | Must field | Optional field | Optional field | Optional | Optional | Optional | Optional field | Optional field | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Must field | Must field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field (only one of the columns must be filled in) |  | Optional field | Optional field | Optional field | Must field | Optional field | Optional field | Optional field | Optional field | Optional field | Must field | Optional field | Optional field | Optional field | Must field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Must field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field
Type |  | Material Master Data | Product property | Project Handling | Project Handling | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property
PropertyId | ECLASS property | AAO676 | None | CNS_PROJECT_PATH | CNS_CONDITION | AAC342 | AAN342 | AAN342 | AAN341 | AAN497 | AAM734 | AAN496 | AAB754 | AAC338 | AAC338_CD | AAM479 | AAC338_SR | AAS191 | Mounting description | Link MD | barred/restricted Area, Length (Y) | barred/restricted Area, Width (X) | barred/restricted Area, Height (Z) | AAM654 | barred/restricted Area, Translate X | barred/restricted Area, Translate Y | barred/restricted Area, Translate Z | AAN575 | AAN576 | AAN472 | AAN577 | AAN577 | AAN608 | 00006F001 | 000070001 | CNS_AREA_EXTENSION_U | CNS_AREA_EXTENSION_V | CNS_MOUNTING_RECEPTACLE_CONTURE | CNS_COMPONENT_FUNCTION_3D | CNS_SIM_DESCRIPTION | CNS_SIM_DESCRIPTION | CNS_UINCREMENT | CNS_VINCREMENT | CNS_ULINENUM | CNS_VLINENUM | CNS_UOFFSET | CNS_UOFFSET | AAC313 | AAN413 | CNS_PARENT_CLS_ID_INST_ID | BAH005 | AAB485 | AAB491 | AAN391 | CROSSSECTION_MIN | CROSSSECTION_MAX | AAS444 | CROSSSECTION_MIN_AWG | CROSSSECTION_MAX_AWG | AAC384 | AAN512_MIN | AAN512_MAX | AAN513_MIN | AAN513_MAX | MAX_WIRE_COUNT | AAB202 | AAN404 | CNS_PARENT_CLS_ID_INST_ID | CNS_MIN_INSULATION_DIAMETER | CNS_MAX_INSULATION_DIAMETER | AAG644 | AAS447_MIN | AAS447_MAX | AAC207 | AAC202 | AAM557 | AAM558 | AAM559 | AAM560 | AAM561 | AAM657 | AAM658 | AAN575 | CNS_PARENT_CLS_ID_INST_ID | AAS449 | AAN476 | 000005001 | 00000B001 | - | CNS_DRILLING_ANGLE | CNS_DRILLING_DIMENSION1 | CNS_DRILLING_DIMENSION1 | CNS_DRILLING_DIMENSION2 | CNS_DRILLING_DIMENSION3 | CNS_DRILLING_REPETITION | Plug Connector Designation | AAN579 | AAN580 | AAR935 | AAR936 | ABC338 | CNS_PARENT_CLS_ID_INST_ID | AAN563 | AAN562 | AAC343** | AAN562 | ? | ? | ? | - | - | - | - | - | - | 000039001 | CNS_AREA_1_DIMENSION | CNS_AREA_2_DIMENSION | CNS_AREA_3_DIMENSION | AAZ399 | AAZ760 | AAS366 | AAZ375 | AAT099 | CNS_PARENT_CLS_ID_INST_ID | 000039001 | CNS_AREA_1_DIMENSION | CNS_AREA_2_DIMENSION | CNS_AREA_3_DIMENSION | AAZ399 | AAZ760 | AAS366 | CNS_RESTRICTED_AREA_TYPE
PropertyName | Variable name (CNS internal) | AAO676 | Only Classification | CNS_PROJECT_PATH | CNS_CONDITION | AAC342 | CNS_CONNECTION_DESCRIPTION | CNS_CONNECTION_DESCRIPTION | CNS_CONNECTION_DESIGNATION | CNS_CONNECTOR_REMOVIBLE | AAM734 | AAN496 | AAB754 | AAC338 | AAC338_CD | AAM479 | CNS_SYMBOL_REFERENCE | CNS_ATTR_NAME001 | CNS_SIM_DESCRIPTION | Link MD | CNSLENGTH | CNSWIDTH | CNSHEIGHT | CNS_TYPE_OF_BARRED_AREA | CNSTRANSX | CNSTRANSY | CNSTRANSZ | CNS_ATTR_NAME | 00006A001 | CNS_VARIANT_NAME | CNS_SIM_DESCRIPTION | CNS_SIM_DESCRIPTION | CNS_COMPONENT_MOUNTING_TYPE | 00006F001 | 000070001 | CNS_AREA_EXTENSION_U | CNS_AREA_EXTENSION_V | CNS_MOUNTING_RECEPTACLE_CONTURE | CNS_COMPONENT_FUNCTION_3D | CNS_SIM_DESCRIPTION | CNS_SIM_DESCRIPTION | CNS_UINCREMENT | CNS_VINCREMENT | CNS_ULINENUM | CNS_VLINENUM | CNS_UOFFSET | CNS_UOFFSET | Connection group | Connection function | CNS_PARENT_CLS_ID_INST_ID | CNS_RATED_VOLTAGE | CNS_RATED_CURRENT | CNS_RATED_ISOLATION_VOLTAGE | CNS_RATING_TO | CROSSSMIN | CROSSSMAX | AAS444 | CROSSSECTION_MIN_AWG | CROSSSECTION_MAX_AWG | AAC384 | AAN512_MIN | AAN512_MAX | AAN513_MIN | AAN513_MAX | MAXWC | AAB202 | 000023001 | CNS_PARENT_CLS_ID_INST_ID | AAB202 | AAB202 | CNS_SOCKET_SIZE | 00005E001 | 00005G001 | AAC207 | AAC202 | CNS_GALVANIC_ISOLATION_FROM_OUTPUTS | CNS_GALVANIC_ISOLATION_FROM_INPUTS | CNS_GALVANIC_ISOLATION_FROM_EARTH_GROUND | CNS_GALVANIC_ISOLATION_FROM_COMMUNICATION_INTERFACES | CNS_GALVANIC_ISOLATION_FROM_EXTERNAL_POWER_SUPPLIES | CNS_GALVANIC_ISOLATION_FROM_INTERNAL_POWER_SUPPLIES | CNS_GALVANIC_ISOLATION_FOR_GALVANIC_ISOLATION | CNS_ATTR_NAME | 00004D001 | AAS449 | AAN476 | 000005001 | AAQ664 | - | CNS_DRILLING_ANGLE | BAA561 | AAC381 | CNS_DRILLING_DIMENSION2 | CNS_DRILLING_DIMENSION3 | CNS_DRILLING_REPETITION | CNS_PLUG_CONNECTOR_DESIGNATION | CNS_DESIGN_OF_THE_PLUG_CONNECTION | CNS_TYPE_OF_PLUG_CONNECTION | CNS_PLUG_CONNECTOR_MOUNTING_ORIENTATION | CNS_DESCRIPTION_OF_THE_MOUNTING_ORIENTATION | CNS_CONNECTOR_CODING | CNS_PARENT_CLS_ID_INST_ID | CNS_EXECUTION_OF_THE_PLUG_CONNECTION | CNS_TYPE_OF_PLUG_CONNECTION | CNS_EXCHANGEABILITY_OF_THE_CONNECTOR_NAME | CNS_DOMAIN_OF_PLUG_CONNECTION | ? | ? | ? | - | - | - | - | - | - | 000039001 | CNS_AREA_1_DIMENSION | CNS_AREA_2_DIMENSION | CNS_AREA_3_DIMENSION | CNS_AREA_SHAPE | CNS_AREA_POLYGON_DATA | CNS_AREA_TEXT_ROTATION_ANGLE | CNS_SURFACE_TREATMENT_CODE | CNS_COLOR_NUMBER_ACCORDING_TO_RAL | CNS_PARENT_CLS_ID_INST_ID | 000039001 | CNS_AREA_1_DIMENSION | CNS_AREA_2_DIMENSION | CNS_AREA_3_DIMENSION | CNS_AREA_SHAPE | CNS_AREA_POLYGON_DATA | CNS_AREA_TEXT_ROTATION_ANGLE | CNS_RESTRICTED_AREA_TYPE
Description | English variable description | Articlenumber | Connection point name pins (suggestion is ECP_1 and a pattern f.e. a connector has 10 equal connections we need ECP_1-ECP_10, if on customer side available we take in X,Y,Z plus direction/orientation, if there are already a pattern use ECP_1 and in further lines ECP_2… to bring in the coordinates for this articlenumber) 1 - ECP_* 2 - OP 3 - MD 4 - MP 5 - PNCP_* / Pneumatic 6 - HCP_* / Hydrualic 7 - MCP_* / Mechanic 8 - PRCP_* / Process 9 - PLCP_* / Plug 10 - DRILL 11 - BAR_* / barred 12 - ALAB_*/ area labeling 13 - ARES_* / area restriction 14 - ACTV_* / actuating vector 15 - GRD_* / mounting grid 16 - PLECP_* / Plug Element | CNS project path | CNS condition | Connection name (applies only to ECP, PNCP, HCP, PRCP, PLCP) | Connection description (DE) | Connection description (EN) | Connection designation | 1 - Yes 2 - No | Connection Type Ongoing.-Nr. (insert number or the name 21 types possible) 1 - Band connection 2 - Bolt connection 3 - Cable terminal screw 4 - Clamping strap 5 - Conductor plate connection 6 - Female connector 7 - Flat plug-in connector 8 - Frame clamp 9 - Male connector 10 - Plug-in connection 11 - Rail connection 12 - Ring cable connection 13 - Screw connection 14 - Soldering lug connection 15 - Spring pulley connection 16 - Wire-Wrap connection 17 - Push-in connection 18 - Phase busbar connection 19 - Soldered connection 20 - Connection combination plug-socket 21 - Connection combination socket-plug | Connection direction 1- from behind 2 - from down 3 - from above 4 - in front 5 - from left 6 - from right | Symbolnumber IEC based Ongoing.-Nr. 1 - Female S00031 2 - Male S00032 3 - 999 applicable IEC Symbols | Function name | Channel designation | Supported protocol (buss-system) | Symbol name out of the symbol library | name of fixing variant | Type of mounting (70 values possible applies only to MD) 1 - flanged 2 - clamped 3 - welded 4 - 19 inch 5 - Assembly 6 - Base assembly 7 - Base assembly for stop doors 8 - Base assembly for two-way doors 9 - Base attachment 10 - Bus bar 11 - Bus bar fastening 12 - continuous covered screwed 13 - continuous one-sided covered screwed 14 - continuous visibly screwed 15 - cover screwed 16 - C-profile 17 - DIN track 18 - Direct assembly 19 - Direct extension 20 - Direct mounting/individual installation 21 - Doorframe assembly 22 - doorframe assembly/hinge side 23 - doorframe assembly/opposite to hinge side 24 - door hinge mounting/hinge side 25 - door hinge mounting/opposite to hinge side 26 - Door leaf mounting 27 - Flange 28 - Foot assembly 29 - Front assembly 30 - front attachment 31 - G track G32 32 - Inserted 33 - Installation 34 - integrable 35 - Metric 36 - Mountable and integrable 37 - Mounted 38 - Mounting face 39 - Parallel assembly 40 - Pinned 41 - pluggable 42 - pluggable 43 - plug in module 44 - Plug insert 45 - Pushed-through 46 - quick fastening 47 - Rail/direct mounted 48 - screwable 49 - Screwed 50 - Screw mounting 51 - Side extension 52 - Single installation 53 - Snap-mounted supporting rail 54 - Snap-on mounting 55 - Socket 56 - Special assembly 57 - Special profiles 58 - Surface mounted 59 - Terminal mount 60 - Top-hat/g-rail TH35/G32 61 - Top-hat rail TH15 62 - Top-hat rail TH35 63 - Top-hat rail TH75 64 - visibly screwed 65 - Wall mounting 66 - with cams 67 - With holder 68 - without cams 69 - Wall assembly 70 - DIN rail mounting | Link Mounting description connection point with classification | barred/restricted Area | barred/restricted Area | barred/restricted Area | Type of Barred Area 1 - Connection 2 - electrical to be energized parts 3 - electrical to earth parts 4- Maintenance 5 - thermal | barred/restricted Area | barred/restricted Area | barred/restricted Area | Component receptacle designation | Components receptacle description | Components receptacle variant designation | Components receptacle variants description (DE) | Components receptacle variants description (EN) | Type of Mounting of component 1 - build at the top 2 - build on down 3 - build on the device 4 - build under device 5 - inside 7 - side build on the right | Is Linear | Is Area | Extend U | Extend V | Mounting Receptacle Conture (external file ref) | Component function 3D 1 - Door 2 - Door left 3 - Door right 4 - Floor 5 - Mounting panel back 6 - Area floor sheets 7 - Floor sheet outside 8 - Floor sheet inside 9 - Door inside 10 - Door left inside 11 - Door left outside 12 - Door outside 13 - Door right inside ... | mounting grid description (DE) | mounting grid description (EN) | mounting grid x increment (step size) | mounting grid y increment (step size) | mounting grid x steps (integer) | mounting grid y steps (integer) | offset from Connpoint in local U direction (mm) | offset from Connpoint in local V direction (mm) | Connection group (grouping connection using a string identifier) | Connection function ( 30 values) 1 - Collektor 2 - Common contact 3 - Contact normally close 4 - Contact normally open 5 - Drain 6 - Emitter 7 - GND 8 - load input 9 - load output 10 - main circuit 11 - neutral conductor 12 - protective conductor 13 - shield 14 - signal input 15 - signal output 16 - Source 17 - supply voltage 18 - Connection 19 - equipotential bounding conductor 20 - earthing conductor 21 - device-specific 22 - level 1 23 - level 2 24 - level 3 25 - level 4 26 - level 5 27 - level 6 28 - level 7 29 - level 8 30 - level 9 | Connection Point ID | Rated Voltage | Rated Permanent Current | Rated Isolation Voltage | Rating to (5 values) 1 - IEC 2 - UL 3 - UR 4 - CSA 5 - CUL | Cross section nominal min (multi wire) | Cross section nominal max (multi wire) | Total max. cross section | Cross section nominal min (36 values possible) (2/0) (3/0) (4/0) 1 2 4 6 8 10 12 14 16 18 20 22 24 26 28 30 32 34 36 38 40 42 44 250 350 500 No Input 1000 900 550 600 750 300 | Cross section nominal max (36 values possible) (2/0) (3/0) (4/0) 1 2 4 6 8 10 12 14 16 18 20 22 24 26 28 30 32 34 36 38 40 42 44 250 350 500 No Input 1000 900 550 600 750 300 | Total max cross section AWG (2/0) (3/0) (4/0) 1 2 4 6 8 10 12 14 16 18 20 22 24 26 28 30 32 34 36 38 40 42 44 250 350 500 No Input 1000 900 550 600 750 300 | Cross section nominal min single wire (default equal to cross section nominal min) | Cross section nominal max single wire (default equal to cross section nominal max) | Cross section nominal min multi wire (default equal to cross section nominal min) | Cross section nominal max multi wire (default equal to cross section nominal max) | Max wire count | Strip length (isolation) | Bridge circuit connector 1 - No 2 - Yes | Connection Point ID | Insulation diameter min (Needed for crimper) | Insulation diameter max (Needed for crimper) | socket size 1 - #0 2 - #00 3 - #1 4 - #01 5 - #2 6 - #02 7 - #3 8 - #4 … | tightening torque (MIN) | tightening torque (MAX) | Material of the contact (insert number or the name of the material, 20 values possible) 1 - aluminum 2 - Beryllium copper 3 - Brass 4 - Bronze 5 - Ceramic 6 - Constantan alloy 7 - Copper 8 - CuSn 9 - CuZn 10 - Glass 11 - Iron 12 - Nickel 13 - Other copper alloys 14 - Other non-copper allows ... | Material of the contact coat (insert number or the name of the plating, 14 values possible) 1 - without 2 - Silver 3 - Gold 4 - Brass 5 - Bronze 6 - Gold 7 - Nickel/gold 8 - Nickel 9 - Palladium 10 - Silver 11 - Sn 12 - Tin 13 - untreated 14 - Zinc | galvanic isolation from outputs | galvanic isolation from inputs | galvanic isolation from earth/ground | galvanic isolation from communication interfaces | galvanic isolation from external power supplies | galvanic isolation from internal power supplies | reference standard for galvanic isolation | Component receptacle designation | associated mounting description (e.g. MD_1) | drilling name | drilling type 1 - Hole 2 - thread inch 3 - thread metric | drilling subtype (EPLAN specific) 1 - Round 2 - Rectangular 3 - Long-hole type 4 - Polyangular 5 - Hexagonal | name of drilling contour (dxf) -. Applies to drilling sub type: polyangular | Document ID of drilling contour | drilling angle | drilling dimension 1 -> diameter for drill (hole) / height for rectangular | drilling dimension 1 (coded thread size) -> diameter for drill (hole) / height for rectangular 1 - M3 2 - M10 3 - M4 4 - M5 5 - M6 6 - M8 7 - M12 8 - M14 | drilling dimension 2 -> width for rectangular | drilling dimension 3 | Drilling_Repetition (int) | Plug Connector Designation | Design of the plug Connection 1 - Female 2 - Male 3 - Mixed | Type of plug Connection 1 - axial screw connection 2 - Bolt connection 3 - Bus hood 4 - Cable 5 - cable 6 - Cable axial 7 - cable entry metrical 8 - cable entry PG 9 - Cable radial … | Plug Connector mounting orientation (double) | Description of the mounting orientation | Coding 1 - M-coded 2 - K-coded 3 - L-coded 4 - E-coded 5 - X-coded 6 - Y-coded 7 - T-coded 8 - S-Coded 9 - D-coded 10 - C-coded 11 - B-coded 12 - A-coded 13 - Socket … | Parent Plug Connector ID | Execution of the plug connection 1 - female connector 2 - male connector 3 - male or female connector 4 - optical plug connector 5 - plug body 6 - plug contact guide | Type of the plug connection 1 - Electrical 2 - hydraulic 3 - Mechanical 4 - optical 5 - pneumatic 6 - process | exchangeability of the connector name | Type/"Domain" of Plug Element 1 - Electric 2 - Hydraulic 3 - L-coded 4 - E-coded 5 - X-coded 6 - Y-coded 7 - T-coded 8 - S-Coded 9 - D-coded 10 - C-coded 11 - B-coded 12 - A-coded 13 - Socket … | External Dimater | Inner Diameter | Thread Size | Connection point X | Orientation vector X (default 0.0) | Connection point Y | Orientation vector Y (default 0.0) | Connection point Z | Orientation vector Z (default 1.0) | Identifier | Area 1. Dimension | Area 2. Dimension | Area 3. Dimension | Area Shape 1 - Polygon 2 - Ring-shaped 3 - Round 4 - Rectangular | Area Polygon Data [reference to polygon data, dxf] | Area Text Rotation Angle | Surface Treatment Code (string) | Color Number according to RAL (integer) | Parent ID of Mounting Plane, etc. (e.g. "MP_4") | Identifier | Area 1. Dimension | Area 2. Dimension | Area 3. Dimension | Area Shape 1 - Polygon 2 - Ring-shaped 3 - Round 4 - Rectangular | Area Polygon Data [reference to polygon data, dxf] | Area Text Rotation Angle | Restriction Area Type 1 - Restricted placing area 2 - Restricted drilling area 3 - Restricted routing range
Unit | Units | - | - | - | - | - | - | - | - | - | - | - | - |  |  |  |  | - | - | - | mm | mm | mm | - | mm | mm | mm | - | - | - | - | - | - | - | - | mm | mm | mm | - | - | - | mm | mm | - | - | mm | mm | - | - |  | V | A | V |  | mm² | mm² | mm² | - | - | - | mm² | mm² | mm² | mm² | - | mm | - |  | mm | mm | - | Nm | Nm | - | - | V | V | V | V | V | V | - | - | - | - | - | - | - | - | [°] | mm | - | - | - | - | - | - | - | ° | - | - | - | - | - | - |  | mm | mm | - | - | - | - | - | - | - | - | mm | mm | mm | - | - | ° | - | - | - | - | mm | mm | mm | - | - | ° | -
Body
|  | 502476 | OP
|  | 502476 | MD | [14 empty] | Plate | Plate | LINK_MD
|  | 502476 | MP_1 |  |  | User supplementary point 1 |  | Blanking plate | [10 empty] | Blanking plate | [8 empty] | Blanking plate | Blanking plate |  | Blindabdeckung | Blanking plate |  | 1 | 0 | 277
|  | 502476 | MP_2 |  |  | User supplementary point 2 |  | Blanking plate | [10 empty] | Blanking plate | [8 empty] | Blanking plate | Blanking plate |  | Blindabdeckung | Blanking plate |  | 1 | 0 | 277
|  | 502477 | OP
|  | 502477 | MD | [14 empty] | Plate | Plate | LINK_MD
|  | 502477 | MP_1 |  |  | User supplementary point 1 |  | Blanking plate | [10 empty] | Blanking plate | [8 empty] | Blanking plate | Blanking plate |  | Blindabdeckung | Blanking plate |  | 1 | 0 | 160
|  | 502477 | MP_2 |  |  | User supplementary point 2 |  | Blanking plate | [10 empty] | Blanking plate | [8 empty] | Blanking plate | Blanking plate |  | Blindabdeckung | Blanking plate |  | 1 | 0 | 394
|  | 502478 | OP
|  | 502478 | MD | [14 empty] | Plate | Plate | LINK_MD
|  | 502478 | MP_1 |  |  | User supplementary point 1 |  | Blanking plate | [10 empty] | Blanking plate | [8 empty] | Blanking plate | Blanking plate |  | Blindabdeckung | Blanking plate |  | 1 | 0 | 377
|  | 502478 | MP_2 |  |  | User supplementary point 2 |  | Blanking plate | [10 empty] | Blanking plate | [8 empty] | Blanking plate | Blanking plate |  | Blindabdeckung | Blanking plate |  | 1 | 0 | 377
|  | 502479 | OP
|  | 502479 | MD | [14 empty] | Plate | Plate | LINK_MD
|  | 502479 | MP_1 |  |  | User supplementary point 1 |  | Blanking plate | [10 empty] | Blanking plate | [8 empty] | Blanking plate | Blanking plate |  | Blindabdeckung | Blanking plate |  | 1 | 0 | 238
|  | 502479 | MP_2 |  |  | User supplementary point 2 |  | Blanking plate | [10 empty] | Blanking plate | [8 empty] | Blanking plate | Blanking plate |  | Blindabdeckung | Blanking plate |  | 1 | 0 | 516

## Product Accessory
CLASS ID |  | CNSELEK¦5¦4 | CNSELEK¦5¦4 | CNSELEK¦5¦4 | CNSELEK¦5¦4 | CNSELEK¦5¦4 | CNSELEK¦5¦4 | CNSELEK¦5¦4
DESCR | Must field if accessory is added | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field
PRIO | Material Master Data | Connection points | Connection points | Product property | Product property | Product property | Product property | Product property
TYPE | - | CNS_PARENT_CLS_ID_INST_ID | AAO676 | AAN350 | AAO663 | AAO677 | AAW338 | AAN553
ECLASS | - | 00004D001 | 000059001 | 000054001 | 000058001 | 00005A001 | 00005B001 | CNS_ASSOCIATED_PART_VARIANT_NAME
CNSATTR | Articlenumber main product | Connection point name / Pin name Main product (only necessary for pin based accessory) | Articlenumber accessory | Part relation to the main device (default = 1) 1 - accessory 2 - counterpart 3 - Label parts (inscription / marking) 4 - maintenance part 5 - resolve part 6 - spare 7 - system component 8 - Services 9 - Successor 10 - Substitute 11 - Alternative order unit | GTIN (string) | Manufacturer name (string) | Manufacturer product designation (string) | Accessory variant name / usage info
TEXT | - | - | - | - | - | - | - | -
DATA TYPE

## Help
General Help Tab for values which are not completly visible in the column
Connection point name pins | 1 - ECP_* - Electrical Connection Point | 1 - ECP - Elektrischer Anfügepunkt
| 2 - OP - Orientation Point | 2 - OP - Orientierungspunkt/Ausrichtungspunkt
| 3 - MD - Mounting Description | 3 - MD - Platzierungsfläche
| 4 - MP - Mounting Point | 4 - MP - Anbaupunkt
| 5 - PNCP_* / Pneumatic | 5 - PNCP_* / Pneumatisch
| 6 - HCP_* / Hydrualic | 6 - HCP_* / Hydrualisch
| 7 - MCP_* / Mechanic | 7 - MCP_* / Mechanisch
| 8 - PRCP_* / Process | 8 - PRCP_* / Verfahrenstechnik
| 9 - PLCP_* / Plug | 9 - PLCP_* / Stecker
| 10 - DRILL | 10 - DRILL - Bohrung
| 11 - BAR_* / barred | 11 - BAR_* / Sperraum
| 12 - ALAB_*/ area labeling | 12 - ALAB_*/ Beschriftungsfläche
| 13 - ARES_* / area restriction | 13 - ARES_* / Sperrfläche
| 14 - ACTV_* / actuating vector | 14 - ACTV_* / Betätigungsvektor
| 15 - GRD_* / mounting grid | 15 - GRD_* / Montagegitter
Connection direction | 1 - from behind | 1 - von hinten
| 2 - from down | 2 - von unten
| 3 - from above | 3 - von oben
| 4 - in front | 4 - von vorne
| 5 - from left | 5 - von links
| 6 - from right | 6 - von rechts
Mounting description | 1 - flanged | 1 - geflanscht
| 2 - clamped | 2 - geklemmt
| 3 - welded | 3 - geschweißt
| 4 - 19 inch | 4 - 19 Zoll
| 5 - Assembly | 5 - Aufbau
| 6 - Base assembly | 6 - Sockelmontage
| 7 - Base assembly for stop doors | 7 - Bodenmontage für Anschlagtüren
| 8 - Base assembly for two-way doors | 8 - Bodenmontage für Pendeltüren
| 9 - Base attachment | 9 - Bodenbefestigung
| 10 - Bus bar | 10- Sammelschiene
| 11 - Bus bar fastening | 11 - Sammelschienenbefestigung
| 12 - continuous covered screwed | 12 - durchgehend verdeckt verschraubt
| 13 - continuous one-sided covered screwed | 13 - durchgehend einseitig verdeckt verschraubt
| 14 - continuous visibly screwed | 14 - durchgehend sichtbar verschraubt
| 15 - cover screwed | 15 - verdeckt verschraubt
| 16 - C-profile | 16 - C-Profil
| 17 - DIN track | 17 - DIN-Schiene
| 18 - Direct assembly | 18 - Direktmontage
| 19 - Direct extension | 19 - Direktanbau
| 20 - Direct mounting/individual installation | 20 - Direktanbau/Einzelaufstellung
| 21 - Doorframe assembly | 21 - Türrahmenmontage
| 22 - doorframe assembly/hinge side | 22 - Türrahmenmontage / Bandseite
| 23 - doorframe assembly/opposite to hinge side | 23 - Türrahmenmontage / Bandgegenseite
| 24 - door hinge mounting/hinge side | 24 - Türblattmontage / Bandseite
| 25 - door hinge mounting/opposite to hinge side | 25 - Türblattmontage / Bandgegenseite
| 26 - Door leaf mounting | 26 - Türblattmontage
| 27 - Flange | 27 - Flansch
| 28 - Foot assembly | 28 - Fußmontage
| 29 - Front assembly | 29 - Frontmontage
| 30 - front attachment | 30 - Frontbefestigung
| 31 - G track G32 | 31 - G-Schiene G32
| 32 - Inserted | 32 - eingesetzt
| 33 - Installation | 33 - Einbau
| 34 - integrable | 34 - integrierbar
| 35 - Metric | 35 - metrisch
| 36 - Mountable and integrable | 36 - aufsteckbar und integrierbar
| 37 - Mounted | 37 - Anbau
| 38 - Mounting face | 38 - Montagefläche
| 39 - Parallel assembly | 39 - Parallelarmmontage
| 40 - Pinned | 40 - verstiftet
| 41 - pluggable | 41 - aufsteckbar
| 42 - pluggable | 42 - steckbar
| 43 - plug in module | 43 - Einschub
| 44 - Plug insert | 44 - Steckeinsatz
| 45 - Pushed-through | 45 - durchgesteckt
| 46 - quick fastening | 46 - Schnellbefestigung
| 47 - Rail/direct mounted | 47 - Schienen-/Direktmontage
| 48 - screwable | 48 - schraubbar
| 49 - Screwed | 49 - verschraubt
| 50 - Screw mounting | 50 - Schraubbefestigung
| 51 - Side extension | 51 - Seitenanbau
| 52 - Single installation | 52 - Einzelaufstellung
| 53 - Snap-mounted supporting rail | 53 - Schnappbefestigung Tragschiene
| 54 - Snap-on mounting | 54 - Schnappbefestigung
| 55 - Socket | 55 - Steckdose
| 56 - Special assembly | 56 - Sondermontage
| 57 - Special profiles | 57 - Sonderprofile
| 58 - Surface mounted | 58 - Oberflächenmontage
| 59 - Terminal mount | 59 - Klemmbefestigung
| 60 - Top-hat/g-rail TH35/G32 | 60 - Hut-/G-Schiene TH35/G32
| 61 - Top-hat rail TH15 | 61 - Hutschiene TH15
| 62 - Top-hat rail TH35 | 62 - Hutschiene TH35
| 63 - Top-hat rail TH75 | 63 - Hutschiene TH75
| 64 - visibly screwed | 64 - sichtbar verschraubt
| 65 - Wall mounting | 65 - Wandbefestigung
| 66 - with cams | 66 - mit Nocken
| 67 - With holder | 67 - mit Halterung
| 68 - without cams | 68 - ohne Nocken
| 69 - Wall assembly | 69 - Wandmontage
| 70 - DIN rail mounting | 70 - DIN Hutschienenmontage
Connection function | 1 - Collektor | 1 - Kollektor
| 2 - Common contact | 2 - gemeinsamer Kact
| 3 - Contact normally close | 3 - Öffnerkontaktmally close
| 4 - Contact normally open | 4 - Schließerkontmally open
| 5 - Drain | 5 - Drain
| 6 - Emitter | 6 - Emitter
| 7 - GND | 7 - GND
| 8 - load input | 8 - Lasteingang
| 9 - load output | 9 - Lastausgang
| 10 - main circuit | 10 - Hauptstromkreis
| 11 - neutral conductor | 11 - Neutralleiter
| 12 - protective conductor | 12 - Schutzleiter
| 13 - shield | 13 - Schirm
| 14 - signal input | 14 - Signaleingang
| 15 - signal output | 15 - Signalausgang
| 16 - Source | 16 - Source
| 17 - supply voltage | 17 - Versorgungsspan
| 18 - Connection | 18 - Verbindung
| 19 - equipotential bounding conductor | 19 - Potentialausgle
| 20 - earthing conductor | 20 - Erdungsleiter
| 21 - device-specific | 21 - gerätespezifisc
| 22 - Terminal level 1 | 22 - Etage 1
| 23 - Terminal level 2 | 23 - Etage 2
| 24 - Terminal level 3 | 24 - Etage 3
| 25 - Terminal level 4 | 25 - Etage 4
| 26 -Terminal level 5 | 26 - Etage 5
| 27 -Terminal level 6 | 27 - Etage 6
| 28 - Terminal level 7 | 28 - Etage 7
| 29 - Terminal level 8 | 29 - Etage 8
| 30 - Terminal level 9 | 30 - Etage 9
CROSSSAWGMIN | (2/0) | (2/0)
| (3/0) | (3/0)
| (4/0) | (4/0)
| 1 | 1
| 2 | 2
| 4 | 4
| 6 | 6
| 8 | 8
| 10 | 10
| 12 | 12
| 14 | 14
| 16 | 16
| 18 | 18
| 20 | 20
| 22 | 22
| 24 | 24
| 26 | 26
| 28 | 28
| 30 | 30
| 32 | 32
| 34 | 34
| 36 | 36
| 38 | 38
| 40 | 40
| 42 | 42
| 44 | 44
| 250 | 250
| 350 | 350
| 500 | 500
| No Input | No Input
| 1000 | 1000
| 900 | 900
| 550 | 550
| 600 | 600
| 750 | 750
| 300 | 300
CROSSSAWGMAX | (2/0) | (2/0)
| (3/0) | (3/0)
| (4/0) | (4/0)
| 1 | 1
| 2 | 2
| 4 | 4
| 6 | 6
| 8 | 8
| 10 | 10
| 12 | 12
| 14 | 14
| 16 | 16
| 18 | 18
| 20 | 20
| 22 | 22
| 24 | 24
| 26 | 26
| 28 | 28
| 30 | 30
| 32 | 32
| 34 | 34
| 36 | 36
| 38 | 38
| 40 | 40
| 42 | 42
| 44 | 44
| 250 | 250
| 350 | 350
| 500 | 500
| No Input | No Input
| 1000 | 1000
| 900 | 900
| 550 | 550
| 600 | 600
| 750 | 750
| 300 | 300
drilling type | 1 - Hole | 1 - Loch
| 2 - thread inch | 2 - Gewinde inch
| 3 - thread metric | 3 - Gewinde metrisch
drilling_subtype | 1 - Round | 1 - Rund
| 2 - Rectangular | 2 - Rechteckig
| 3 - Long-hole type | 3 - Langlochartig
| 4 - Polyangular | 4 - Polyangular
| 1 - Plastic | 1 - Kunststoff
Material / CNS_ELECTRO_MATERIAL | 2 - GRP | 2 - GFK
| 3 - PVC | 3 - PVC
| 4 - galvanic/electrolytic zinc plated | 4 - galvanic/electrolytic zinc plated
| 5 - Polystyrene (PS) | 5 - Polystyrene (PS)
| 6 - ABS | 6 - ABS
| 7 - Acrylic | 7 - Acryl
| 8 - Agate | 8 - Achat
| 9 - Aluminium die casting | 9 - Aluminiumdruckguss
| 10 - Aluminum cast | 10 - Aluminium-Guss
| 11 - Aluminum zink | 11 - Aluminium-Zink
| 12 - Aluminum, lacquered | 12 - Aluminium lackiert
| 13 - Brass CU2 (CuZn37) or brass CU3 (CuZn39Pb3) | 13 - Messing CU2 (CuZn37) oder Messing CU3 (CuZn39Pb3)
| 14 - C22 | 14 - C22
| 15 - C22 nickel-plated | 15 - C22, Vernickelt
| 16 - C22.8 | 16 - C22.8
| 17 - cast | 17 - Guss
| 18 - Cast iron | 18 - Gusseisen
| 19 - Copper | 19 - Kupfer
| 20 - PE-HD | 20 - PE-HD
| 21 - perfluoroalkoxy polymere (PFA) | 21 - Perfluoralkoxy Polymer (PFA)
| 22 - Porcelain | 22 - Porzellan
| 23 - PTFE | 23 - PTFE
| 24 - stainless steel - 1.4581 | 24 - Edelstahl - 1.4581
| 25 - Stainless steel inverted cast | 25 - Edelstahlfeinguss
| 26 - Steel casting | 26 - Stahlguss
| 27 - Steel, coated | 27 - Stahl, beschichtet
| 28 - Steel, galvanized | 28 - Stahl, galvanisch verzinkt
| 29 - Steel, highly non-corrosive | 29 - Stahl, hochkorrosionsbestÃ¤ndig
| 30 - Steel, hot-dip galvanized | 30 - Stahl, feuerverzinkt
| 31 - Steel, non-rust (stainless steel) | 31 - Stahl, nichtrostend (Edelstahl rostfrei)
| 32 - Steel, sherardised | 32 - Stahl, sherardisiert
| 33 - Tempering Stahl | 33 - VergÃ¼tungsstahl
| 34 - thermoplastic elastomers (TPE) | 34 - Thermoplastische Elastomere (TPE)
| 35 - thermoplastic polyurethan-elastomers (TPU) | 35 - Thermoplastische Polyurethan-Elastomere (TPU)
| 36 - Ultrahigh molecular polyethylene | 36 - Ultrahochmolekulares Polyethylen
| 37 - White malleable cast iron | 37 - Temperguss
| 38 - AlMgSi | 38 - AlMgSi
| 39 - aluminum | 39 - Aluminium
| 40 - Brass | 40 - Messing
| 41 - brass nickel-plated | 41 - Messing vernickelt
| 42 - die-cast steel | 42 - Stahl-Druckguss
| 43 - die-casting | 43 - Spritzguss
| 44 - fluoro-ethylene-propylene rubber (FEP) | 44 - Fluor-Ethylen-Propylen Kunststoff (FEP)
| 45 - Grey cast iron | 45 - Grauguss
| 46 - Hastelloy C-22 - 2.4602 | 46 - Hastelloy C-22 - 2.4602
| 47 - Hastelloy C-4 (2.4610) | 47 - Hastelloy C-4 (2.4610)
| 48 - Metalized plastic | 48 - Kunststoff metallisiert
| 49 - Polyamide (PA) | 49 - Polyamid (PA)
| 50 - polymethylmethacrylate (PMMA) | 50 - Polymethylmethacrylat (PMMA)
| 51 - PTFE/FEP | 51 - PTFE/FEP
| 52 - stainless steel | 52 - rostfreier Stahl
| 53 - Steel | 53 - Stahl
| 54 - steel plate/plastic | 54 - Stahlblech/Kunststoff
| 55 - Zink | 55 - Zink
| 56 - Zink print cast | 56 - Zink-Druckguss
| 57 - Ceramic | 57 - Keramik
| 58 - Duroplastic | 58 - Duroplast
| 59 - Polyamide | 59 - Polyamid
| 60 - Thermoplast | 60 - Thermoplast
| 61 - PE | 61 - PE
| 1 - undefined | 1 - undefiniert
Potential type | 2 - L | 2 - L
| 3 - N | 3 - N
| 4 - PE | 4 - PE
| 5 - + | 5 - +
| 6 - M | 6 - M
| 7 - - | 7 - -
| 8 - SH | 8 - SH
| 9 - PEN | 9 - PEN
| 1 - SH_1 | 1 - SH_1
Shielded by | 2 - SH_2 | 2 - SH_2
| 3 - SH_3 | 3 - SH_3
| 4 - SH_4 | 4 - SH_4
| 5 - SH_5 | 5 - SH_5
| 6 - SH_6 | 6 - SH_6
| 7 - SH_7 | 7 - SH_7
1 - Door
CNS_COMPONENT_FUNCTION_3D | 2 - Door left
3 - Door right
4 - Floor
5 - Mounting panel back
6 - Area floor sheets
7 - Floor sheet outside
8 - Floor sheet inside
9 - Door inside
10 - Door left inside
11 - Door left outside
12 - Door outside
13 - Door right inside
14 - Door right outside
15 - Flange plate outside
16 - Flange plate inside
17 - Mounting panel front
18 - Mounting surface NC front
19 - Profile level
20 - 19-inch profile level
21 - Profile level back inside
22 - Profile level back outside
23 - Profile level back inside vertical
24 - Profile level floor inside
25 - Profile level door
26 - Profile level door left
27 - Profile level door right
28 - Profile level front inside
29 - Profile level front outside
30 - Profile level front inside vertical
31 - Profile level left inside
32 - Profile level left outside
33 - Profile level left inside vertical
34 - Profile level right inside
35 - Profile level right outside
36 - Profile level right inside vertical
37 - Profile level cover inside
38 - Rear panel inside
39 - Rear panel outside
40 - Floor inside
41 - Floor outside
42 - Panel inside
43 - Side panel left inside
44 - Side panel left outside
45 - Panel outside
46 - Side panel right inside
47 - Side panel right outside
48 - Cover inside
49 - Cover outside
50 - Frame profile - general
51 - Frame profile horizontal
52 - Frame profile horizontal floor
53 - Frame profile horizontal cover
54 - Frame profile vertical left front
55 - Frame profile vertical back
56 - Frame profile vertical right back
57 - Frame profile vertical right front
58 - Roof plate
59 - Unknown
60 - Rear panel
61 - Panel general
62 - Side panel left
63 - Side panel right
| 1 - Restricted placing area | 1 - Platziersperrfläche
CNS_RESTRICTED_AREA_TYPE | 2 - Restricted drilling area | 2 - Bohrsperrfläche
| 3 - Restricted routing range | 3 - Verlegesperrbereich
1 - Door
Component Function 3D | 2 - Door left
3 - Door right
4 - Floor;Floor;Floor
5 - Mounting panel back
6 - Area floor sheets
7 - Floor sheet outside
8 - Floor sheet inside
9 - Door inside
10 - Door left inside
11 - Door left outside
12 - Door outside
13 - Door right inside
14 - Door right outside
15 - Flange plate outside
16 - Flange plate inside
17 - Mounting panel front
18 - Mounting surface NC front
19 - Profile level
20 - 19-inch profile level
21 - Profile level back inside
22 - Profile level back outside
23 - Profile level back inside vertical
24 - Profile level floor inside
25 - Profile level door
26 - Profile level door left
27 - Profile level door right
28 - Profile level front inside
29 - Profile level front outside
30 - Profile level front inside vertical
31 - Profile level left inside
32 - Profile level left outside
33 - Profile level left inside vertical
34 - Profile level right inside
35 - Profile level right outside
36 - Profile level right inside vertical
37 - Profile level cover inside
38 - Rear panel inside
39 - Rear panel outside
40 - Floor inside
41 - Floor outside
42 - Panel inside
43 - Side panel left inside
44 - Side panel left outside
45 - Panel outside
46 - Side panel right inside
47 - Side panel right outside
48 - Cover inside;Cover inside
49 - Cover outside
50 - Frame profile - general
51 - Frame profile horizontal
52 - Frame profile horizontal floor
53 - Frame profile horizontal cover
54 - Frame profile vertical left front
55 - Frame profile vertical back
56 - Frame profile vertical right back
57 - Frame profile vertical right front
58 - Roof plate
59 - Unknown
60 - Rear panel
61 - Panel general
62 - Side panel left
63 - Side panel right
1 - Device
explicit component type | 2 - Dynamic Device
3 - Terminal
4 - Connector
5 - Connector With Inserts
6 - Device Wire Seal
7 - Device Blind Plug
8 - Assembly
9 - Assembly Enclosure
10 - Assembly Configuration
11 - Device Rail
12 - Terminal End Cover
13 - Terminal Partition Plate
14 - Terminal End Bracket
| 1 - M-coded | 1 - M-codiert
CNS_CONNECTOR_CODING | 2 - K-coded | 2 - K-codiert
| 3 - L-coded | 3 - L-codiert
| 4 - E-coded | 4 - E-codiert
| 5 - X-coded | 5 - X-codiert
| 6 - Y-coded | 6 - Y-codiert
| 7 - T-coded | 7 - T-codiert
| 8 - S-Coded | 8 - S-codiert
| 9 - D-coded | 9 - D-codiert
| 10 - C-coded | 10 - C-codiert
| 11 - B-coded | 11 - B-codiert
| 12 - A-coded | 12 - A-codiert
| 13 - Socket | 13 - Buchse
| 14 - Locking bolt | 14 - Sperrbolzen
| 15 - Guide pin/socket | 15 - Führungsstift/-buchse
| 16 - Contact insert | 16 - Kontakteinsatz
| 17 - Coding pin | 17 - Kodierstift
| 18 - Contact | 18 - Kontakt
| 19 - Housing shape | 19 - Gehäuseform
| 20 - Pin | 20 - Stift
| 21 - Plug | 21 - Stecker
| 22 - without | 22 - ohne
CNS_AREA_SHAPE | 1- Polygon | 1- Polygon
| 2- Ring-shaped | 2- Ringförmig
| 2- Round | 2- Rund
| 3- Rectangular | 2- Rechteckig
CNS_TYPE_OF_BARRED_AREA Type | 1 - Connection | 1 - Anschluss
| 2 - electrical to be energized parts | 2 - elektrisch - zu spannungsführenden Teilen
| 3 - electrical to earth parts | 3 - elektrisch - zu erdendenTeilen
| 4 - Maintenance | 4 - Wartung
| 5 - thermal | 5 - thermisch
| 6 - mechanical | 6 - mechanisch
CNS_COMPONENT_MOUNTING_TYPE | 1 - build at the top | 1 - Anbau oben
| 2 - build on down | 2 - Anbau unten
| 3 - build on the device | 3 - Anbau auf Bauteil
| 4 - build under device | 4 - Anbau unter Bauteil
| 5 - inside | 5 - Einbau
| 6 - side build on the left | 6 - seitlicher Anbau links
| 7 - side build on the right | 7 - seitlicher Anbau rechts
Example
Subcircuit Mapping

## cabinet
| Must field if available, if not created from ECADPORT | Must field if available, if not created from ECADPORT | Must field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field
| Product main group | Product main group | Material Master Data | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property
ECLASS property | REFERENCE_FEATURE_GROUP_ID | REFERENCE_FEATURE_SYSTEM_NAME | AAO676 | AAB401 | AAB451 | AAB644 | AAB681 | AAB770 | AAC054 | AAC218 | AAC265 | AAC929 | AAE670 | AAF507 | AAF508 | AAG021 | AAM117 | AAM272 | AAM354 | AAO187 | AAO188 | AAO189 | AAO190 | AAO191 | AAO193 | AAP428 | AAP429 | AAP542 | AAQ326 | AAS577 | AAT099 | AAW361 | AAZ486 | BAA105 | BAA351 | BAB664 | BAC295 | BAD288 | BAD290 | BAD307 | BAD308 | BAD674 | BAD715 | BAE765 | BAF634 | BAF728 | BAF785 | BAG975 | BAH439 | BAH443
Variable name (CNS internal) | Only Classification | Only Classification | AAO676 | AAB401 | AAB451 | AAB644 | AAB681 | AAB770 | AAC054 | AAC218 | AAC265 | AAC929 | AAE670 | AAF507 | AAF508 | AAG021 | AAM117 | AAM272 | AAM354 | AAO187 | AAO188 | AAO189 | AAO190 | AAO191 | AAO193 | AAP428 | AAP429 | AAP542 | AAQ326 | AAS577 | AAT099 | AAW361 | AAZ486 | BAA105 | BAA351 | BAB664 | BAC295 | BAD288 | BAD290 | BAD307 | BAD308 | BAD674 | BAD715 | BAE765 | BAF634 | BAF728 | BAF785 | BAG975 | BAH439 | BAH443
English variable description | ECLASS number 27-18-01-** 27-18-07-01 | ECLASS number (up to the current version) | product article number of manufacturer (string) | Design of the 19 Inch cabinet (string) | type of mounting 1 - slide (before mounting) 2 - for distance mounting 3 - Mounting flange 4 - Velco type 5 - 10 inch 6 - 10 Inch 7 - 17 inch 8 - 19 inch/24 inch 9 - 19 inch / 24 inch 10 - 21 inch 11 - 23 inch … | Frame, shelf (accumulated) 1 - No 2 - Yes | suitable for metric installation 1 - No 2 - Yes | Lighting installation, device 1 - No 2 - Yes | Mounting plate adjustable in depth 1 - No 2 - Yes | EMC design present 1 - No 2 - Yes | back door present 1 - No 2 - Yes | Number of doors (integer) | additional link address (string) | REACH registration present 1 - No 2 - Yes | Contains substance according to SVHC 1 - No 2 - Yes | impact strength 1 - >IK10 1 - >IK10 2 - Miscellaneous 2 - Sonstiges 3 - IK00 3 - IK00 4 - average (class 3) 4 - mittel (Klasse 3) 5 - heavy (class 4) 5 - schwer (Klasse 4) 6 - IK01 6 - IK01 7 - IK02 7 - IK02 8 - IK03 8 - IK03 9 - IK04 9 - IK04 10 - IK05 10 - IK05 ... | glazed door present 1 - No 2 - Yes | wall build in possible 1 - No 2 - Yes | tackable possible 1 - No 2 - Yes | Name of SVHC substance (string) | Weight percentage of the contained substance (SVHC) | On-line reference REACH (string) | On-line reference security data sheet (string) | RoHS attention of conformity 1 - No 2 - Yes | Category 1 - Device batteries, primarily 2 - Device batteries,secondarily 3 - Industriebatterien und -akkumulatoren 4 - Vehicle batteries and vehicle accumulators | Number of doors back (integer) | Number of doors front (integer) | Number of locks (integer) | address of additional link (string) | Power loss output capacity [Ple] | Color number according to RAL (integer) | protection type (NEMA) 1 - NEMA 1 2 - NEMA 2 3 - NEMA 3 4 - NEMA 3R 5 - NEMA 3S 6 - NEMA 3X 7 - NEMA 3RX 8 - NEMA 3SX 9 - NEMA 4 10 - NEMA 4X 11 - NEMA 5 12 - NEMA 6 13 - NEMA 6P … | Degree of protection (NEMA) 1 - NEMA 3, 4, 7, 9 2 - NEMA 3, 4, 12 3 - NEMA 7, 9 4 - NEMA 1, 2, 3R, 12, 13 5 - NEMA 1, 4X, 12K, Indoor use only, 13 6 - NEMA 1, 2, 3, 3R, 4, 4X, 12K, 13 7 - NEMA 1, 2, 3, 3R, 4, 4X, 12, 13 8 - NEMA 1, 2, 3, 3R, 4, 4X, 12K ... | Number of locks (integer) | color 1 - Other 2 - cream white/electro white 3 - Stainless steel 4 - Platinum 5 - aluminum 6 - matte 7 - adria 8 - agate 9 - Amber 10 - amber 11 - amethyst 12 - anthracite 13 - anthracite-mottled … | material 1 - Real glas 2 - Thermoplast 3 - Polyvinylalkohol (PVA) 4 - Coex 5 - recycled paper 6 - eucalyptus 7 - bamboo 8 - 10CrMo910 9 - 13CrMo44 10 - 15Mo3 11 - 15NiCuMoNb5 12 - 18/8 steel 13 - 70 NBR/803 ... | Color (string) | On plaster possible 1 - No 2 - Yes | Assembly on floor is possible 1 - No 2 - Yes | Flush installation possible 1 - No 2 - Yes | Wall assembly possible 1 - No 2 - Yes | suitable for 19 inch installation 1 - No 2 - Yes | suitable for series installation 1 - No 2 - Yes | Number of height units (integer) | Material 1 - Real glas 2 - Thermoplast 3 - aluminum 4 - Aluminum+lacquer 5 - Box/lever handle: cast light metal 6 - Box/pressure plate: cast light metal 7 - Box/rotating lever: cast light metal 8 - Box/rotating lever: stainless steel 9 - Brass 10 - Bronze ... | Mounting plate present 1 - No 2 - Yes | Surface 1 - brushed 2 - Decor 3 - Other 4 - Hot-dip galvanized 5 - copper-plated 6 - Anodized 7 - galvanic/electrolytic zinc plated 8 - based 9 - Bi-chromalized 10 - Chromalized 11 - Galvanized 12 - lacquered 13 - nickel-plated … | degree of protection 1 - without 2 - IPX8 3 - IPX6 4 - IPX4D 5 - IPX2 6 - IP68/IPX9K 7 - IP66/IP67/IP69 8 - IP66/IP67 9 - IP60 10 - IP59K 11 - IP51 12 - IP65 / IP67 (according to IEC 60529) 13 - IP65/IP67 … | Color number according to RAL (integer) | Inspection door present 1 - No 2 - Yes
Units | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | % | - | - | - | - | - | - | - | - | W | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| 27400608 | 13 | 502476 | [25 empty] | https://www.eaton.com/gb/en-gb/skuPage.EP-502476.html | [6 empty] | Steel | [8 empty] | Steel |  | Powder coating
| 27400608 | 13 | 502477 | [25 empty] | https://www.eaton.com/gb/en-gb/skuPage.EP-502477.html | [6 empty] | Steel | [8 empty] | Steel |  | Powder coating
| 27400608 | 13 | 502478 | [25 empty] | https://www.eaton.com/gb/en-gb/skuPage.EP-502478.html | [6 empty] | Steel | [8 empty] | Steel |  | Powder coating
| 27400608 | 13 | 502479 | [25 empty] | https://www.eaton.com/gb/en-gb/skuPage.EP-502479.html | [6 empty] | Steel | [8 empty] | Steel |  | Powder coating

## cabinet.mechanical
| Must field if available, if not created from ECADPORT | Must field if available, if not created from ECADPORT | Must field | Optional field | Optional field | Must field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field
| Product main group | Product main group | Material Master Data | Project Handling | Project Handling | Material Master Data | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property
ECLASS property | REFERENCE_FEATURE_GROUP_ID | REFERENCE_FEATURE_SYSTEM_NAME | AAO676 | CNS_PROJECT_PATH | CNS_CONDITION | CNS_COMPONENT_FUNCTION_3D | CNS_COMPONENT_GROUP | 000038001 | AAB392 | AAB440 | AAB445 | AAB633 | AAB634 | AAB644 | AAB670 | AAB732 | AAC218 | AAC900 | AAF507 | AAF508 | AAG239 | AAO187 | AAO188 | AAO189 | AAO190 | AAO191 | AAO192 | AAO193 | AAO221 | AAO222 | AAO223 | AAT099 | AAU729 | AAW352 | BAB664 | BAB888 | BAB894 | BAB901 | BAC000 | BAF343 | BAF727 | BAF785 | BAG533 | BAG975 | BAH443 | BAH464
Variable name (CNS internal) | Only Classification | Only Classification | AAO676 | CNS_PROJECT_PATH | CNS_CONDITION | CNS_COMPONENT_FUNCTION_3D | CNS_COMPONENT_GROUP | 000038001 | AAB392 | AAB440 | AAB445 | AAB633 | AAB634 | AAB644 | AAB670 | AAB732 | AAC218 | AAC900 | AAF507 | AAF508 | AAG239 | AAO187 | AAO188 | AAO189 | AAO190 | AAO191 | AAO192 | AAO193 | AAO221 | AAO222 | AAO223 | AAT099 | AAU729 | AAW352 | BAB664 | BAB888 | BAB894 | BAB901 | BAC000 | BAF343 | BAF727 | BAF785 | BAG533 | BAG975 | BAH443 | BAH464
English variable description | ECLASS number 27-18-20-** 27-18-21-** 27-18-22-** 27-18-23-** 27-18-24-** | ECLASS number (up to the current version) | product article number of manufacturer (string) | CNS project path | CNS condition | Component function 3D 1 - Door 2 - Door left 3 - Door right 4 - Floor 5 - Mounting panel back 6 - Area floor sheets 7 - Floor sheet outside 8 - Floor sheet inside 9 - Door inside 10 - Door left inside 11 - Door left outside 12 - Door outside 13 - Door right inside ... | Component Grouping (string) | explicit component type 1 - Device 2 - Dynamic Device 3 - Terminal 4 - Connector 5 - Connector With Inserts 6 - Device Wire Seal 7 - Device Blind Plug 8 - Assembly 9 - Assembly Enclosure 10 - Assembly Configuration 11 - Device Rail 12 - Terminal End Cover ... | Designed as door for disconnecting switch interlock 1 - No 2 - Yes | Overall width for cabinet installation | Overall depth for cabinet installation | suitable as rear wall 1 - No 2 - Yes | suitable as side wall 1 - No 2 - Yes | suitable for outside installation 1 - No 2 - Yes | suitable for cable routing 1 - No 2 - Yes | cable leadthrough present 1 - No 2 - Yes | EMC design present 1 - No 2 - Yes | Grid dimensions | REACH registration present 1 - No 2 - Yes | Contains substance according to SVHC 1 - No 2 - Yes | hinging 1 - No 2 - Yes | Name of SVHC substance (string) | Weight percentage of the contained substance (SVHC) | On-line reference REACH (string) | On-line reference security data sheet (string) | RoHS attention of conformity 1 - No 2 - Yes | Designation of battery 1 - 2CR13252 2 - 2EP3863 3 - 3LR12 4 - 3R12P 5 - 3R12S 6 - 4LR25-2 7 - 4LR25X 8 - 4 LR 44 9 - 4 LR 61 10 - 4R25-2 11 - 4R25X 12 - 4R25Y 13 - 4 SR 44 ... | Category 1 - Device batteries, primarily 2 - Device batteries,secondarily 3 - Industriebatterien und -akkumulatoren 4 - Vehicle batteries and vehicle accumulators | Product check date according to RoHS (string) | Product check date (SVHC) (string) | Type of Battery 1 - HR22 2 - LR1 3 - LR03 4 - LR6 5 - LR14 6 - LR20 7 - LR61 | Color number according to RAL (integer) | Supplier product root (string) | Suitable for enclosure building width | material 1 - Real glas 2 - Thermoplast 3 - Polyvinylalkohol (PVA) 4 - Coex 5 - recycled paper 6 - eucalyptus 7 - bamboo 8 - 10CrMo910 9 - 13CrMo44 10 - 15Mo3 11 - 15NiCuMoNb5 12 - 18/8 steel 13 - 70 NBR/803 ... | Design (cable protection tube) (27-18-28-13, 27-18-28-11) 1 - With hang-in 2 - Plain ends 3 - Half moon 4 - Square 5 - Triangular 6 - integrable 7 - pluggable 8 - pluggable 9 - cylinder 10 - Mountable and integrable 11 - double bit 12 - Charging plug 13 - Charging socket outlet ... | Design (wall duct) (27-18-28-13, 27-18-28-11) 1 - Without screen 2 - With screen 3 - 482.6 mm (19 inch) angle set 4 - 482.6 mm (19 inch) angle profile 5 - 482.6 mm (19 inch) profile set 6 - 482.6 mm (19 inch) profile 7 - L-box 8 - Test case 9 - Test adapter 10 - Impact pin 11 - Impact head … | Design (Actuator) (27-18-28-13, 27-18-28-11) 1 - 3-phase current transformer 2 - 6x6 mm 3 - 10x3 mm 4 - 15x6 mm 5 - 19 inch 6 - 19-inch fastening strap 7 - 20x5 mm 8 - 482.6 mm (19 inch) angle profile 9 - 482.6 mm (19 inch) angle set 10 - 482.6 mm (19 inch) mounting angle bracket ... | Construction form 1 - Front panel installation (72*72) 2 - Serial installation 3 - Wall assembly 4 - Wall assembly+front panel installation (72*72) 5 - Individual part 6 - Assembly kit | suitable for air intake and exhaust 1 - No 2 - Yes | Cable inlet present 1 - No 2 - Yes | Surface 1 - brushed 2 - Decor 3 - Other 4 - Hot-dip galvanized 5 - copper-plated 6 - Anodized 7 - galvanic/electrolytic zinc plated 8 - based 9 - Bi-chromalized 10 - Chromalized 11 - Galvanized 12 - lacquered 13 - nickel-plated ... | Lock present 1 - No 2 - Yes | degree of protection 1 - without 2 - IPX8 3 - IPX6 4 - IPX4D 5 - IPX2 6 - IP68/IPX9K 7 - IP66/IP67/IP69 8 - IP66/IP67 9 - IP60 10 - IP59K 11 - IP51 12 - IP65 / IP67 (according to IEC 60529) 13 - IP65/IP67 ... | Inspection door present 1 - No 2 - Yes | Ventilation present 1 - No 2 - Yes
Units | - | - | - | - | - | - | - | - | - | mm | mm | - | - | - | - | - | - | mm | - | - | - | - | % | - | - | - | - | - | - | - | - | - | - | mm | - | - | - | - | - | - | - | - | - | - | - | -
| 27400608 | 13 | 502476 | psn_fp_mu_p1.prj |  |  | Plate@1
| 27400608 | 13 | 502476 | psn_fp_mu_p2.prj |  |  | Plate@1
| 27400608 | 13 | 502476 | psn_fp_mu_p3.prj |  |  | Plate@1
| 27400608 | 13 | 502476 | psn_fp_mu_asmtab.prj |  |  | Plate@1
| 27400608 | 13 | 502477 | psn_fp_mu_p1.prj |  |  | Plate@1
| 27400608 | 13 | 502477 | psn_fp_mu_p2.prj |  |  | Plate@1
| 27400608 | 13 | 502477 | psn_fp_mu_p3.prj |  |  | Plate@1
| 27400608 | 13 | 502477 | psn_fp_mu_asmtab.prj |  |  | Plate@1
| 27400608 | 13 | 502478 | psn_fp_mu_p1.prj |  |  | Plate@1
| 27400608 | 13 | 502478 | psn_fp_mu_p2.prj |  |  | Plate@1
| 27400608 | 13 | 502478 | psn_fp_mu_p3.prj |  |  | Plate@1
| 27400608 | 13 | 502478 | psn_fp_mu_asmtab.prj |  |  | Plate@1
| 27400608 | 13 | 502479 | psn_fp_mu_p1.prj |  |  | Plate@1
| 27400608 | 13 | 502479 | psn_fp_mu_p2.prj |  |  | Plate@1
| 27400608 | 13 | 502479 | psn_fp_mu_p3.prj |  |  | Plate@1
| 27400608 | 13 | 502479 | psn_fp_mu_asmtab.prj |  |  | Plate@1