## Material Master Data
Classification according to MultiECAD / ECLASS Advanced
Applies to ECLASS numbers (v9/v10/v11/v12/v13)
Not to be filled in for cable PDT
| Must field | Must field | Must field | Must field | Must field | Optional field | Optional field | Optional field | Optional field | Optional field | Should field | Should field | Optional field | Optional field | Must field | Optional field | Optional field | Must field | Must field | Optional field | Optional field | Optional field | Must field if not already available in the catalog otherways notice attribute name in CADENAS eCATALOGsolutions | Must field if not already available in the catalog otherways notice attribute name in CADENAS eCATALOGsolutions | Must field if not already available in the catalog otherways notice attribute name in CADENAS eCATALOGsolutions | Must field if not already available in the catalog otherways notice attribute name in CADENAS eCATALOGsolutions | Optional | Optional | Optional | Optional | Optional | Optional | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field
| Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Description DE | Description DE | Description EN | Description EN | Size | Size | Size | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property
ECLASS property | AAO677 | MANUFACTURER_URL | AAQ326 | AAO676 | AAV774/AAO057 | CERTIFICATION | AAO663 | AAN743 | AAD931 | Enter General table name | CNS_ELECTRO_MATERIAL | AAF040 | BAD875 | AAY811 | AAO057 | AAW338 | AAY812 | AAU731 | AAU732 | AAU733 | AAU734 | ABA671 | CNS_DESCRIPTION_LONG / AAU734 | CNS_DESCRIPTION_SHORT | CNS_DESCRIPTION_LONG / AAU734 | CNS_DESCRIPTION_SHORT | BAB577 | BAF016 | BAA020 | AAC314 | AAC341 | ABC244 | AAO336 | AAS441 | AAS441 | AAS442 | AAS442 | AAS443 | AAS443
Variable name (CNS internal) | Only Classification | Only Classification | AAQ326 | CNSORDERNO | CNSTYPECODE | CERTIFICATION | AAO663 | CNS_EAN | CNS_CTN | Enter General table name | CNS_ELECTRO_MATERIAL | CNS_MASSEXACT | BAD875 | AAY811 | AAO057 | AAW338 | AAY812 | AAU731 | AAU732 | AAU733 | AAU734 | ABA671 | CNS_DESCRIPTION_LONG / AAU734 | CNS_DESCRIPTION_SHORT | CNS_DESCRIPTION_LONG / AAU734 | CNS_DESCRIPTION_SHORT | BAB577 | BAF016 | BAA020 | 00001C001 | IEC_81346_2_SUBCLASS_CODE | IEC_81346_2_SUBCLASS_CODE_3 | CNS_MOUNTING_ORIENTATION | CNS_ROTATION_ON_THE_HORIZONTAL_AXIS_MIN | CNS_ROTATION_ON_THE_HORIZONTAL_AXIS_MAX | CNS_ROTATION_ON_THE_VERTICAL_AXIS_MIN | CNS_ROTATION_ON_THE_VERTICAL_AXIS_MAX | CNS_ROTATION_OF_THE_MOUNTING_PLATFORM_MIN | CNS_ROTATION_OF_THE_MOUNTING_PLATFORM_MAX
English variable description | Manufacturer name | Manufacturer's web address (Main product webpage of vendor) | Product specific web address | Articlenumber | Typecode | Certificates | GTIN | EAN | Customs tariff number | value for custom table | Material (insert number or the name of the material, in common 61 values possible ) 1 - Plastic 2 - GRP 3 - PVC 4 - galvanic/electrolytic zinc plated 5 - Polystyrene (PS) 6 - ABS 7 - Acrylic 8 - Agate 9 - Aluminium die casting … | Weight /Mass (netto) | Net weight | URI of the product (string) | Product type (string) | Manufacturer product designation (string) | GLN of manufacturer (integer) | Manufacturer product family (string) | Manufacturer product base (string) | Manufacturer product order suffix (string) | Manufacturer product description (string) | product identifier (string) | Product description long (if not available could be mapped with Variable [NB] ) | Product description short | Product description long (if not available could be mapped with Variable [NB] ) | Product description short | Depth (otherwais calculated from the bounding box) | Width (otherwais calculated from the bounding box) | Height (otherwais calculated from the bounding box) | Class code level 1 (IEC 81346-2) (otherwise from config) | Class code level 2 (IEC 81346-2) | Class code level 3 (IEC 81346-2) | Mounting Orientation 1 - horizontal 2 - vertical down 3 - vertical up 4 - vertical | Rotation on the horizontal axis (MIN) | Rotation on the horizontal axis (MAX) | Rotation on the vertical axis (MIN) | Rotation on the vertical axis (MAX) | Rotation of the mounting platform (MIN) | Rotation of the mounting platform (MAX)
Units | - | - | - | - | - | - | - | - | - | Enter unit | - | kg | g | - | - | - | - | - | - | - | - | - | - | - | - | - | mm | mm | mm | - | - | - | - | ° | ° | ° | ° | ° | °
| Eaton | https://www.eaton.com/us/en-us.html | https://www.eaton.com/at/de-de/skuPage.EP-502480.html | 502480 | PSN-PIP-BN-400/300-BL | CE |  | 9010653082743 |  |  |  | 1.5 | 1500 | [9 empty] | ProfiSNAP Montage-Seitenwand mit erweiterter Tiefe, H4=350 mm, 1 Paar (links und rechts) | Eaton xEnergy Basic anderes Zubehör | ProfiSNAP Mounting Side Wall with extended depth, H4=350mm, 1 pair consists of left and right part | Eaton xEnergy Basic other accessory | 35 | 320 | 300 | U
| Eaton | https://www.eaton.com/us/en-us.html | https://www.eaton.com/at/de-de/skuPage.EP-502481.html | 502481 | PSN-PIP-BN-600/300-45 | CE |  | 9010653082750 |  |  |  | 2.5 | 2500 | [9 empty] | ProfiSNAP Montage-Seitenwand mit erweiterter Tiefe, H7=650 mm, 1 Paar (links und rechts) | Eaton xEnergy Basic anderes Zubehör | ProfiSNAP Mounting Side Wall with extended depth, H7=650mm, 1 pair consists of left and right part | Eaton xEnergy Basic other accessory | 35 | 520 | 300 | U
| Eaton | https://www.eaton.com/us/en-us.html | https://www.eaton.com/at/de-de/skuPage.EP-502482.html | 502482 | PSN-PIP-BN-800/300-45 | CE |  | 9010653082767 |  |  |  | 4 | 4000 | [9 empty] | ProfiSNAP Montage-Seitenwand mit erweiterter Tiefe, H10=950 mm, 1 Paar (links und rechts) | Eaton xEnergy Basic anderes Zubehör | ProfiSNAP Mounting Side Wall with extended depth, H10=950mm, 1 pair consists of left and right part | Eaton xEnergy Basic other accessory | 35 | 720 | 300 | U
| Eaton | https://www.eaton.com/us/en-us.html | https://www.eaton.com/at/de-de/skuPage.EP-502483.html | 502483 | PSN-PIP-BN-1000/300-45 | CE |  | 9010653082774 |  |  |  | 5.5 | 5500 | [9 empty] | ProfiSNAP Montage-Seitenwand mit erweiterter Tiefe, H12=1150 mm, 1 Paar (links und rechts) | Eaton xEnergy Basic anderes Zubehör | ProfiSNAP Mounting Side Wall with extended depth, H12=1150mm, 1 pair consists of left and right part | Eaton xEnergy Basic other accessory | 35 | 920 | 300 | U
| Eaton | https://www.eaton.com/us/en-us.html | https://www.eaton.com/at/de-de/skuPage.EP-502484.html | 502484 | PSN-PIP-BN-1000/500-BL | CE |  | 9010653082781 |  |  |  | 7 | 7000 | [9 empty] | ProfiSNAP Montage-Seitenwand mit erweiterter Tiefe, H15=1450 mm, 1 Paar (links und rechts) | Eaton xEnergy Basic anderes Zubehör | ProfiSNAP Mounting Side Wall with extended depth, H15=1450mm, 1 pair consists of left and right part | Eaton xEnergy Basic other accessory | 35 | 920 | 500 | U

## Additional Documents
|  |  | CNSELEK¦5¦1 | CNSELEK¦5¦1 | CNSELEK¦5¦1 | CNSELEK¦5¦1 | CNSELEK¦5¦1
Must field if documents are added | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field INTERNAL (für Buchi)
Material Master Data | Document information | Document information | Document information | Document information | Document information | Document information | Document information
Articlenumber | Document ID | Document type | Document path | Document | Document index | Description | Parent Entity
|  |  | 00001B001 | 000026001 | CNS_DATASHEET_INDEX | CNS_DATASHEET_DESCRIPTION
Articlenumber | Document ID (if there are more than one document for one product) | Document type -pdf -jpg -png -dxf | Document path (default language) - local import path /hyperlink CNSELEK¦5¦1 | Document Language CNSELEK¦5¦1 | Document index CNSELEK¦5¦1 | Document description (current Language) CNSELEK¦5¦1 | Parent Entity CNSELEK¦5¦4Parent Class Type” (00004B001)
502480 | Product details | pdf |  | english |  | Datasheet(EN)
502481 | Product details | pdf |  | english |  | Datasheet(EN)
502482 | Product details | pdf |  | english |  | Datasheet(EN)
502483 | Product details | pdf |  | english |  | Datasheet(EN)
502484 | Product details | pdf |  | english |  | Datasheet(EN)
502480 | Product details | pdf |  | german |  | Datasheet(GER)
502481 | Product details | pdf |  | german |  | Datasheet(GER)
502482 | Product details | pdf |  | german |  | Datasheet(GER)
502483 | Product details | pdf |  | german |  | Datasheet(GER)
502484 | Product details | pdf |  | german |  | Datasheet(GER)

## Product Accessory
CLASS ID |  | CNSELEK¦5¦4 | CNSELEK¦5¦4 | CNSELEK¦5¦4 | CNSELEK¦5¦4 | CNSELEK¦5¦4 | CNSELEK¦5¦4 | CNSELEK¦5¦4
DESCR | Must field if accessory is added | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field
PRIO | Material Master Data | Connection points | Connection points | Product property | Product property | Product property | Product property | Product property
TYPE | - | CNS_PARENT_CLS_ID_INST_ID | AAO676 | AAN350 | AAO663 | AAO677 | AAW338 | AAN553
ECLASS | - | 00004D001 | 000059001 | 000054001 | 000058001 | 00005A001 | 00005B001 | CNS_ASSOCIATED_PART_VARIANT_NAME
CNSATTR | Articlenumber main product | Connection point name / Pin name Main product (only necessary for pin based accessory) | Articlenumber accessory | Part relation to the main device (default = 1) 1 - accessory 2 - counterpart 3 - Label parts (inscription / marking) 4 - maintenance part 5 - resolve part 6 - spare 7 - system component 8 - Services 9 - Successor 10 - Substitute 11 - Alternative order unit | GTIN (string) | Manufacturer name (string) | Manufacturer product designation (string) | Accessory variant name / usage info
TEXT | - | - | - | - | - | - | - | -
DATA TYPE

## Connection Point Information
ClassId | [10 empty] | CNS_CP¦4¦3 |  |  |  |  | NEU |  | CNS_CP¦4¦7 | CNS_CP¦4¦7 | CNS_CP¦4¦7 | CNS_CP_AREA_BOX | CNS_CP_AREA_BOX | CNS_CP_AREA_BOX | CNS_CP_AREA_BOX | CNS_CP_AREA_BOX | CNS_CP_AREA_BOX | CNS_CP_AREA_BOX | CNS_CP¦4¦6 | CNS_CP¦4¦6 | CNS_CP¦4¦6 | CNS_CP¦4¦6 | CNS_CP¦4¦6 | CNS_CP¦4¦6 | CNS_CP¦4¦6 | CNS_CP¦4¦6 | CNS_CP¦4¦6 | CNS_CP¦4¦6 | CNS_CP¦4¦6 | CNS_CP¦4¦6 | CNS_CP¦4¦15¦3 | CNS_CP¦4¦15¦3 | CNS_CP¦4¦15¦3 | CNS_CP¦4¦15¦3 | CNS_CP¦4¦15¦3 | CNS_CP¦4¦15¦3 | CNS_CP¦4¦15¦3 | CNS_CP¦4¦15¦3 |  | CNS_CP¦4¦3 | CNSELEK¦5¦9¦1 | CNSELEK¦5¦9¦1 | CNSELEK¦5¦9¦1 | CNSELEK¦5¦9¦1 | CNSELEK¦5¦9¦1 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNSELEK¦5¦6¦1¦1 | CNSELEK¦5¦6¦1¦1 | CNSELEK¦5¦6¦1¦1 | CNSELEK¦5¦6¦1¦1 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦8 | CNS_CP¦4¦8 | CNS_CP¦4¦8 | CNS_CP¦4¦8 | CNS_CP¦4¦8 | CNS_CP¦4¦8 | CNS_CP¦4¦14 | CNS_CP¦4¦14 | CNS_CP¦4¦14 | CNS_CP¦4¦14 | CNS_CP¦4¦14 |  |  |  | CNS_CP¦4¦16 | CNS_CP¦4¦16 | CNS_CP¦4¦16 | CNS_CP¦4¦16 | CNS_CP¦4¦16 | CNS_CP¦4¦16 | CNS_CP¦4¦15¦1 | CNS_CP¦4¦15¦1 | CNS_CP¦4¦15¦1 | CNS_CP¦4¦15¦1 | CNS_CP¦4¦15¦1 | CNS_CP¦4¦15¦1 | CNS_CP¦4¦15¦1 | CNS_CP¦4¦15¦1 | CNS_CP¦4¦15¦1 | CNS_CP¦4¦15¦2 |  | CNS_CP¦4¦15¦2 | CNS_CP¦4¦15¦2 | CNS_CP¦4¦15¦2 | CNS_CP¦4¦15¦2 | CNS_CP¦4¦15¦2 | CNS_CP¦4¦15¦2 | CNS_CP¦4¦15¦2
| to be filled in for *Connection |  |  |  |  | ECP, Plug, Pneumatic, Prozess, Hydraulic, Mechanic, Optical, Plug Element | ECP, Plug, Pneumatic, Prozess, Hydraulic, Mechanic, Optical, Plug Element | ECP, Plug, Pneumatic, Prozess, Hydraulic, Mechanic, Optical, Plug Element | ECP, Plug, Pneumatic, Prozess, Hydraulic, Mechanic, Optical, Plug Element | ECP, Plug, Pneumatic, Prozess, Hydraulic, Mechanic, Optical, Plug Element | ECP | ECP, Plug, Pneumatic, Prozess, Hydraulic, Mechanic, Optical | ECP, Plug, Pneumatic, Prozess, Hydraulic, Mechanic, Optical | * | * | * |  | MD | MD | MD | BAR | BAR | BAR | BAR | BAR | BAR | BAR | MP | MP | MP | MP | MP | MP | MP-Area | MP-Area | MP-Area | MP-Area | MP-Area | MP-Area | GRD | GRD | GRD | GRD | GRD | GRD | GRD | GRD | ECP, Plug, Pneumatic, Prozess, Hydraulic, Mechanic, Optical | ECP | Rated Values | Rated Values | Rated Values | Rated Values | Rated Values | ECP | ECP | ECP | ECP | ECP | ECP | ECP | ECP | ECP | ECP | ECP | ECP | ECP | ECP/GeomSpec | ECP/GeomSpec | ECP/GeomSpec | ECP/GeomSpec | ECP | ECP | ECP | ECP | ECP | ECP | ECP | ECP | ECP | ECP | ECP | Drill | Drill | Drill | Drill | Drill | Drill | Drill | Drill | Drill | Drill | Drill | Drill | Drill | PLUG | PLUG | PLUG | PLUG | PLUG | PLUG | Plug Element (Terminal) | Plug Element (Terminal) | Plug Element (Terminal) | Plug Element (Terminal) | Plug Element (Terminal) | Pneumatic, Hydraulic | Pneumatic, Hydraulic | Pneumatic, Hydraulic | Actuation Vector | Actuation Vector | Actuation Vector | Actuation Vector | Actuation Vector | Actuation Vector | ALAB / Labelling Area | ALAB / Labelling Area | ALAB / Labelling Area | ALAB / Labelling Area | ALAB / Labelling Area | ALAB / Labelling Area | ALAB / Labelling Area | ALAB / Labelling Area | ALAB / Labelling Area | ARES / Restricted Area | ARES / Restricted Area | ARES / Restricted Area | ARES / Restricted Area | ARES / Restricted Area | ARES / Restricted Area | ARES / Restricted Area | ARES / Restricted Area | ARES / Restricted Area
Priority | This tab is not to be filled in for cable PDT, please use "wire ID information" tab instead. Also not to be filled in for subcircuit PDT. | Must field | Must field only if coordinates are available | Optional field | Optional field | Must field | Optional field | Optional field | Optional field | Optional field | Must Field if available if not created from ECADPORT | Must field | Must Field if available if not created from ECADPORT | Optional field | Optional field | Optional field | Optional field | Must field | Must field | Must field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Must field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Must field | Must field | Must field | Optional field | Must field | Must field | Must field | Must field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Must field | Optional field | Must field | Optional field | Optional field | Optional | Optional | Optional | Optional field | Optional field | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Must field | Must field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field (only one of the columns must be filled in) |  | Optional field | Optional field | Optional field | Must field | Optional field | Optional field | Optional field | Optional field | Optional field | Must field | Optional field | Optional field | Optional field | Must field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Must field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field
Type |  | Material Master Data | Product property | Project Handling | Project Handling | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property
PropertyId | ECLASS property | AAO676 | None | CNS_PROJECT_PATH | CNS_CONDITION | AAC342 | AAN342 | AAN342 | AAN341 | AAN497 | AAM734 | AAN496 | AAB754 | AAC338 | AAC338_CD | AAM479 | AAC338_SR | AAS191 | Mounting description | Link MD | barred/restricted Area, Length (Y) | barred/restricted Area, Width (X) | barred/restricted Area, Height (Z) | AAM654 | barred/restricted Area, Translate X | barred/restricted Area, Translate Y | barred/restricted Area, Translate Z | AAN575 | AAN576 | AAN472 | AAN577 | AAN577 | AAN608 | 00006F001 | 000070001 | CNS_AREA_EXTENSION_U | CNS_AREA_EXTENSION_V | CNS_MOUNTING_RECEPTACLE_CONTURE | CNS_COMPONENT_FUNCTION_3D | CNS_SIM_DESCRIPTION | CNS_SIM_DESCRIPTION | CNS_UINCREMENT | CNS_VINCREMENT | CNS_ULINENUM | CNS_VLINENUM | CNS_UOFFSET | CNS_UOFFSET | AAC313 | AAN413 | CNS_PARENT_CLS_ID_INST_ID | BAH005 | AAB485 | AAB491 | AAN391 | CROSSSECTION_MIN | CROSSSECTION_MAX | AAS444 | CROSSSECTION_MIN_AWG | CROSSSECTION_MAX_AWG | AAC384 | AAN512_MIN | AAN512_MAX | AAN513_MIN | AAN513_MAX | MAX_WIRE_COUNT | AAB202 | AAN404 | CNS_PARENT_CLS_ID_INST_ID | CNS_MIN_INSULATION_DIAMETER | CNS_MAX_INSULATION_DIAMETER | AAG644 | AAS447_MIN | AAS447_MAX | AAC207 | AAC202 | AAM557 | AAM558 | AAM559 | AAM560 | AAM561 | AAM657 | AAM658 | AAN575 | CNS_PARENT_CLS_ID_INST_ID | AAS449 | AAN476 | 000005001 | 00000B001 | - | CNS_DRILLING_ANGLE | CNS_DRILLING_DIMENSION1 | CNS_DRILLING_DIMENSION1 | CNS_DRILLING_DIMENSION2 | CNS_DRILLING_DIMENSION3 | CNS_DRILLING_REPETITION | Plug Connector Designation | AAN579 | AAN580 | AAR935 | AAR936 | ABC338 | CNS_PARENT_CLS_ID_INST_ID | AAN563 | AAN562 | AAC343** | AAN562 | ? | ? | ? | - | - | - | - | - | - | 000039001 | CNS_AREA_1_DIMENSION | CNS_AREA_2_DIMENSION | CNS_AREA_3_DIMENSION | AAZ399 | AAZ760 | AAS366 | AAZ375 | AAT099 | CNS_PARENT_CLS_ID_INST_ID | 000039001 | CNS_AREA_1_DIMENSION | CNS_AREA_2_DIMENSION | CNS_AREA_3_DIMENSION | AAZ399 | AAZ760 | AAS366 | CNS_RESTRICTED_AREA_TYPE
PropertyName | Variable name (CNS internal) | AAO676 | Only Classification | CNS_PROJECT_PATH | CNS_CONDITION | AAC342 | CNS_CONNECTION_DESCRIPTION | CNS_CONNECTION_DESCRIPTION | CNS_CONNECTION_DESIGNATION | CNS_CONNECTOR_REMOVIBLE | AAM734 | AAN496 | AAB754 | AAC338 | AAC338_CD | AAM479 | CNS_SYMBOL_REFERENCE | CNS_ATTR_NAME | CNS_SIM_DESCRIPTION | Link MD | CNSLENGTH | CNSWIDTH | CNSHEIGHT | CNS_TYPE_OF_BARRED_AREA | CNSTRANSX | CNSTRANSY | CNSTRANSZ | CNS_ATTR_NAME | 00006A001 | CNS_VARIANT_NAME | CNS_SIM_DESCRIPTION | CNS_SIM_DESCRIPTION | CNS_COMPONENT_MOUNTING_TYPE | 00006F001 | 000070001 | CNS_AREA_EXTENSION_U | CNS_AREA_EXTENSION_V | CNS_MOUNTING_RECEPTACLE_CONTURE | CNS_COMPONENT_FUNCTION_3D | CNS_SIM_DESCRIPTION | CNS_SIM_DESCRIPTION | CNS_UINCREMENT | CNS_VINCREMENT | CNS_ULINENUM | CNS_VLINENUM | CNS_UOFFSET | CNS_UOFFSET | Connection group | Connection function | CNS_PARENT_CLS_ID_INST_ID | CNS_RATED_VOLTAGE | CNS_RATED_CURRENT | CNS_RATED_ISOLATION_VOLTAGE | CNS_RATING_TO | CROSSSMIN | CROSSSMAX | AAS444 | CROSSSECTION_MIN_AWG | CROSSSECTION_MAX_AWG | AAC384 | AAN512_MIN | AAN512_MAX | AAN513_MIN | AAN513_MAX | MAXWC | AAB202 | 000023001 | CNS_PARENT_CLS_ID_INST_ID | AAB202 | AAB202 | CNS_SOCKET_SIZE | 00005E001 | 00005G001 | AAC207 | AAC202 | CNS_GALVANIC_ISOLATION_FROM_OUTPUTS | CNS_GALVANIC_ISOLATION_FROM_INPUTS | CNS_GALVANIC_ISOLATION_FROM_EARTH_GROUND | CNS_GALVANIC_ISOLATION_FROM_COMMUNICATION_INTERFACES | CNS_GALVANIC_ISOLATION_FROM_EXTERNAL_POWER_SUPPLIES | CNS_GALVANIC_ISOLATION_FROM_INTERNAL_POWER_SUPPLIES | CNS_GALVANIC_ISOLATION_FOR_GALVANIC_ISOLATION | CNS_ATTR_NAME | 00004D001 | AAS449 | AAN476 | 000005001 | AAQ664 | - | CNS_DRILLING_ANGLE | BAA561 | AAC381 | CNS_DRILLING_DIMENSION2 | CNS_DRILLING_DIMENSION3 | CNS_DRILLING_REPETITION | CNS_PLUG_CONNECTOR_DESIGNATION | CNS_DESIGN_OF_THE_PLUG_CONNECTION | CNS_TYPE_OF_PLUG_CONNECTION | CNS_PLUG_CONNECTOR_MOUNTING_ORIENTATION | CNS_DESCRIPTION_OF_THE_MOUNTING_ORIENTATION | CNS_CONNECTOR_CODING | CNS_PARENT_CLS_ID_INST_ID | CNS_EXECUTION_OF_THE_PLUG_CONNECTION | CNS_TYPE_OF_PLUG_CONNECTION | CNS_EXCHANGEABILITY_OF_THE_CONNECTOR_NAME | CNS_DOMAIN_OF_PLUG_CONNECTION | ? | ? | ? | - | - | - | - | - | - | 000039001 | CNS_AREA_1_DIMENSION | CNS_AREA_2_DIMENSION | CNS_AREA_3_DIMENSION | CNS_AREA_SHAPE | CNS_AREA_POLYGON_DATA | CNS_AREA_TEXT_ROTATION_ANGLE | CNS_SURFACE_TREATMENT_CODE | CNS_COLOR_NUMBER_ACCORDING_TO_RAL | CNS_PARENT_CLS_ID_INST_ID | 000039001 | CNS_AREA_1_DIMENSION | CNS_AREA_2_DIMENSION | CNS_AREA_3_DIMENSION | CNS_AREA_SHAPE | CNS_AREA_POLYGON_DATA | CNS_AREA_TEXT_ROTATION_ANGLE | CNS_RESTRICTED_AREA_TYPE
Description | English variable description | Articlenumber | Connection point name pins (suggestion is ECP_1 and a pattern f.e. a connector has 10 equal connections we need ECP_1-ECP_10, if on customer side available we take in X,Y,Z plus direction/orientation, if there are already a pattern use ECP_1 and in further lines ECP_2… to bring in the coordinates for this articlenumber) 1 - ECP_* 2 - OP 3 - MD 4 - MP 5 - PNCP_* / Pneumatic 6 - HCP_* / Hydrualic 7 - MCP_* / Mechanic 8 - PRCP_* / Process 9 - PLCP_* / Plug 10 - DRILL 11 - BAR_* / barred 12 - ALAB_*/ area labeling 13 - ARES_* / area restriction 14 - ACTV_* / actuating vector 15 - GRD_* / mounting grid 16 - PLECP_* / Plug Element | CNS project path | CNS condition | Connection name (applies only to ECP, PNCP, HCP, PRCP, PLCP) | Connection description (DE) | Connection description (EN) | Connection designation | 1 - Yes 2 - No | Connection Type Ongoing.-Nr. (insert number or the name 21 types possible) 1 - Band connection 2 - Bolt connection 3 - Cable terminal screw 4 - Clamping strap 5 - Conductor plate connection 6 - Female connector 7 - Flat plug-in connector 8 - Frame clamp 9 - Male connector 10 - Plug-in connection 11 - Rail connection 12 - Ring cable connection 13 - Screw connection 14 - Soldering lug connection 15 - Spring pulley connection 16 - Wire-Wrap connection 17 - Push-in connection 18 - Phase busbar connection 19 - Soldered connection 20 - Connection combination plug-socket 21 - Connection combination socket-plug | Connection direction 1- from behind 2 - from down 3 - from above 4 - in front 5 - from left 6 - from right | Symbolnumber IEC based Ongoing.-Nr. 1 - Female S00031 2 - Male S00032 3 - 999 applicable IEC Symbols | Function name | Channel designation | Supported protocol (buss-system) | Symbol name out of the symbol library | name of fixing variant | Type of mounting (70 values possible applies only to MD) 1 - flanged 2 - clamped 3 - welded 4 - 19 inch 5 - Assembly 6 - Base assembly 7 - Base assembly for stop doors 8 - Base assembly for two-way doors 9 - Base attachment 10 - Bus bar 11 - Bus bar fastening 12 - continuous covered screwed 13 - continuous one-sided covered screwed 14 - continuous visibly screwed 15 - cover screwed 16 - C-profile 17 - DIN track 18 - Direct assembly 19 - Direct extension 20 - Direct mounting/individual installation 21 - Doorframe assembly 22 - doorframe assembly/hinge side 23 - doorframe assembly/opposite to hinge side 24 - door hinge mounting/hinge side 25 - door hinge mounting/opposite to hinge side 26 - Door leaf mounting 27 - Flange 28 - Foot assembly 29 - Front assembly 30 - front attachment 31 - G track G32 32 - Inserted 33 - Installation 34 - integrable 35 - Metric 36 - Mountable and integrable 37 - Mounted 38 - Mounting face 39 - Parallel assembly 40 - Pinned 41 - pluggable 42 - pluggable 43 - plug in module 44 - Plug insert 45 - Pushed-through 46 - quick fastening 47 - Rail/direct mounted 48 - screwable 49 - Screwed 50 - Screw mounting 51 - Side extension 52 - Single installation 53 - Snap-mounted supporting rail 54 - Snap-on mounting 55 - Socket 56 - Special assembly 57 - Special profiles 58 - Surface mounted 59 - Terminal mount 60 - Top-hat/g-rail TH35/G32 61 - Top-hat rail TH15 62 - Top-hat rail TH35 63 - Top-hat rail TH75 64 - visibly screwed 65 - Wall mounting 66 - with cams 67 - With holder 68 - without cams 69 - Wall assembly 70 - DIN rail mounting | Link Mounting description connection point with classification | barred/restricted Area | barred/restricted Area | barred/restricted Area | Type of Barred Area 1 - Connection 2 - electrical to be energized parts 3 - electrical to earth parts 4- Maintenance 5 - thermal | barred/restricted Area | barred/restricted Area | barred/restricted Area | Component receptacle designation | Components receptacle description | Components receptacle variant designation | Components receptacle variants description (DE) | Components receptacle variants description (EN) | Type of Mounting of component 1 - build at the top 2 - build on down 3 - build on the device 4 - build under device 5 - inside 7 - side build on the right | Is Linear | Is Area | Extend U | Extend V | Mounting Receptacle Conture (external file ref) | Component function 3D 1 - Door 2 - Door left 3 - Door right 4 - Floor 5 - Cover back 6 - Area floor sheets 7 - Floor sheet outside 8 - Floor sheet inside 9 - Door inside 10 - Door left inside 11 - Door left outside 12 - Door outside 13 - Door right inside ... | mounting grid description (DE) | mounting grid description (EN) | mounting grid x increment (step size) | mounting grid y increment (step size) | mounting grid x steps (integer) | mounting grid y steps (integer) | offset from Connpoint in local U direction (mm) | offset from Connpoint in local V direction (mm) | Connection group (grouping connection using a string identifier) | Connection function ( 30 values) 1 - Collektor 2 - Common contact 3 - Contact normally close 4 - Contact normally open 5 - Drain 6 - Emitter 7 - GND 8 - load input 9 - load output 10 - main circuit 11 - neutral conductor 12 - protective conductor 13 - shield 14 - signal input 15 - signal output 16 - Source 17 - supply voltage 18 - Connection 19 - equipotential bounding conductor 20 - earthing conductor 21 - device-specific 22 - level 1 23 - level 2 24 - level 3 25 - level 4 26 - level 5 27 - level 6 28 - level 7 29 - level 8 30 - level 9 | Connection Point ID | Rated Voltage | Rated Permanent Current | Rated Isolation Voltage | Rating to (5 values) 1 - IEC 2 - UL 3 - UR 4 - CSA 5 - CUL | Cross section nominal min (multi wire) | Cross section nominal max (multi wire) | Total max. cross section | Cross section nominal min (36 values possible) (2/0) (3/0) (4/0) 1 2 4 6 8 10 12 14 16 18 20 22 24 26 28 30 32 34 36 38 40 42 44 250 350 500 No Input 1000 900 550 600 750 300 | Cross section nominal max (36 values possible) (2/0) (3/0) (4/0) 1 2 4 6 8 10 12 14 16 18 20 22 24 26 28 30 32 34 36 38 40 42 44 250 350 500 No Input 1000 900 550 600 750 300 | Total max cross section AWG (2/0) (3/0) (4/0) 1 2 4 6 8 10 12 14 16 18 20 22 24 26 28 30 32 34 36 38 40 42 44 250 350 500 No Input 1000 900 550 600 750 300 | Cross section nominal min single wire (default equal to cross section nominal min) | Cross section nominal max single wire (default equal to cross section nominal max) | Cross section nominal min multi wire (default equal to cross section nominal min) | Cross section nominal max multi wire (default equal to cross section nominal max) | Max wire count | Strip length (isolation) | Bridge circuit connector 1 - No 2 - Yes | Connection Point ID | Insulation diameter min (Needed for crimper) | Insulation diameter max (Needed for crimper) | socket size 1 - #0 2 - #00 3 - #1 4 - #01 5 - #2 6 - #02 7 - #3 8 - #4 … | tightening torque (MIN) | tightening torque (MAX) | Material of the contact (insert number or the name of the material, 20 values possible) 1 - aluminum 2 - Beryllium copper 3 - Brass 4 - Bronze 5 - Ceramic 6 - Constantan alloy 7 - Copper 8 - CuSn 9 - CuZn 10 - Glass 11 - Iron 12 - Nickel 13 - Other copper alloys 14 - Other non-copper allows ... | Material of the contact coat (insert number or the name of the plating, 14 values possible) 1 - without 2 - Silver 3 - Gold 4 - Brass 5 - Bronze 6 - Gold 7 - Nickel/gold 8 - Nickel 9 - Palladium 10 - Silver 11 - Sn 12 - Tin 13 - untreated 14 - Zinc | galvanic isolation from outputs | galvanic isolation from inputs | galvanic isolation from earth/ground | galvanic isolation from communication interfaces | galvanic isolation from external power supplies | galvanic isolation from internal power supplies | reference standard for galvanic isolation | Component receptacle designation | associated mounting description (e.g. MD_1) | drilling name | drilling type 1 - Hole 2 - thread inch 3 - thread metric | drilling subtype (EPLAN specific) 1 - Round 2 - Rectangular 3 - Long-hole type 4 - Polyangular 5 - Hexagonal | name of drilling contour (dxf) -. Applies to drilling sub type: polyangular | Document ID of drilling contour | drilling angle | drilling dimension 1 -> diameter for drill (hole) / height for rectangular | drilling dimension 1 (coded thread size) -> diameter for drill (hole) / height for rectangular 1 - M3 2 - M10 3 - M4 4 - M5 5 - M6 6 - M8 7 - M12 8 - M14 | drilling dimension 2 -> width for rectangular | drilling dimension 3 | Drilling_Repetition (int) | Plug Connector Designation | Design of the plug Connection 1 - Female 2 - Male 3 - Mixed | Type of plug Connection 1 - axial screw connection 2 - Bolt connection 3 - Bus hood 4 - Cable 5 - cable 6 - Cable axial 7 - cable entry metrical 8 - cable entry PG 9 - Cable radial … | Plug Connector mounting orientation (double) | Description of the mounting orientation | Coding 1 - M-coded 2 - K-coded 3 - L-coded 4 - E-coded 5 - X-coded 6 - Y-coded 7 - T-coded 8 - S-Coded 9 - D-coded 10 - C-coded 11 - B-coded 12 - A-coded 13 - Socket … | Parent Plug Connector ID | Execution of the plug connection 1 - female connector 2 - male connector 3 - male or female connector 4 - optical plug connector 5 - plug body 6 - plug contact guide | Type of the plug connection 1 - Electrical 2 - hydraulic 3 - Mechanical 4 - optical 5 - pneumatic 6 - process | exchangeability of the connector name | Type/"Domain" of Plug Element 1 - Electric 2 - Hydraulic 3 - L-coded 4 - E-coded 5 - X-coded 6 - Y-coded 7 - T-coded 8 - S-Coded 9 - D-coded 10 - C-coded 11 - B-coded 12 - A-coded 13 - Socket … | External Dimater | Inner Diameter | Thread Size | Connection point X | Orientation vector X (default 0.0) | Connection point Y | Orientation vector Y (default 0.0) | Connection point Z | Orientation vector Z (default 1.0) | Identifier | Area 1. Dimension | Area 2. Dimension | Area 3. Dimension | Area Shape 1 - Polygon 2 - Ring-shaped 3 - Round 4 - Rectangular | Area Polygon Data [reference to polygon data, dxf] | Area Text Rotation Angle | Surface Treatment Code (string) | Color Number according to RAL (integer) | Parent ID of Mounting Plane, etc. (e.g. "MP_4") | Identifier | Area 1. Dimension | Area 2. Dimension | Area 3. Dimension | Area Shape 1 - Polygon 2 - Ring-shaped 3 - Round 4 - Rectangular | Area Polygon Data [reference to polygon data, dxf] | Area Text Rotation Angle | Restriction Area Type 1 - Restricted placing area 2 - Restricted drilling area 3 - Restricted routing range
Unit | Units | - | - | - | - | - | - | - | - | - | - | - | - |  |  |  |  | - | - | - | mm | mm | mm | - | mm | mm | mm | - | - | - | - | - | - | - | - | mm | mm | mm | - | - | - | mm | mm | - | - | mm | mm | - | - |  | V | A | V |  | mm² | mm² | mm² | - | - | - | mm² | mm² | mm² | mm² | - | mm | - |  | mm | mm | - | Nm | Nm | - | - | V | V | V | V | V | V | - | - | - | - | - | - | - | - | [°] | mm | - | - | - | - | - | - | - | ° | - | - | - | - | - | - |  | mm | mm | - | - | - | - | - | - | - | - | mm | mm | mm | - | - | ° | - | - | - | - | mm | mm | mm | - | - | ° | -
Body
|  | 502480 | OP
|  | 502480 | MD | [14 empty] | Plug-In Panel | Plug-In Panel | LINK_MD
|  | 502480 | MP_PA_1 |  |  | Mounting surface |  | Mounting surface | [10 empty] | Mounting surface | [8 empty] | Mounting surface | Mounting surface |  |  |  |  | 0 | 1 | 320 | 198 |  | Mounting surface
|  | 502480 | MP_PA_2 |  |  | Mounting surface NC front |  | Mounting surface NC front | [10 empty] | Mounting surface NC front | [8 empty] | Mounting surface NC front | Mounting surface NC front |  |  |  |  | 0 | 1 | 320 | 198 |  | Mounting surface NC front
|  | 502480 | ARES_1 | [121 empty] | MP_PA_2 | ARES_1 | 60 | 60 |  | 4 |  |  | 2
|  | 502480 | ARES_2 | [121 empty] | MP_PA_2 | ARES_2 | 10 | 10 |  | 4 |  |  | 2
|  | 502480 | ARES_3 | [121 empty] | MP_PA_2 | ARES_3 | 320 | 41 |  | 4 |  |  | 2
|  | 502480 | ARES_4 | [121 empty] | MP_PA_2 | ARES_4 | 320 | 60 |  | 4 |  |  | 2
|  | 502480 | BAR_1 | [17 empty] | 60 | 60 | 36
|  | 502480 | BAR_2 | [17 empty] | 10 | 10 | 1.25
|  | 502481 | OP
|  | 502481 | MD | [14 empty] | Plug-In Panel | Plug-In Panel | LINK_MD
|  | 502481 | MP_PA_1 |  |  | Mounting surface |  | Mounting surface | [10 empty] | Mounting surface | [8 empty] | Mounting surface | Mounting surface |  |  |  |  | 0 | 1 | 520 | 198 |  | Mounting surface
|  | 502481 | MP_PA_2 |  |  | Mounting surface NC front |  | Mounting surface NC front | [10 empty] | Mounting surface NC front | [8 empty] | Mounting surface NC front | Mounting surface NC front |  |  |  |  | 0 | 1 | 520 | 198 |  | Mounting surface NC front
|  | 502481 | ARES_1 | [121 empty] | MP_PA_2 | ARES_1 | 60 | 60 |  | 4 |  |  | 2
|  | 502481 | ARES_2 | [121 empty] | MP_PA_2 | ARES_2 | 10 | 10 |  | 4 |  |  | 2
|  | 502481 | ARES_3 | [121 empty] | MP_PA_2 | ARES_3 | 520 | 41 |  | 4 |  |  | 2
|  | 502481 | ARES_4 | [121 empty] | MP_PA_2 | ARES_4 | 520 | 60 |  | 4 |  |  | 2
|  | 502481 | ARES_5 | [121 empty] | MP_PA_2 | ARES_5 | 71 | 46 |  | 4 |  |  | 2
|  | 502481 | BAR_1 | [17 empty] | 60 | 60 | 36
|  | 502481 | BAR_2 | [17 empty] | 10 | 10 | 1.25
|  | 502481 | BAR_3 | [17 empty] | 46 | 71 | 1.25
|  | 502481 | MP_1 |  |  | User supplementary point 1 |  | Blanking plate | [10 empty] | Blanking plate | [8 empty] | Blanking plate | Blanking plate |  | Blindabdeckung | Blanking plate |  | 1 | 0 | 71
|  | 502482 | OP
|  | 502482 | MD | [14 empty] | Plug-In Panel | Plug-In Panel | LINK_MD
|  | 502482 | MP_PA_1 |  |  | Mounting surface |  | Mounting surface | [10 empty] | Mounting surface | [8 empty] | Mounting surface | Mounting surface |  |  |  |  | 0 | 1 | 720 | 198 |  | Mounting surface
|  | 502482 | MP_PA_2 |  |  | Mounting surface NC front |  | Mounting surface NC front | [10 empty] | Mounting surface NC front | [8 empty] | Mounting surface NC front | Mounting surface NC front |  |  |  |  | 0 | 1 | 720 | 198 |  | Mounting surface NC front
|  | 502482 | ARES_1 | [121 empty] | MP_PA_2 | ARES_1 | 60 | 60 |  | 4 |  |  | 2
|  | 502482 | ARES_2 | [121 empty] | MP_PA_2 | ARES_2 | 10 | 10 |  | 4 |  |  | 2
|  | 502482 | ARES_3 | [121 empty] | MP_PA_2 | ARES_3 | 720 | 41 |  | 4 |  |  | 2
|  | 502482 | ARES_4 | [121 empty] | MP_PA_2 | ARES_4 | 720 | 60 |  | 4 |  |  | 2
|  | 502482 | ARES_5 | [121 empty] | MP_PA_2 | ARES_5 | 214 | 46 |  | 4 |  |  | 2
|  | 502482 | BAR_1 | [17 empty] | 60 | 60 | 36
|  | 502482 | BAR_2 | [17 empty] | 10 | 10 | 1.25
|  | 502482 | BAR_3 | [17 empty] | 46 | 214 | 1.25
|  | 502482 | MP_1 |  |  | User supplementary point 1 |  | Blanking plate | [10 empty] | Blanking plate | [8 empty] | Blanking plate | Blanking plate |  | Blindabdeckung | Blanking plate |  | 1 | 0 | 214
|  | 502483 | OP
|  | 502483 | MD | [14 empty] | Plug-In Panel | Plug-In Panel | LINK_MD
|  | 502483 | MP_PA_1 |  |  | Mounting surface |  | Mounting surface | [10 empty] | Mounting surface | [8 empty] | Mounting surface | Mounting surface |  |  |  |  | 0 | 1 | 920 | 198 |  | Mounting surface
|  | 502483 | MP_PA_2 |  |  | Mounting surface NC front |  | Mounting surface NC front | [10 empty] | Mounting surface NC front | [8 empty] | Mounting surface NC front | Mounting surface NC front |  |  |  |  | 0 | 1 | 920 | 198 |  | Mounting surface NC front
|  | 502483 | ARES_1 | [121 empty] | MP_PA_2 | ARES_1 | 60 | 60 |  | 4 |  |  | 2
|  | 502483 | ARES_2 | [121 empty] | MP_PA_2 | ARES_2 | 10 | 10 |  | 4 |  |  | 2
|  | 502483 | ARES_3 | [121 empty] | MP_PA_2 | ARES_3 | 920 | 41 |  | 4 |  |  | 2
|  | 502483 | ARES_4 | [121 empty] | MP_PA_2 | ARES_4 | 920 | 60 |  | 4 |  |  | 2
|  | 502483 | ARES_5 | [121 empty] | MP_PA_2 | ARES_5 | 214 | 46 |  | 4 |  |  | 2
|  | 502483 | BAR_1 | [17 empty] | 60 | 60 | 36
|  | 502483 | BAR_2 | [17 empty] | 10 | 10 | 1.25
|  | 502483 | BAR_3 | [17 empty] | 46 | 214 | 1.25
|  | 502483 | MP_1 |  |  | User supplementary point 1 |  | Blanking plate | [10 empty] | Blanking plate | [8 empty] | Blanking plate | Blanking plate |  | Blindabdeckung | Blanking plate |  | 1 | 0 | 214
|  | 502484 | OP
|  | 502484 | MD | [14 empty] | Plug-In Panel | Plug-In Panel | LINK_MD
|  | 502484 | MP_PA_1 |  |  | Mounting surface |  | Mounting surface | [10 empty] | Mounting surface | [8 empty] | Mounting surface | Mounting surface |  |  |  |  | 0 | 1 | 920 | 398 |  | Mounting surface
|  | 502484 | MP_PA_2 |  |  | Mounting surface NC front |  | Mounting surface NC front | [10 empty] | Mounting surface NC front | [8 empty] | Mounting surface NC front | Mounting surface NC front |  |  |  |  | 0 | 1 | 920 | 398 |  | Mounting surface NC front
|  | 502484 | ARES_1 | [121 empty] | MP_PA_2 | ARES_1 | 60 | 60 |  | 4 |  |  | 2
|  | 502484 | ARES_2 | [121 empty] | MP_PA_2 | ARES_2 | 10 | 10 |  | 4 |  |  | 2
|  | 502484 | ARES_3 | [121 empty] | MP_PA_2 | ARES_3 | 920 | 41 |  | 4 |  |  | 2
|  | 502484 | ARES_4 | [121 empty] | MP_PA_2 | ARES_4 | 920 | 60 |  | 4 |  |  | 2
|  | 502484 | BAR_1 | [17 empty] | 60 | 60 | 36
|  | 502484 | BAR_2 | [17 empty] | 10 | 10 | 1.25

## cabinet
| Must field if available, if not created from ECADPORT | Must field if available, if not created from ECADPORT | Must field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field
| Product main group | Product main group | Material Master Data | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property
ECLASS property | REFERENCE_FEATURE_GROUP_ID | REFERENCE_FEATURE_SYSTEM_NAME | AAO676 | AAB401 | AAB451 | AAB644 | AAB681 | AAB770 | AAC054 | AAC218 | AAC265 | AAC929 | AAE670 | AAF507 | AAF508 | AAG021 | AAM117 | AAM272 | AAM354 | AAO187 | AAO188 | AAO189 | AAO190 | AAO191 | AAO193 | AAP428 | AAP429 | AAP542 | AAQ326 | AAS577 | AAT099 | AAW361 | AAZ486 | BAA105 | BAA351 | BAB664 | BAC295 | BAD288 | BAD290 | BAD307 | BAD308 | BAD674 | BAD715 | BAE765 | BAF634 | BAF728 | BAF785 | BAG975 | BAH439 | BAH443
Variable name (CNS internal) | Only Classification | Only Classification | AAO676 | AAB401 | AAB451 | AAB644 | AAB681 | AAB770 | AAC054 | AAC218 | AAC265 | AAC929 | AAE670 | AAF507 | AAF508 | AAG021 | AAM117 | AAM272 | AAM354 | AAO187 | AAO188 | AAO189 | AAO190 | AAO191 | AAO193 | AAP428 | AAP429 | AAP542 | AAQ326 | AAS577 | AAT099 | AAW361 | AAZ486 | BAA105 | BAA351 | BAB664 | BAC295 | BAD288 | BAD290 | BAD307 | BAD308 | BAD674 | BAD715 | BAE765 | BAF634 | BAF728 | BAF785 | BAG975 | BAH439 | BAH443
English variable description | ECLASS number 27-18-01-** 27-18-07-01 | ECLASS number (up to the current version) | product article number of manufacturer (string) | Design of the 19 Inch cabinet (string) | type of mounting 1 - slide (before mounting) 2 - for distance mounting 3 - Mounting flange 4 - Velco type 5 - 10 inch 6 - 10 Inch 7 - 17 inch 8 - 19 inch/24 inch 9 - 19 inch / 24 inch 10 - 21 inch 11 - 23 inch … | Frame, shelf (accumulated) 1 - No 2 - Yes | suitable for metric installation 1 - No 2 - Yes | Lighting installation, device 1 - No 2 - Yes | Mounting plate adjustable in depth 1 - No 2 - Yes | EMC design present 1 - No 2 - Yes | back door present 1 - No 2 - Yes | Number of doors (integer) | additional link address (string) | REACH registration present 1 - No 2 - Yes | Contains substance according to SVHC 1 - No 2 - Yes | impact strength 1 - >IK10 1 - >IK10 2 - Miscellaneous 2 - Sonstiges 3 - IK00 3 - IK00 4 - average (class 3) 4 - mittel (Klasse 3) 5 - heavy (class 4) 5 - schwer (Klasse 4) 6 - IK01 6 - IK01 7 - IK02 7 - IK02 8 - IK03 8 - IK03 9 - IK04 9 - IK04 10 - IK05 10 - IK05 ... | glazed door present 1 - No 2 - Yes | wall build in possible 1 - No 2 - Yes | tackable possible 1 - No 2 - Yes | Name of SVHC substance (string) | Weight percentage of the contained substance (SVHC) | On-line reference REACH (string) | On-line reference security data sheet (string) | RoHS attention of conformity 1 - No 2 - Yes | Category 1 - Device batteries, primarily 2 - Device batteries,secondarily 3 - Industriebatterien und -akkumulatoren 4 - Vehicle batteries and vehicle accumulators | Number of doors back (integer) | Number of doors front (integer) | Number of locks (integer) | address of additional link (string) | Power loss output capacity [Ple] | Color number according to RAL (integer) | protection type (NEMA) 1 - NEMA 1 2 - NEMA 2 3 - NEMA 3 4 - NEMA 3R 5 - NEMA 3S 6 - NEMA 3X 7 - NEMA 3RX 8 - NEMA 3SX 9 - NEMA 4 10 - NEMA 4X 11 - NEMA 5 12 - NEMA 6 13 - NEMA 6P … | Degree of protection (NEMA) 1 - NEMA 3, 4, 7, 9 2 - NEMA 3, 4, 12 3 - NEMA 7, 9 4 - NEMA 1, 2, 3R, 12, 13 5 - NEMA 1, 4X, 12K, Indoor use only, 13 6 - NEMA 1, 2, 3, 3R, 4, 4X, 12K, 13 7 - NEMA 1, 2, 3, 3R, 4, 4X, 12, 13 8 - NEMA 1, 2, 3, 3R, 4, 4X, 12K ... | Number of locks (integer) | color 1 - Other 2 - cream white/electro white 3 - Stainless steel 4 - Platinum 5 - aluminum 6 - matte 7 - adria 8 - agate 9 - Amber 10 - amber 11 - amethyst 12 - anthracite 13 - anthracite-mottled … | material 1 - Real glas 2 - Thermoplast 3 - Polyvinylalkohol (PVA) 4 - Coex 5 - recycled paper 6 - eucalyptus 7 - bamboo 8 - 10CrMo910 9 - 13CrMo44 10 - 15Mo3 11 - 15NiCuMoNb5 12 - 18/8 steel 13 - 70 NBR/803 ... | Color (string) | On plaster possible 1 - No 2 - Yes | Assembly on floor is possible 1 - No 2 - Yes | Flush installation possible 1 - No 2 - Yes | Wall assembly possible 1 - No 2 - Yes | suitable for 19 inch installation 1 - No 2 - Yes | suitable for series installation 1 - No 2 - Yes | Number of height units (integer) | Material 1 - Real glas 2 - Thermoplast 3 - aluminum 4 - Aluminum+lacquer 5 - Box/lever handle: cast light metal 6 - Box/pressure plate: cast light metal 7 - Box/rotating lever: cast light metal 8 - Box/rotating lever: stainless steel 9 - Brass 10 - Bronze ... | Mounting plate present 1 - No 2 - Yes | Surface 1 - brushed 2 - Decor 3 - Other 4 - Hot-dip galvanized 5 - copper-plated 6 - Anodized 7 - galvanic/electrolytic zinc plated 8 - based 9 - Bi-chromalized 10 - Chromalized 11 - Galvanized 12 - lacquered 13 - nickel-plated … | degree of protection 1 - without 2 - IPX8 3 - IPX6 4 - IPX4D 5 - IPX2 6 - IP68/IPX9K 7 - IP66/IP67/IP69 8 - IP66/IP67 9 - IP60 10 - IP59K 11 - IP51 12 - IP65 / IP67 (according to IEC 60529) 13 - IP65/IP67 … | Color number according to RAL (integer) | Inspection door present 1 - No 2 - Yes
Units | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | % | - | - | - | - | - | - | - | - | W | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| 27182806 | 13 | 502480 | [9 empty] | https://www.eaton.com/at/de-de/skuPage.EP-502480.html | [15 empty] | https://www.eaton.com/at/de-de/skuPage.EP-502480.html | [6 empty] | Steel | [8 empty] | Steel |  | Powder coating
| 27182806 | 13 | 502481 | [9 empty] | https://www.eaton.com/at/de-de/skuPage.EP-502481.html | [15 empty] | https://www.eaton.com/at/de-de/skuPage.EP-502481.html | [6 empty] | Steel | [8 empty] | Steel |  | Powder coating
| 27182806 | 13 | 502482 | [9 empty] | https://www.eaton.com/at/de-de/skuPage.EP-502482.html | [15 empty] | https://www.eaton.com/at/de-de/skuPage.EP-502482.html | [6 empty] | Steel | [8 empty] | Steel |  | Powder coating
| 27182806 | 13 | 502483 | [9 empty] | https://www.eaton.com/at/de-de/skuPage.EP-502483.html | [15 empty] | https://www.eaton.com/at/de-de/skuPage.EP-502483.html | [6 empty] | Steel | [8 empty] | Steel |  | Powder coating
| 27182806 | 13 | 502484 | [9 empty] | https://www.eaton.com/at/de-de/skuPage.EP-502484.html | [15 empty] | https://www.eaton.com/at/de-de/skuPage.EP-502484.html | [6 empty] | Steel | [8 empty] | Steel |  | Powder coating

## cabinet.mechanical
| Must field if available, if not created from ECADPORT | Must field if available, if not created from ECADPORT | Must field | Optional field | Optional field | Must field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field
| Product main group | Product main group | Material Master Data | Project Handling | Project Handling | Material Master Data | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property
ECLASS property | REFERENCE_FEATURE_GROUP_ID | REFERENCE_FEATURE_SYSTEM_NAME | AAO676 | CNS_PROJECT_PATH | CNS_CONDITION | CNS_COMPONENT_FUNCTION_3D | CNS_COMPONENT_GROUP | 000038001 | AAB392 | AAB440 | AAB445 | AAB633 | AAB634 | AAB644 | AAB670 | AAB732 | AAC218 | AAC900 | AAF507 | AAF508 | AAG239 | AAO187 | AAO188 | AAO189 | AAO190 | AAO191 | AAO192 | AAO193 | AAO221 | AAO222 | AAO223 | AAT099 | AAU729 | AAW352 | BAB664 | BAB888 | BAB894 | BAB901 | BAC000 | BAF343 | BAF727 | BAF785 | BAG533 | BAG975 | BAH443 | BAH464
Variable name (CNS internal) | Only Classification | Only Classification | AAO676 | CNS_PROJECT_PATH | CNS_CONDITION | CNS_COMPONENT_FUNCTION_3D | CNS_COMPONENT_GROUP | 000038001 | AAB392 | AAB440 | AAB445 | AAB633 | AAB634 | AAB644 | AAB670 | AAB732 | AAC218 | AAC900 | AAF507 | AAF508 | AAG239 | AAO187 | AAO188 | AAO189 | AAO190 | AAO191 | AAO192 | AAO193 | AAO221 | AAO222 | AAO223 | AAT099 | AAU729 | AAW352 | BAB664 | BAB888 | BAB894 | BAB901 | BAC000 | BAF343 | BAF727 | BAF785 | BAG533 | BAG975 | BAH443 | BAH464
English variable description | ECLASS number 27-18-20-** 27-18-21-** 27-18-22-** 27-18-23-** 27-18-24-** | ECLASS number (up to the current version) | product article number of manufacturer (string) | CNS project path | CNS condition | Component function 3D 1 - Door 2 - Door left 3 - Door right 4 - Floor 5 - Mounting panel back 6 - Area floor sheets 7 - Floor sheet outside 8 - Floor sheet inside 9 - Door inside 10 - Door left inside 11 - Door left outside 12 - Door outside 13 - Door right inside ... | Component Grouping (string) | explicit component type 1 - Device 2 - Dynamic Device 3 - Terminal 4 - Connector 5 - Connector With Inserts 6 - Device Wire Seal 7 - Device Blind Plug 8 - Assembly 9 - Assembly Enclosure 10 - Assembly Configuration 11 - Device Rail 12 - Terminal End Cover ... | Designed as door for disconnecting switch interlock 1 - No 2 - Yes | Overall width for cabinet installation | Overall depth for cabinet installation | suitable as rear wall 1 - No 2 - Yes | suitable as side wall 1 - No 2 - Yes | suitable for outside installation 1 - No 2 - Yes | suitable for cable routing 1 - No 2 - Yes | cable leadthrough present 1 - No 2 - Yes | EMC design present 1 - No 2 - Yes | Grid dimensions | REACH registration present 1 - No 2 - Yes | Contains substance according to SVHC 1 - No 2 - Yes | hinging 1 - No 2 - Yes | Name of SVHC substance (string) | Weight percentage of the contained substance (SVHC) | On-line reference REACH (string) | On-line reference security data sheet (string) | RoHS attention of conformity 1 - No 2 - Yes | Designation of battery 1 - 2CR13252 2 - 2EP3863 3 - 3LR12 4 - 3R12P 5 - 3R12S 6 - 4LR25-2 7 - 4LR25X 8 - 4 LR 44 9 - 4 LR 61 10 - 4R25-2 11 - 4R25X 12 - 4R25Y 13 - 4 SR 44 ... | Category 1 - Device batteries, primarily 2 - Device batteries,secondarily 3 - Industriebatterien und -akkumulatoren 4 - Vehicle batteries and vehicle accumulators | Product check date according to RoHS (string) | Product check date (SVHC) (string) | Type of Battery 1 - HR22 2 - LR1 3 - LR03 4 - LR6 5 - LR14 6 - LR20 7 - LR61 | Color number according to RAL (integer) | Supplier product root (string) | Suitable for enclosure building width | material 1 - Real glas 2 - Thermoplast 3 - Polyvinylalkohol (PVA) 4 - Coex 5 - recycled paper 6 - eucalyptus 7 - bamboo 8 - 10CrMo910 9 - 13CrMo44 10 - 15Mo3 11 - 15NiCuMoNb5 12 - 18/8 steel 13 - 70 NBR/803 ... | Design (cable protection tube) (27-18-28-13, 27-18-28-11) 1 - With hang-in 2 - Plain ends 3 - Half moon 4 - Square 5 - Triangular 6 - integrable 7 - pluggable 8 - pluggable 9 - cylinder 10 - Mountable and integrable 11 - double bit 12 - Charging plug 13 - Charging socket outlet ... | Design (wall duct) (27-18-28-13, 27-18-28-11) 1 - Without screen 2 - With screen 3 - 482.6 mm (19 inch) angle set 4 - 482.6 mm (19 inch) angle profile 5 - 482.6 mm (19 inch) profile set 6 - 482.6 mm (19 inch) profile 7 - L-box 8 - Test case 9 - Test adapter 10 - Impact pin 11 - Impact head … | Design (Actuator) (27-18-28-13, 27-18-28-11) 1 - 3-phase current transformer 2 - 6x6 mm 3 - 10x3 mm 4 - 15x6 mm 5 - 19 inch 6 - 19-inch fastening strap 7 - 20x5 mm 8 - 482.6 mm (19 inch) angle profile 9 - 482.6 mm (19 inch) angle set 10 - 482.6 mm (19 inch) mounting angle bracket ... | Construction form 1 - Front panel installation (72*72) 2 - Serial installation 3 - Wall assembly 4 - Wall assembly+front panel installation (72*72) 5 - Individual part 6 - Assembly kit | suitable for air intake and exhaust 1 - No 2 - Yes | Cable inlet present 1 - No 2 - Yes | Surface 1 - brushed 2 - Decor 3 - Other 4 - Hot-dip galvanized 5 - copper-plated 6 - Anodized 7 - galvanic/electrolytic zinc plated 8 - based 9 - Bi-chromalized 10 - Chromalized 11 - Galvanized 12 - lacquered 13 - nickel-plated ... | Lock present 1 - No 2 - Yes | degree of protection 1 - without 2 - IPX8 3 - IPX6 4 - IPX4D 5 - IPX2 6 - IP68/IPX9K 7 - IP66/IP67/IP69 8 - IP66/IP67 9 - IP60 10 - IP59K 11 - IP51 12 - IP65 / IP67 (according to IEC 60529) 13 - IP65/IP67 ... | Inspection door present 1 - No 2 - Yes | Ventilation present 1 - No 2 - Yes
Units | - | - | - | - | - | - | - | - | - | mm | mm | - | - | - | - | - | - | mm | - | - | - | - | % | - | - | - | - | - | - | - | - | - | - | mm | - | - | - | - | - | - | - | - | - | - | - | -
| 27182806 | 13 | 502480 | psn_pip_bn.prj |  |  | Panel@1
| 27182806 | 13 | 502481 | psn_pip_bn.prj |  |  | Panel@1
| 27182806 | 13 | 502482 | psn_pip_bn.prj |  |  | Panel@1
| 27182806 | 13 | 502483 | psn_pip_bn.prj |  |  | Panel@1
| 27182806 | 13 | 502484 | psn_pip_bn.prj |  |  | Panel@1