## Material Master Data
Classification according to MultiECAD / ECLASS Advanced
Applies to ECLASS numbers (v9/v10/v11/v12/v13)
Not to be filled in for cable PDT
| Must field | Must field | Must field | Must field | Must field | Optional field | Optional field | Optional field | Optional field | Optional field | Should field | Should field | Optional field | Optional field | Must field | Optional field | Optional field | Must field | Must field | Optional field | Optional field | Optional field | Must field if not already available in the catalog otherways notice attribute name in CADENAS eCATALOGsolutions | Must field if not already available in the catalog otherways notice attribute name in CADENAS eCATALOGsolutions | Must field if not already available in the catalog otherways notice attribute name in CADENAS eCATALOGsolutions | Must field if not already available in the catalog otherways notice attribute name in CADENAS eCATALOGsolutions | Optional | Optional | Optional | Optional | Optional | Optional | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field
| Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Material Master Data | Description DE | Description DE | Description EN | Description EN | Size | Size | Size | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property
ECLASS property | AAO677 | MANUFACTURER_URL | AAQ326 | AAO676 | AAV774/AAO057 | CERTIFICATION | AAO663 | AAN743 | AAD931 | Enter General table name | CNS_ELECTRO_MATERIAL | AAF040 | BAD875 | AAY811 | AAO057 | AAW338 | AAY812 | AAU731 | AAU732 | AAU733 | AAU734 | ABA671 | CNS_DESCRIPTION_LONG / AAU734 | CNS_DESCRIPTION_SHORT | CNS_DESCRIPTION_LONG / AAU734 | CNS_DESCRIPTION_SHORT | BAB577 | BAF016 | BAA020 | AAC314 | AAC341 | ABC244 | AAO336 | AAS441 | AAS441 | AAS442 | AAS442 | AAS443 | AAS443 | NOUPEROU
Variable name (CNS internal) | Only Classification | Only Classification | AAQ326 | CNSORDERNO | CNSTYPECODE | CERTIFICATION | AAO663 | CNS_EAN | CNS_CTN | Enter General table name | CNS_ELECTRO_MATERIAL | CNS_MASSEXACT | BAD875 | AAY811 | AAO057 | AAW338 | AAY812 | AAU731 | AAU732 | AAU733 | AAU734 | ABA671 | CNS_DESCRIPTION_LONG / AAU734 | CNS_DESCRIPTION_SHORT | CNS_DESCRIPTION_LONG / AAU734 | CNS_DESCRIPTION_SHORT | BAB577 | BAF016 | BAA020 | 00001C001 | IEC_81346_2_SUBCLASS_CODE | IEC_81346_2_SUBCLASS_CODE_3 | CNS_MOUNTING_ORIENTATION | CNS_ROTATION_ON_THE_HORIZONTAL_AXIS_MIN | CNS_ROTATION_ON_THE_HORIZONTAL_AXIS_MAX | CNS_ROTATION_ON_THE_VERTICAL_AXIS_MIN | CNS_ROTATION_ON_THE_VERTICAL_AXIS_MAX | CNS_ROTATION_OF_THE_MOUNTING_PLATFORM_MIN | CNS_ROTATION_OF_THE_MOUNTING_PLATFORM_MAX | NOUPEROU
English variable description | Manufacturer name | Manufacturer's web address (Main product webpage of vendor) | Product specific web address | Articlenumber | Typecode | Certificates | GTIN | EAN | Customs tariff number | value for custom table | Material (insert number or the name of the material, in common 61 values possible ) 1 - Plastic 2 - GRP 3 - PVC 4 - galvanic/electrolytic zinc plated 5 - Polystyrene (PS) 6 - ABS 7 - Acrylic 8 - Agate 9 - Aluminium die casting … | Weight /Mass (netto) | Net weight | URI of the product (string) | Product type (string) | Manufacturer product designation (string) | GLN of manufacturer (integer) | Manufacturer product family (string) | Manufacturer product base (string) | Manufacturer product order suffix (string) | Manufacturer product description (string) | product identifier (string) | Product description long (if not available could be mapped with Variable [NB] ) | Product description short | Product description long (if not available could be mapped with Variable [NB] ) | Product description short | Depth (otherwais calculated from the bounding box) | Width (otherwais calculated from the bounding box) | Height (otherwais calculated from the bounding box) | Class code level 1 (IEC 81346-2) (otherwise from config) | Class code level 2 (IEC 81346-2) | Class code level 3 (IEC 81346-2) | Mounting Orientation 1 - horizontal 2 - vertical down 3 - vertical up 4 - vertical | Rotation on the horizontal axis (MIN) | Rotation on the horizontal axis (MAX) | Rotation on the vertical axis (MIN) | Rotation on the vertical axis (MAX) | Rotation of the mounting platform (MIN) | Rotation of the mounting platform (MAX) | Quantity per packaging
Units | - | - | - | - | - | - | - | - | - | Enter unit | - | kg | g | - | - | - | - | - | - | - | - | - | - | - | - | - | mm | mm | mm | - | - | - | - | ° | ° | ° | ° | ° | ° | -
| Eaton | https://www.eaton.com/us/en-us.html | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | CBE04417 | EIS-40/1 | CCC,CB,CE,ROHS, REACH | [5 empty] | 0.08 | [5 empty] | EIS | Miniature circuit breaker |  |  |  | EIS-Trennschalter | Leitungsschutzschalter | EIS Disconnecting Switch | Miniature circuit breaker | 71.899 | 17.7 | 83.7 | [10 empty] | 12
| Eaton | https://www.eaton.com/us/en-us.html | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | CBE04418 | EIS-40/2 | CCC,CB,CE,ROHS, REACH | [5 empty] | 0.16 | [5 empty] | EIS | Miniature circuit breaker |  |  |  | EIS-Trennschalter | Leitungsschutzschalter | EIS Disconnecting Switch | Miniature circuit breaker | 71.899 | 35.4 | 83.7 | [10 empty] | 6
| Eaton | https://www.eaton.com/us/en-us.html | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | CBE04419 | EIS-40/3 | CCC,CB,CE,ROHS, REACH | [5 empty] | 0.24 | [5 empty] | EIS | Miniature circuit breaker |  |  |  | EIS-Trennschalter | Leitungsschutzschalter | EIS Disconnecting Switch | Miniature circuit breaker | 71.899 | 53.1 | 83.7 | [10 empty] | 4
| Eaton | https://www.eaton.com/us/en-us.html | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | CBE04420 | EIS-40/4 | CCC,CB,CE,ROHS, REACH | [5 empty] | 0.32 | [5 empty] | EIS | Miniature circuit breaker |  |  |  | EIS-Trennschalter | Leitungsschutzschalter | EIS Disconnecting Switch | Miniature circuit breaker | 71.899 | 70.8 | 83.7 | [10 empty] | 3
| Eaton | https://www.eaton.com/us/en-us.html | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | CBE04421 | EIS-63/1 | CCC,CB,CE,ROHS, REACH | [5 empty] | 0.08 | [5 empty] | EIS | Miniature circuit breaker |  |  |  | EIS-Trennschalter | Leitungsschutzschalter | EIS Disconnecting Switch | Miniature circuit breaker | 71.899 | 17.7 | 83.7 | [10 empty] | 12
| Eaton | https://www.eaton.com/us/en-us.html | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | CBE04422 | EIS-63/2 | CCC,CB,CE,ROHS, REACH | [5 empty] | 0.16 | [5 empty] | EIS | Miniature circuit breaker |  |  |  | EIS-Trennschalter | Leitungsschutzschalter | EIS Disconnecting Switch | Miniature circuit breaker | 71.899 | 35.4 | 83.7 | [10 empty] | 6
| Eaton | https://www.eaton.com/us/en-us.html | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | CBE04423 | EIS-63/3 | CCC,CB,CE,ROHS, REACH | [5 empty] | 0.24 | [5 empty] | EIS | Miniature circuit breaker |  |  |  | EIS-Trennschalter | Leitungsschutzschalter | EIS Disconnecting Switch | Miniature circuit breaker | 71.899 | 53.1 | 83.7 | [10 empty] | 4
| Eaton | https://www.eaton.com/us/en-us.html | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | CBE04424 | EIS-63/4 | CCC,CB,CE,ROHS, REACH | [5 empty] | 0.32 | [5 empty] | EIS | Miniature circuit breaker |  |  |  | EIS-Trennschalter | Leitungsschutzschalter | EIS Disconnecting Switch | Miniature circuit breaker | 71.899 | 70.8 | 83.7 | [10 empty] | 3
| Eaton | https://www.eaton.com/us/en-us.html | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | CBE04425 | EIS-80/1 | CCC,CB,CE,ROHS, REACH | [5 empty] | 0.08 | [5 empty] | EIS | Miniature circuit breaker |  |  |  | EIS-Trennschalter | Leitungsschutzschalter | EIS Disconnecting Switch | Miniature circuit breaker | 71.899 | 17.7 | 83.7 | [10 empty] | 12
| Eaton | https://www.eaton.com/us/en-us.html | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | CBE04426 | EIS-80/2 | CCC,CB,CE,ROHS, REACH | [5 empty] | 0.16 | [5 empty] | EIS | Miniature circuit breaker |  |  |  | EIS-Trennschalter | Leitungsschutzschalter | EIS Disconnecting Switch | Miniature circuit breaker | 71.899 | 35.4 | 83.7 | [10 empty] | 6
| Eaton | https://www.eaton.com/us/en-us.html | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | CBE04427 | EIS-80/3 | CCC,CB,CE,ROHS, REACH | [5 empty] | 0.24 | [5 empty] | EIS | Miniature circuit breaker |  |  |  | EIS-Trennschalter | Leitungsschutzschalter | EIS Disconnecting Switch | Miniature circuit breaker | 71.899 | 53.1 | 83.7 | [10 empty] | 4
| Eaton | https://www.eaton.com/us/en-us.html | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | CBE04428 | EIS-80/4 | CCC,CB,CE,ROHS, REACH | [5 empty] | 0.32 | [5 empty] | EIS | Miniature circuit breaker |  |  |  | EIS-Trennschalter | Leitungsschutzschalter | EIS Disconnecting Switch | Miniature circuit breaker | 71.899 | 70.8 | 83.7 | [10 empty] | 3
| Eaton | https://www.eaton.com/us/en-us.html | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | CBE04429 | EIS-100/1 | CCC,CB,CE,ROHS, REACH | [5 empty] | 0.08 | [5 empty] | EIS | Miniature circuit breaker |  |  |  | EIS-Trennschalter | Leitungsschutzschalter | EIS Disconnecting Switch | Miniature circuit breaker | 71.899 | 17.7 | 83.7 | [10 empty] | 12
| Eaton | https://www.eaton.com/us/en-us.html | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | CBE04430 | EIS-100/2 | CCC,CB,CE,ROHS, REACH | [5 empty] | 0.16 | [5 empty] | EIS | Miniature circuit breaker |  |  |  | EIS-Trennschalter | Leitungsschutzschalter | EIS Disconnecting Switch | Miniature circuit breaker | 71.899 | 35.4 | 83.7 | [10 empty] | 6
| Eaton | https://www.eaton.com/us/en-us.html | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | CBE04431 | EIS-100/3 | CCC,CB,CE,ROHS, REACH | [5 empty] | 0.24 | [5 empty] | EIS | Miniature circuit breaker |  |  |  | EIS-Trennschalter | Leitungsschutzschalter | EIS Disconnecting Switch | Miniature circuit breaker | 71.899 | 53.1 | 83.7 | [10 empty] | 4
| Eaton | https://www.eaton.com/us/en-us.html | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | CBE04432 | EIS-100/4 | CCC,CB,CE,ROHS, REACH | [5 empty] | 0.32 | [5 empty] | EIS | Miniature circuit breaker |  |  |  | EIS-Trennschalter | Leitungsschutzschalter | EIS Disconnecting Switch | Miniature circuit breaker | 71.899 | 70.8 | 83.7 | [10 empty] | 3
| Eaton | https://www.eaton.com/us/en-us.html | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | CBE04433 | EIS-125/1 | CCC,CB,CE,ROHS, REACH | [5 empty] | 0.08 | [5 empty] | EIS | Miniature circuit breaker |  |  |  | EIS-Trennschalter | Leitungsschutzschalter | EIS Disconnecting Switch | Miniature circuit breaker | 71.899 | 17.7 | 83.7 | [10 empty] | 12
| Eaton | https://www.eaton.com/us/en-us.html | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | CBE04434 | EIS-125/2 | CCC,CB,CE,ROHS, REACH | [5 empty] | 0.16 | [5 empty] | EIS | Miniature circuit breaker |  |  |  | EIS-Trennschalter | Leitungsschutzschalter | EIS Disconnecting Switch | Miniature circuit breaker | 71.899 | 35.4 | 83.7 | [10 empty] | 6
| Eaton | https://www.eaton.com/us/en-us.html | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | CBE04435 | EIS-125/3 | CCC,CB,CE,ROHS, REACH | [5 empty] | 0.24 | [5 empty] | EIS | Miniature circuit breaker |  |  |  | EIS-Trennschalter | Leitungsschutzschalter | EIS Disconnecting Switch | Miniature circuit breaker | 71.899 | 53.1 | 83.7 | [10 empty] | 4
| Eaton | https://www.eaton.com/us/en-us.html | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | CBE04436 | EIS-125/4 | CCC,CB,CE,ROHS, REACH | [5 empty] | 0.32 | [5 empty] | EIS | Miniature circuit breaker |  |  |  | EIS-Trennschalter | Leitungsschutzschalter | EIS Disconnecting Switch | Miniature circuit breaker | 71.899 | 70.8 | 83.7 | [10 empty] | 3

## Additional Documents
ClassId |  |  |  | CNSELEK¦5¦1 | CNSELEK¦5¦1 | CNSELEK¦5¦1 | CNSELEK¦5¦1 | CNSELEK¦5¦1
Priority | Must field if documents are added | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field INTERNAL (für Buchi)
Type | Material Master Data | Document information | Document information | Document information | Document information | Document information | Document information | Document information
PropertyId | Articlenumber | Document ID | Document type | Document path | Document | Document index | Description | Parent Entity
PropertyName |  |  |  | 00001B001 | 000026001 | CNS_DATASHEET_INDEX | CNS_DATASHEET_DESCRIPTION
Description | Articlenumber | Document ID (if there are more than one document for one product) | Document type -pdf -jpg -png -dxf | Document path (default language) - local import path /hyperlink CNSELEK¦5¦1 | Document Language CNSELEK¦5¦1 | Document index CNSELEK¦5¦1 | Document description (current Language) CNSELEK¦5¦1 | Parent Entity CNSELEK¦5¦4Parent Class Type” (00004B001)
Body
| CBE04417 | 1 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | german |  | Datasheet (GER)
| CBE04418 | 1 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | german |  | Datasheet (GER)
| CBE04419 | 1 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | german |  | Datasheet (GER)
| CBE04420 | 1 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | german |  | Datasheet (GER)
| CBE04421 | 1 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | german |  | Datasheet (GER)
| CBE04422 | 1 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | german |  | Datasheet (GER)
| CBE04423 | 1 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | german |  | Datasheet (GER)
| CBE04424 | 1 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | german |  | Datasheet (GER)
| CBE04425 | 1 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | german |  | Datasheet (GER)
| CBE04426 | 1 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | german |  | Datasheet (GER)
| CBE04427 | 1 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | german |  | Datasheet (GER)
| CBE04428 | 1 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | german |  | Datasheet (GER)
| CBE04429 | 1 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | german |  | Datasheet (GER)
| CBE04430 | 1 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | german |  | Datasheet (GER)
| CBE04431 | 1 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | german |  | Datasheet (GER)
| CBE04432 | 1 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | german |  | Datasheet (GER)
| CBE04433 | 1 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | german |  | Datasheet (GER)
| CBE04434 | 1 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | german |  | Datasheet (GER)
| CBE04435 | 1 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | german |  | Datasheet (GER)
| CBE04436 | 1 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | german |  | Datasheet (GER)
| CBE04417 | 2 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | english |  | Datasheet (EN)
| CBE04418 | 2 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | english |  | Datasheet (EN)
| CBE04419 | 2 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | english |  | Datasheet (EN)
| CBE04420 | 2 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | english |  | Datasheet (EN)
| CBE04421 | 2 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | english |  | Datasheet (EN)
| CBE04422 | 2 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | english |  | Datasheet (EN)
| CBE04423 | 2 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | english |  | Datasheet (EN)
| CBE04424 | 2 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | english |  | Datasheet (EN)
| CBE04425 | 2 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | english |  | Datasheet (EN)
| CBE04426 | 2 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | english |  | Datasheet (EN)
| CBE04427 | 2 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | english |  | Datasheet (EN)
| CBE04428 | 2 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | english |  | Datasheet (EN)
| CBE04429 | 2 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | english |  | Datasheet (EN)
| CBE04430 | 2 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | english |  | Datasheet (EN)
| CBE04431 | 2 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | english |  | Datasheet (EN)
| CBE04432 | 2 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | english |  | Datasheet (EN)
| CBE04433 | 2 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | english |  | Datasheet (EN)
| CBE04434 | 2 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | english |  | Datasheet (EN)
| CBE04435 | 2 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | english |  | Datasheet (EN)
| CBE04436 | 2 |  | https://www.eaton.com.cn/content/dam/eaton/products/electrical-circuit-protection/circuit-breakers/e6-series/eaton-e6-catalogue-en-cn.pdf | english |  | Datasheet (EN)

## Connection Point Information
ClassId | [10 empty] | CNS_CP¦4¦3 |  |  |  |  | NEU |  | CNS_CP¦4¦7 | CNS_CP¦4¦7 | CNS_CP¦4¦7 | CNS_CP_AREA_BOX | CNS_CP_AREA_BOX | CNS_CP_AREA_BOX | CNS_CP_AREA_BOX | CNS_CP_AREA_BOX | CNS_CP_AREA_BOX | CNS_CP_AREA_BOX | CNS_CP¦4¦6 | CNS_CP¦4¦6 | CNS_CP¦4¦6 | CNS_CP¦4¦6 | CNS_CP¦4¦6 | CNS_CP¦4¦6 | CNS_CP¦4¦6 | CNS_CP¦4¦6 | CNS_CP¦4¦6 | CNS_CP¦4¦6 | CNS_CP¦4¦6 | CNS_CP¦4¦6 | CNS_CP¦4¦15¦3 | CNS_CP¦4¦15¦3 | CNS_CP¦4¦15¦3 | CNS_CP¦4¦15¦3 | CNS_CP¦4¦15¦3 | CNS_CP¦4¦15¦3 | CNS_CP¦4¦15¦3 | CNS_CP¦4¦15¦3 |  | CNS_CP¦4¦3 | CNSELEK¦5¦9¦1 | CNSELEK¦5¦9¦1 | CNSELEK¦5¦9¦1 | CNSELEK¦5¦9¦1 | CNSELEK¦5¦9¦1 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNSELEK¦5¦6¦1¦1 | CNSELEK¦5¦6¦1¦1 | CNSELEK¦5¦6¦1¦1 | CNSELEK¦5¦6¦1¦1 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦3 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦2 | CNS_CP¦4¦8 | CNS_CP¦4¦8 | CNS_CP¦4¦8 | CNS_CP¦4¦8 | CNS_CP¦4¦8 | CNS_CP¦4¦8 | CNS_CP¦4¦14 | CNS_CP¦4¦14 | CNS_CP¦4¦14 | CNS_CP¦4¦14 | CNS_CP¦4¦14 |  |  |  | CNS_CP¦4¦16 | CNS_CP¦4¦16 | CNS_CP¦4¦16 | CNS_CP¦4¦16 | CNS_CP¦4¦16 | CNS_CP¦4¦16 | CNS_CP¦4¦15¦1 | CNS_CP¦4¦15¦1 | CNS_CP¦4¦15¦1 | CNS_CP¦4¦15¦1 | CNS_CP¦4¦15¦1 | CNS_CP¦4¦15¦1 | CNS_CP¦4¦15¦1 | CNS_CP¦4¦15¦1 | CNS_CP¦4¦15¦1 | CNS_CP¦4¦15¦2 |  | CNS_CP¦4¦15¦2 | CNS_CP¦4¦15¦2 | CNS_CP¦4¦15¦2 | CNS_CP¦4¦15¦2 | CNS_CP¦4¦15¦2 | CNS_CP¦4¦15¦2 | CNS_CP¦4¦15¦2
Domain | to be filled in for *Connection |  |  |  |  | ECP, Plug, Pneumatic, Prozess, Hydraulic, Mechanic, Optical, Plug Element | ECP, Plug, Pneumatic, Prozess, Hydraulic, Mechanic, Optical, Plug Element | ECP, Plug, Pneumatic, Prozess, Hydraulic, Mechanic, Optical, Plug Element | ECP, Plug, Pneumatic, Prozess, Hydraulic, Mechanic, Optical, Plug Element | ECP, Plug, Pneumatic, Prozess, Hydraulic, Mechanic, Optical, Plug Element | ECP | ECP, Plug, Pneumatic, Prozess, Hydraulic, Mechanic, Optical | ECP, Plug, Pneumatic, Prozess, Hydraulic, Mechanic, Optical | * | * | * |  | MD | MD | MD | BAR | BAR | BAR | BAR | BAR | BAR | BAR | MP | MP | MP | MP | MP | MP | MP-Area | MP-Area | MP-Area | MP-Area | MP-Area | MP-Area | GRD | GRD | GRD | GRD | GRD | GRD | GRD | GRD | ECP, Plug, Pneumatic, Prozess, Hydraulic, Mechanic, Optical | ECP | Rated Values | Rated Values | Rated Values | Rated Values | Rated Values | ECP | ECP | ECP | ECP | ECP | ECP | ECP | ECP | ECP | ECP | ECP | ECP | ECP | ECP/GeomSpec | ECP/GeomSpec | ECP/GeomSpec | ECP/GeomSpec | ECP | ECP | ECP | ECP | ECP | ECP | ECP | ECP | ECP | ECP | ECP | Drill | Drill | Drill | Drill | Drill | Drill | Drill | Drill | Drill | Drill | Drill | Drill | Drill | PLUG | PLUG | PLUG | PLUG | PLUG | PLUG | Plug Element (Terminal) | Plug Element (Terminal) | Plug Element (Terminal) | Plug Element (Terminal) | Plug Element (Terminal) | Pneumatic, Hydraulic | Pneumatic, Hydraulic | Pneumatic, Hydraulic | Actuation Vector | Actuation Vector | Actuation Vector | Actuation Vector | Actuation Vector | Actuation Vector | ALAB / Labelling Area | ALAB / Labelling Area | ALAB / Labelling Area | ALAB / Labelling Area | ALAB / Labelling Area | ALAB / Labelling Area | ALAB / Labelling Area | ALAB / Labelling Area | ALAB / Labelling Area | ARES / Restricted Area | ARES / Restricted Area | ARES / Restricted Area | ARES / Restricted Area | ARES / Restricted Area | ARES / Restricted Area | ARES / Restricted Area | ARES / Restricted Area | ARES / Restricted Area
Priority | This tab is not to be filled in for cable PDT, please use "wire ID information" tab instead. Also not to be filled in for subcircuit PDT. | Must field | Must field only if coordinates are available | Optional field | Optional field | Must field | Optional field | Optional field | Optional field | Optional field | Must Field if available if not created from ECADPORT | Must field | Must Field if available if not created from ECADPORT | Optional field | Optional field | Optional field | Optional field | Must field | Must field | Must field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Must field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Must field | Must field | Must field | Optional field | Must field | Must field | Must field | Must field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Must field | Optional field | Must field | Optional field | Optional field | Optional | Optional | Optional | Optional field | Optional field | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Must field | Must field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field (only one of the columns must be filled in) |  | Optional field | Optional field | Optional field | Must field | Optional field | Optional field | Optional field | Optional field | Optional field | Must field | Optional field | Optional field | Optional field | Must field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Must field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field
TYPE |  | Material Master Data | Product property | Project Handling | Project Handling | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property
PropertyId | ECLASS property | AAO676 | None | CNS_PROJECT_PATH | CNS_CONDITION | AAC342 | AAN342 | AAN342 | AAN341 | AAN497 | AAM734 | AAN496 | AAB754 | AAC338 | AAC338_CD | AAM479 | AAC338_SR | AAS191 | Mounting description | Link MD | barred/restricted Area, Length (Y) | barred/restricted Area, Width (X) | barred/restricted Area, Height (Z) | AAM654 | barred/restricted Area, Translate X | barred/restricted Area, Translate Y | barred/restricted Area, Translate Z | AAN575 | AAN576 | AAN472 | AAN577 | AAN577 | AAN608 | 00006F001 | 000070001 | CNS_AREA_EXTENSION_U | CNS_AREA_EXTENSION_V | CNS_MOUNTING_RECEPTACLE_CONTURE | CNS_COMPONENT_FUNCTION_3D | CNS_SIM_DESCRIPTION | CNS_SIM_DESCRIPTION | CNS_UINCREMENT | CNS_VINCREMENT | CNS_ULINENUM | CNS_VLINENUM | CNS_UOFFSET | CNS_UOFFSET | AAC313 | AAN413 | CNS_PARENT_CLS_ID_INST_ID | BAH005 | AAB485 | AAB491 | AAN391 | CROSSSECTION_MIN | CROSSSECTION_MAX | AAS444 | CROSSSECTION_MIN_AWG | CROSSSECTION_MAX_AWG | AAC384 | AAN512_MIN | AAN512_MAX | AAN513_MIN | AAN513_MAX | MAX_WIRE_COUNT | AAB202 | AAN404 | CNS_PARENT_CLS_ID_INST_ID | CNS_MIN_INSULATION_DIAMETER | CNS_MAX_INSULATION_DIAMETER | AAG644 | AAS447_MIN | AAS447_MAX | AAC207 | AAC202 | AAM557 | AAM558 | AAM559 | AAM560 | AAM561 | AAM657 | AAM658 | AAN575 | CNS_PARENT_CLS_ID_INST_ID | AAS449 | AAN476 | 000005001 | 00000B001 | - | CNS_DRILLING_ANGLE | CNS_DRILLING_DIMENSION1 | CNS_DRILLING_DIMENSION1 | CNS_DRILLING_DIMENSION2 | CNS_DRILLING_DIMENSION3 | CNS_DRILLING_REPETITION | Plug Connector Designation | AAN579 | AAN580 | AAR935 | AAR936 | ABC338 | CNS_PARENT_CLS_ID_INST_ID | AAN563 | AAN562 | AAC343** | AAN562 | ? | ? | ? | - | - | - | - | - | - | 000039001 | CNS_AREA_1_DIMENSION | CNS_AREA_2_DIMENSION | CNS_AREA_3_DIMENSION | AAZ399 | AAZ760 | AAS366 | AAZ375 | AAT099 | CNS_PARENT_CLS_ID_INST_ID | 000039001 | CNS_AREA_1_DIMENSION | CNS_AREA_2_DIMENSION | CNS_AREA_3_DIMENSION | AAZ399 | AAZ760 | AAS366 | CNS_RESTRICTED_AREA_TYPE
PropertyName | Variable name (CNS internal) | AAO676 | Only Classification | CNS_PROJECT_PATH | CNS_CONDITION | AAC342 | CNS_CONNECTION_DESCRIPTION | CNS_CONNECTION_DESCRIPTION | CNS_CONNECTION_DESIGNATION | CNS_CONNECTOR_REMOVIBLE | AAM734 | AAN496 | AAB754 | AAC338 | AAC338_CD | AAM479 | CNS_SYMBOL_REFERENCE | CNS_ATTR_Name | CNS_SIM_DESCRIPTION | Link MD | CNSLENGTH | CNSWIDTH | CNSHEIGHT | CNS_TYPE_OF_BARRED_AREA | CNSTRANSX | CNSTRANSY | CNSTRANSZ | CNS_ATTR_NAME | 00006A001 | CNS_VARIANT_NAME | CNS_SIM_DESCRIPTION | CNS_SIM_DESCRIPTION | CNS_COMPONENT_MOUNTING_TYPE | 00006F001 | 000070001 | CNS_AREA_EXTENSION_U | CNS_AREA_EXTENSION_V | CNS_MOUNTING_RECEPTACLE_CONTURE | CNS_COMPONENT_FUNCTION_3D | CNS_SIM_DESCRIPTION | CNS_SIM_DESCRIPTION | CNS_UINCREMENT | CNS_VINCREMENT | CNS_ULINENUM | CNS_VLINENUM | CNS_UOFFSET | CNS_UOFFSET | Connection group | Connection function | CNS_PARENT_CLS_ID_INST_ID | CNS_RATED_VOLTAGE | CNS_RATED_CURRENT | CNS_RATED_ISOLATION_VOLTAGE | CNS_RATING_TO | CROSSSMIN | CROSSSMAX | AAS444 | CROSSSECTION_MIN_AWG | CROSSSECTION_MAX_AWG | AAC384 | AAN512_MIN | AAN512_MAX | AAN513_MIN | AAN513_MAX | MAXWC | AAB202 | 000023001 | CNS_PARENT_CLS_ID_INST_ID | AAB202 | AAB202 | CNS_SOCKET_SIZE | 00005E001 | 00005G001 | AAC207 | AAC202 | CNS_GALVANIC_ISOLATION_FROM_OUTPUTS | CNS_GALVANIC_ISOLATION_FROM_INPUTS | CNS_GALVANIC_ISOLATION_FROM_EARTH_GROUND | CNS_GALVANIC_ISOLATION_FROM_COMMUNICATION_INTERFACES | CNS_GALVANIC_ISOLATION_FROM_EXTERNAL_POWER_SUPPLIES | CNS_GALVANIC_ISOLATION_FROM_INTERNAL_POWER_SUPPLIES | CNS_GALVANIC_ISOLATION_FOR_GALVANIC_ISOLATION | CNS_ATTR_NAME | 00004D001 | AAS449 | AAN476 | 000005001 | AAQ664 | - | CNS_DRILLING_ANGLE | BAA561 | AAC381 | CNS_DRILLING_DIMENSION2 | CNS_DRILLING_DIMENSION3 | CNS_DRILLING_REPETITION | CNS_PLUG_CONNECTOR_DESIGNATION | CNS_DESIGN_OF_THE_PLUG_CONNECTION | CNS_TYPE_OF_PLUG_CONNECTION | CNS_PLUG_CONNECTOR_MOUNTING_ORIENTATION | CNS_DESCRIPTION_OF_THE_MOUNTING_ORIENTATION | CNS_CONNECTOR_CODING | CNS_PARENT_CLS_ID_INST_ID | CNS_EXECUTION_OF_THE_PLUG_CONNECTION | CNS_TYPE_OF_PLUG_CONNECTION | CNS_EXCHANGEABILITY_OF_THE_CONNECTOR_NAME | CNS_DOMAIN_OF_PLUG_CONNECTION | ? | ? | ? | - | - | - | - | - | - | 000039001 | CNS_AREA_1_DIMENSION | CNS_AREA_2_DIMENSION | CNS_AREA_3_DIMENSION | CNS_AREA_SHAPE | CNS_AREA_POLYGON_DATA | CNS_AREA_TEXT_ROTATION_ANGLE | CNS_SURFACE_TREATMENT_CODE | CNS_COLOR_NUMBER_ACCORDING_TO_RAL | CNS_PARENT_CLS_ID_INST_ID | 000039001 | CNS_AREA_1_DIMENSION | CNS_AREA_2_DIMENSION | CNS_AREA_3_DIMENSION | CNS_AREA_SHAPE | CNS_AREA_POLYGON_DATA | CNS_AREA_TEXT_ROTATION_ANGLE | CNS_RESTRICTED_AREA_TYPE
Description | English variable description | Articlenumber | Connection point name pins (suggestion is ECP_1 and a pattern f.e. a connector has 10 equal connections we need ECP_1-ECP_10, if on customer side available we take in X,Y,Z plus direction/orientation, if there are already a pattern use ECP_1 and in further lines ECP_2… to bring in the coordinates for this articlenumber) 1 - ECP_* 2 - OP 3 - MD 4 - MP 5 - PNCP_* / Pneumatic 6 - HCP_* / Hydrualic 7 - MCP_* / Mechanic 8 - PRCP_* / Process 9 - PLCP_* / Plug 10 - DRILL 11 - BAR_* / barred 12 - ALAB_*/ area labeling 13 - ARES_* / area restriction 14 - ACTV_* / actuating vector 15 - GRD_* / mounting grid 16 - PLECP_* / Plug Element | CNS project path | CNS condition | Connection name (applies only to ECP, PNCP, HCP, PRCP, PLCP) | Connection description (DE) | Connection description (EN) | Connection designation | 1 - Yes 2 - No | Connection Type Ongoing.-Nr. (insert number or the name 21 types possible) 1 - Band connection 2 - Bolt connection 3 - Cable terminal screw 4 - Clamping strap 5 - Conductor plate connection 6 - Female connector 7 - Flat plug-in connector 8 - Frame clamp 9 - Male connector 10 - Plug-in connection 11 - Rail connection 12 - Ring cable connection 13 - Screw connection 14 - Soldering lug connection 15 - Spring pulley connection 16 - Wire-Wrap connection 17 - Push-in connection 18 - Phase busbar connection 19 - Soldered connection 20 - Connection combination plug-socket 21 - Connection combination socket-plug | Connection direction 1- from behind 2 - from down 3 - from above 4 - in front 5 - from left 6 - from right | Symbolnumber IEC based Ongoing.-Nr. 1 - Female S00031 2 - Male S00032 3 - 999 applicable IEC Symbols | Function name | Channel designation | Supported protocol (buss-system) 1 - ASi 2 - ARP 3 - AS interface safety at work 4 - CAN 5 - CANopen … | Symbol name out of the symbol library | name of fixing variant | Type of mounting (70 values possible applies only to MD) 1 - flanged 2 - clamped 3 - welded 4 - 19 inch 5 - Assembly 6 - Base assembly 7 - Base assembly for stop doors 8 - Base assembly for two-way doors 9 - Base attachment 10 - Bus bar 11 - Bus bar fastening 12 - continuous covered screwed 13 - continuous one-sided covered screwed 14 - continuous visibly screwed 15 - cover screwed 16 - C-profile 17 - DIN track 18 - Direct assembly 19 - Direct extension 20 - Direct mounting/individual installation 21 - Doorframe assembly 22 - doorframe assembly/hinge side 23 - doorframe assembly/opposite to hinge side 24 - door hinge mounting/hinge side 25 - door hinge mounting/opposite to hinge side 26 - Door leaf mounting 27 - Flange 28 - Foot assembly 29 - Front assembly 30 - front attachment 31 - G track G32 32 - Inserted 33 - Installation 34 - integrable 35 - Metric 36 - Mountable and integrable 37 - Mounted 38 - Mounting face 39 - Parallel assembly 40 - Pinned 41 - pluggable 42 - pluggable 43 - plug in module 44 - Plug insert 45 - Pushed-through 46 - quick fastening 47 - Rail/direct mounted 48 - screwable 49 - Screwed 50 - Screw mounting 51 - Side extension 52 - Single installation 53 - Snap-mounted supporting rail 54 - Snap-on mounting 55 - Socket 56 - Special assembly 57 - Special profiles 58 - Surface mounted 59 - Terminal mount 60 - Top-hat/g-rail TH35/G32 61 - Top-hat rail TH15 62 - Top-hat rail TH35 63 - Top-hat rail TH75 64 - visibly screwed 65 - Wall mounting 66 - with cams 67 - With holder 68 - without cams 69 - Wall assembly 70 - DIN rail mounting | Link Mounting description connection point with classification | barred/restricted Area | barred/restricted Area | barred/restricted Area | Type of Barred Area 1 - Connection 2 - electrical to be energized parts 3 - electrical to earth parts 4- Maintenance 5 - thermal | barred/restricted Area | barred/restricted Area | barred/restricted Area | Component receptacle designation | Components receptacle description | Components receptacle variant designation | Components receptacle variants description (DE) | Components receptacle variants description (EN) | Type of Mounting of component 1 - build at the top 2 - build on down 3 - build on the device 4 - build under device 5 - inside 7 - side build on the right | Is Linear | Is Area | Extend U | Extend V | Mounting Receptacle Conture (external file ref) | Component function 3D 1 - Door 2 - Door left 3 - Door right 4 - Floor 5 - Mounting panel back 6 - Area floor sheets 7 - Floor sheet outside 8 - Floor sheet inside 9 - Door inside 10 - Door left inside 11 - Door left outside 12 - Door outside 13 - Door right inside ... | mounting grid description (DE) | mounting grid description (EN) | mounting grid x increment (step size) | mounting grid y increment (step size) | mounting grid x steps (integer) | mounting grid y steps (integer) | offset from Connpoint in local U direction (mm) | offset from Connpoint in local V direction (mm) | Connection group (grouping connection using a string identifier) | Connection function ( 30 values) 1 - Collektor 2 - Common contact 3 - Contact normally close 4 - Contact normally open 5 - Drain 6 - Emitter 7 - GND 8 - load input 9 - load output 10 - main circuit 11 - neutral conductor 12 - protective conductor 13 - shield 14 - signal input 15 - signal output 16 - Source 17 - supply voltage 18 - Connection 19 - equipotential bounding conductor 20 - earthing conductor 21 - device-specific 22 - level 1 23 - level 2 24 - level 3 25 - level 4 26 - level 5 27 - level 6 28 - level 7 29 - level 8 30 - level 9 | Connection Point ID | Rated Voltage | Rated Permanent Current | Rated Isolation Voltage | Rating to (5 values) 1 - IEC 2 - UL 3 - UR 4 - CSA 5 - CUL | Cross section nominal min (multi wire) | Cross section nominal max (multi wire) | Total max. cross section | Cross section nominal min (36 values possible) (2/0) (3/0) (4/0) 1 2 4 6 8 10 12 14 16 18 20 22 24 26 28 30 32 34 36 38 40 42 44 250 350 500 No Input 1000 900 550 600 750 300 | Cross section nominal max (36 values possible) (2/0) (3/0) (4/0) 1 2 4 6 8 10 12 14 16 18 20 22 24 26 28 30 32 34 36 38 40 42 44 250 350 500 No Input 1000 900 550 600 750 300 | Total max cross section AWG (2/0) (3/0) (4/0) 1 2 4 6 8 10 12 14 16 18 20 22 24 26 28 30 32 34 36 38 40 42 44 250 350 500 No Input 1000 900 550 600 750 300 | Cross section nominal min single wire (default equal to cross section nominal min) | Cross section nominal max single wire (default equal to cross section nominal max) | Cross section nominal min multi wire (default equal to cross section nominal min) | Cross section nominal max multi wire (default equal to cross section nominal max) | Max wire count | Strip length (isolation) | Bridge circuit connector 1 - No 2 - Yes | Connection Point ID | Insulation diameter min (Needed for crimper) | Insulation diameter max (Needed for crimper) | socket size 1 - #0 2 - #00 3 - #1 4 - #01 5 - #2 6 - #02 7 - #3 8 - #4 … | tightening torque (MIN) | tightening torque (MAX) | Material of the contact (insert number or the name of the material, 20 values possible) 1 - aluminum 2 - Beryllium copper 3 - Brass 4 - Bronze 5 - Ceramic 6 - Constantan alloy 7 - Copper 8 - CuSn 9 - CuZn 10 - Glass 11 - Iron 12 - Nickel 13 - Other copper alloys 14 - Other non-copper allows ... | Material of the contact coat (insert number or the name of the plating, 14 values possible) 1 - without 2 - Silver 3 - Gold 4 - Brass 5 - Bronze 6 - Gold 7 - Nickel/gold 8 - Nickel 9 - Palladium 10 - Silver 11 - Sn 12 - Tin 13 - untreated 14 - Zinc | galvanic isolation from outputs | galvanic isolation from inputs | galvanic isolation from earth/ground | galvanic isolation from communication interfaces | galvanic isolation from external power supplies | galvanic isolation from internal power supplies | reference standard for galvanic isolation | Component receptacle designation | associated mounting description (e.g. MD_1) | drilling name | drilling type 1 - Hole 2 - thread inch 3 - thread metric | drilling subtype (EPLAN specific) 1 - Round 2 - Rectangular 3 - Long-hole type 4 - Polyangular 5 - Hexagonal | name of drilling contour (dxf) -. Applies to drilling sub type: polyangular | Document ID of drilling contour | drilling angle | drilling dimension 1 -> diameter for drill (hole) / height for rectangular | drilling dimension 1 (coded thread size) -> diameter for drill (hole) / height for rectangular 1 - M3 2 - M10 3 - M4 4 - M5 5 - M6 6 - M8 7 - M12 8 - M14 | drilling dimension 2 -> width for rectangular | drilling dimension 3 | Drilling_Repetition (int) | Plug Connector Designation | Design of the plug Connection 1 - Female 2 - Male 3 - Mixed | Type of plug Connection 1 - axial screw connection 2 - Bolt connection 3 - Bus hood 4 - Cable 5 - cable 6 - Cable axial 7 - cable entry metrical 8 - cable entry PG 9 - Cable radial … | Plug Connector mounting orientation (double) | Description of the mounting orientation | Coding 1 - M-coded 2 - K-coded 3 - L-coded 4 - E-coded 5 - X-coded 6 - Y-coded 7 - T-coded 8 - S-Coded 9 - D-coded 10 - C-coded 11 - B-coded 12 - A-coded 13 - Socket … | Parent Plug Connector ID | Execution of the plug connection 1 - female connector 2 - male connector 3 - male or female connector 4 - optical plug connector 5 - plug body 6 - plug contact guide | Type of the plug connection 1 - Electrical 2 - hydraulic 3 - Mechanical 4 - optical 5 - pneumatic 6 - process | exchangeability of the connector name | Type/"Domain" of Plug Element 1 - Electric 2 - Hydraulic 3 - L-coded 4 - E-coded 5 - X-coded 6 - Y-coded 7 - T-coded 8 - S-Coded 9 - D-coded 10 - C-coded 11 - B-coded 12 - A-coded 13 - Socket … | External Dimater | Inner Diameter | Thread Size | Connection point X | Orientation vector X (default 0.0) | Connection point Y | Orientation vector Y (default 0.0) | Connection point Z | Orientation vector Z (default 1.0) | Identifier | Area 1. Dimension | Area 2. Dimension | Area 3. Dimension | Area Shape 1 - Polygon 2 - Ring-shaped 3 - Round 4 - Rectangular | Area Polygon Data [reference to polygon data, dxf] | Area Text Rotation Angle | Surface Treatment Code (string) | Color Number according to RAL (integer) | Parent ID of Mounting Plane, etc. (e.g. "MP_4") | Identifier | Area 1. Dimension | Area 2. Dimension | Area 3. Dimension | Area Shape 1 - Polygon 2 - Ring-shaped 3 - Round 4 - Rectangular | Area Polygon Data [reference to polygon data, dxf] | Area Text Rotation Angle | Restriction Area Type 1 - Restricted placing area 2 - Restricted drilling area 3 - Restricted routing range
Unit | Units | - | - | - | - | - | - | - | - | - | - | - | - |  |  | - |  | - | - | - | mm | mm | mm | - | mm | mm | mm | - | - | - | - | - | - | - | - | mm | mm | mm | - | - | - | mm | mm | - | - | mm | mm | - | - |  | V | A | V |  | mm² | mm² | mm² | - | - | - | mm² | mm² | mm² | mm² | - | mm | - |  | mm | mm | - | Nm | Nm | - | - | V | V | V | V | V | V | - | - | - | - | - | - | - | - | [°] | mm | - | - | - | - | - | - | - | ° | - | - | - | - | - | - |  | mm | mm | - | - | - | - | - | - | - | - | mm | mm | mm | - | - | ° | - | - | - | - | mm | mm | mm | - | - | ° | -
Body |  |  | )&( | [14 empty] | geändert 08.04.2025 | geändert 08.04.2025 | geändert 08.04.2025 | geändert 08.04.2025 | geändert 08.04.2025 | geändert 08.04.2025 | geändert 08.04.2025 | geändert 08.04.2025 | geändert 08.04.2025 | geändert 08.04.2025 | [5 empty] | geändert 08.04.2025 | [16 empty] | geändert 15.04.25 | geändert 15.04.25 | geändert 15.04.25 | geändert 15.04.25 | geändert 15.04.25 | [13 empty] | geändert 23.04.2025 | geändert 23.04.2025 | geändert 23.04.2025 | geändert 23.04.2025 | [34 empty] | geändert 2204.2025 | [18 empty] | geändert 2204.2025
|  | CBE04417 | ECP_1 |  |  | 1 |  |  | 1 |  | 13 | 3 | CNS013601-0001¦¦1¦¦1 | [35 empty] | 8 | ECP_1 | 230 | 40 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_1 |  |  | PH1 | 2.5 | 3.5
|  | CBE04417 | ECP_2 |  |  | 2 |  |  | 2 |  | 13 | 2 | CNS013601-0001¦¦1¦¦2 | [35 empty] | 9 | ECP_2 | 230 | 40 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_2 |  |  | PH1 | 2.5 | 3.5
|  | CBE04417 | MD | [14 empty] | DIN Rail mounting | DIN Rail mounting | LINK_MD
|  | CBE04417 | OP
|  | CBE04418 | ECP_1 |  |  | 1 |  |  | 1 |  | 13 | 3 | CNS013601-0001¦¦1¦¦1 | [35 empty] | 8 | ECP_1 | 230 | 40 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_1 |  |  | PH1 | 2.5 | 3.5
|  | CBE04418 | ECP_2 |  |  | 2 |  |  | 2 |  | 13 | 2 | CNS013601-0001¦¦1¦¦2 | [35 empty] | 9 | ECP_2 | 230 | 40 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_2 |  |  | PH1 | 2.5 | 3.5
|  | CBE04418 | ECP_3 |  |  | 3 |  |  | 3 |  | 13 | 3 | CNS013601-0001¦¦2¦¦1 | [35 empty] | 8 | ECP_3 | 230 | 40 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_3 |  |  | PH1 | 2.5 | 3.5
|  | CBE04418 | ECP_4 |  |  | 4 |  |  | 4 |  | 13 | 2 | CNS013601-0001¦¦2¦¦2 | [35 empty] | 9 | ECP_4 | 230 | 40 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_4 |  |  | PH1 | 2.5 | 3.5
|  | CBE04418 | MD | [14 empty] | DIN Rail mounting | DIN Rail mounting | LINK_MD
|  | CBE04418 | OP
|  | CBE04419 | ECP_1 |  |  | 1 |  |  | 1 |  | 13 | 3 | CNS013601-0001¦¦1¦¦1 | [35 empty] | 8 | ECP_1 | 230 | 40 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_1 |  |  | PH1 | 2.5 | 3.5
|  | CBE04419 | ECP_2 |  |  | 2 |  |  | 2 |  | 13 | 2 | CNS013601-0001¦¦1¦¦2 | [35 empty] | 9 | ECP_2 | 230 | 40 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_2 |  |  | PH1 | 2.5 | 3.5
|  | CBE04419 | ECP_3 |  |  | 3 |  |  | 3 |  | 13 | 3 | CNS013601-0001¦¦2¦¦1 | [35 empty] | 8 | ECP_3 | 230 | 40 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_3 |  |  | PH1 | 2.5 | 3.5
|  | CBE04419 | ECP_4 |  |  | 4 |  |  | 4 |  | 13 | 2 | CNS013601-0001¦¦2¦¦2 | [35 empty] | 9 | ECP_4 | 230 | 40 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_4 |  |  | PH1 | 2.5 | 3.5
|  | CBE04419 | ECP_5 |  |  | 5 |  |  | 5 |  | 13 | 3 | CNS013601-0001¦¦3¦¦1 | [35 empty] | 8 | ECP_5 | 230 | 40 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_5 |  |  | PH1 | 2.5 | 3.5
|  | CBE04419 | ECP_6 |  |  | 6 |  |  | 6 |  | 13 | 2 | CNS013601-0001¦¦3¦¦2 | [35 empty] | 9 | ECP_6 | 230 | 40 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_6 |  |  | PH1 | 2.5 | 3.5
|  | CBE04419 | MD | [14 empty] | DIN Rail mounting | DIN Rail mounting | LINK_MD
|  | CBE04419 | OP
|  | CBE04420 | ECP_1 |  |  | 1 |  |  | 1 |  | 13 | 3 | CNS013601-0001¦¦1¦¦1 | [35 empty] | 8 | ECP_1 | 230 | 40 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_1 |  |  | PH1 | 2.5 | 3.5
|  | CBE04420 | ECP_2 |  |  | 2 |  |  | 2 |  | 13 | 2 | CNS013601-0001¦¦1¦¦2 | [35 empty] | 9 | ECP_2 | 230 | 40 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_2 |  |  | PH1 | 2.5 | 3.5
|  | CBE04420 | ECP_3 |  |  | 3 |  |  | 3 |  | 13 | 3 | CNS013601-0001¦¦2¦¦1 | [35 empty] | 8 | ECP_3 | 230 | 40 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_3 |  |  | PH1 | 2.5 | 3.5
|  | CBE04420 | ECP_4 |  |  | 4 |  |  | 4 |  | 13 | 2 | CNS013601-0001¦¦2¦¦2 | [35 empty] | 9 | ECP_4 | 230 | 40 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_4 |  |  | PH1 | 2.5 | 3.5
|  | CBE04420 | ECP_5 |  |  | 5 |  |  | 5 |  | 13 | 3 | CNS013601-0001¦¦3¦¦1 | [35 empty] | 8 | ECP_5 | 230 | 40 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_5 |  |  | PH1 | 2.5 | 3.5
|  | CBE04420 | ECP_6 |  |  | 6 |  |  | 6 |  | 13 | 2 | CNS013601-0001¦¦3¦¦2 | [35 empty] | 9 | ECP_6 | 230 | 40 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_6 |  |  | PH1 | 2.5 | 3.5
|  | CBE04420 | ECP_7 |  |  | 7 |  |  | 7 |  | 13 | 3 | CNS013601-0001¦¦4¦¦1 | [35 empty] | 8 | ECP_7 | 230 | 40 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_7 |  |  | PH1 | 2.5 | 3.5
|  | CBE04420 | ECP_8 |  |  | 8 |  |  | 8 |  | 13 | 2 | CNS013601-0001¦¦4¦¦2 | [35 empty] | 9 | ECP_8 | 230 | 40 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_8 |  |  | PH1 | 2.5 | 3.5
|  | CBE04420 | MD | [14 empty] | DIN Rail mounting | DIN Rail mounting | LINK_MD
|  | CBE04420 | OP
|  | CBE04421 | ECP_1 |  |  | 1 |  |  | 1 |  | 13 | 3 | CNS013601-0001¦¦1¦¦1 | [35 empty] | 8 | ECP_1 | 230 | 63 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_1 |  |  | PH1 | 2.5 | 3.5
|  | CBE04421 | ECP_2 |  |  | 2 |  |  | 2 |  | 13 | 2 | CNS013601-0001¦¦1¦¦2 | [35 empty] | 9 | ECP_2 | 230 | 63 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_2 |  |  | PH1 | 2.5 | 3.5
|  | CBE04421 | MD | [14 empty] | DIN Rail mounting | DIN Rail mounting | LINK_MD
|  | CBE04421 | OP
|  | CBE04422 | ECP_1 |  |  | 1 |  |  | 1 |  | 13 | 3 | CNS013601-0001¦¦1¦¦1 | [35 empty] | 8 | ECP_1 | 230 | 63 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_1 |  |  | PH1 | 2.5 | 3.5
|  | CBE04422 | ECP_2 |  |  | 2 |  |  | 2 |  | 13 | 2 | CNS013601-0001¦¦1¦¦2 | [35 empty] | 9 | ECP_2 | 230 | 63 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_2 |  |  | PH1 | 2.5 | 3.5
|  | CBE04422 | ECP_3 |  |  | 3 |  |  | 3 |  | 13 | 3 | CNS013601-0001¦¦2¦¦1 | [35 empty] | 8 | ECP_3 | 230 | 63 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_3 |  |  | PH1 | 2.5 | 3.5
|  | CBE04422 | ECP_4 |  |  | 4 |  |  | 4 |  | 13 | 2 | CNS013601-0001¦¦2¦¦2 | [35 empty] | 9 | ECP_4 | 230 | 63 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_4 |  |  | PH1 | 2.5 | 3.5
|  | CBE04422 | MD | [14 empty] | DIN Rail mounting | DIN Rail mounting | LINK_MD
|  | CBE04422 | OP
|  | CBE04423 | ECP_1 |  |  | 1 |  |  | 1 |  | 13 | 3 | CNS013601-0001¦¦1¦¦1 | [35 empty] | 8 | ECP_1 | 230 | 63 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_1 |  |  | PH1 | 2.5 | 3.5
|  | CBE04423 | ECP_2 |  |  | 2 |  |  | 2 |  | 13 | 2 | CNS013601-0001¦¦1¦¦2 | [35 empty] | 9 | ECP_2 | 230 | 63 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_2 |  |  | PH1 | 2.5 | 3.5
|  | CBE04423 | ECP_3 |  |  | 3 |  |  | 3 |  | 13 | 3 | CNS013601-0001¦¦2¦¦1 | [35 empty] | 8 | ECP_3 | 230 | 63 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_3 |  |  | PH1 | 2.5 | 3.5
|  | CBE04423 | ECP_4 |  |  | 4 |  |  | 4 |  | 13 | 2 | CNS013601-0001¦¦2¦¦2 | [35 empty] | 9 | ECP_4 | 230 | 63 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_4 |  |  | PH1 | 2.5 | 3.5
|  | CBE04423 | ECP_5 |  |  | 5 |  |  | 5 |  | 13 | 3 | CNS013601-0001¦¦3¦¦1 | [35 empty] | 8 | ECP_5 | 230 | 63 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_5 |  |  | PH1 | 2.5 | 3.5
|  | CBE04423 | ECP_6 |  |  | 6 |  |  | 6 |  | 13 | 2 | CNS013601-0001¦¦3¦¦2 | [35 empty] | 9 | ECP_6 | 230 | 63 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_6 |  |  | PH1 | 2.5 | 3.5
|  | CBE04423 | MD | [14 empty] | DIN Rail mounting | DIN Rail mounting | LINK_MD
|  | CBE04423 | OP
|  | CBE04424 | ECP_1 |  |  | 1 |  |  | 1 |  | 13 | 3 | CNS013601-0001¦¦1¦¦1 | [35 empty] | 8 | ECP_1 | 230 | 63 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_1 |  |  | PH1 | 2.5 | 3.5
|  | CBE04424 | ECP_2 |  |  | 2 |  |  | 2 |  | 13 | 2 | CNS013601-0001¦¦1¦¦2 | [35 empty] | 9 | ECP_2 | 230 | 63 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_2 |  |  | PH1 | 2.5 | 3.5
|  | CBE04424 | ECP_3 |  |  | 3 |  |  | 3 |  | 13 | 3 | CNS013601-0001¦¦2¦¦1 | [35 empty] | 8 | ECP_3 | 230 | 63 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_3 |  |  | PH1 | 2.5 | 3.5
|  | CBE04424 | ECP_4 |  |  | 4 |  |  | 4 |  | 13 | 2 | CNS013601-0001¦¦2¦¦2 | [35 empty] | 9 | ECP_4 | 230 | 63 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_4 |  |  | PH1 | 2.5 | 3.5
|  | CBE04424 | ECP_5 |  |  | 5 |  |  | 5 |  | 13 | 3 | CNS013601-0001¦¦3¦¦1 | [35 empty] | 8 | ECP_5 | 230 | 63 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_5 |  |  | PH1 | 2.5 | 3.5
|  | CBE04424 | ECP_6 |  |  | 6 |  |  | 6 |  | 13 | 2 | CNS013601-0001¦¦3¦¦2 | [35 empty] | 9 | ECP_6 | 230 | 63 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_6 |  |  | PH1 | 2.5 | 3.5
|  | CBE04424 | ECP_7 |  |  | 7 |  |  | 7 |  | 13 | 3 | CNS013601-0001¦¦4¦¦1 | [35 empty] | 8 | ECP_7 | 230 | 63 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_7 |  |  | PH1 | 2.5 | 3.5
|  | CBE04424 | ECP_8 |  |  | 8 |  |  | 8 |  | 13 | 2 | CNS013601-0001¦¦4¦¦2 | [35 empty] | 9 | ECP_8 | 230 | 63 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_8 |  |  | PH1 | 2.5 | 3.5
|  | CBE04424 | MD | [14 empty] | DIN Rail mounting | DIN Rail mounting | LINK_MD
|  | CBE04424 | OP
|  | CBE04425 | ECP_1 |  |  | 1 |  |  | 1 |  | 13 | 3 | CNS013601-0001¦¦1¦¦1 | [35 empty] | 8 | ECP_1 | 230 | 80 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_1 |  |  | PH1 | 2.5 | 3.5
|  | CBE04425 | ECP_2 |  |  | 2 |  |  | 2 |  | 13 | 2 | CNS013601-0001¦¦1¦¦2 | [35 empty] | 9 | ECP_2 | 230 | 80 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_2 |  |  | PH1 | 2.5 | 3.5
|  | CBE04425 | MD | [14 empty] | DIN Rail mounting | DIN Rail mounting | LINK_MD
|  | CBE04425 | OP
|  | CBE04426 | ECP_1 |  |  | 1 |  |  | 1 |  | 13 | 3 | CNS013601-0001¦¦1¦¦1 | [35 empty] | 8 | ECP_1 | 230 | 80 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_1 |  |  | PH1 | 2.5 | 3.5
|  | CBE04426 | ECP_2 |  |  | 2 |  |  | 2 |  | 13 | 2 | CNS013601-0001¦¦1¦¦2 | [35 empty] | 9 | ECP_2 | 230 | 80 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_2 |  |  | PH1 | 2.5 | 3.5
|  | CBE04426 | ECP_3 |  |  | 3 |  |  | 3 |  | 13 | 3 | CNS013601-0001¦¦2¦¦1 | [35 empty] | 8 | ECP_3 | 230 | 80 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_3 |  |  | PH1 | 2.5 | 3.5
|  | CBE04426 | ECP_4 |  |  | 4 |  |  | 4 |  | 13 | 2 | CNS013601-0001¦¦2¦¦2 | [35 empty] | 9 | ECP_4 | 230 | 80 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_4 |  |  | PH1 | 2.5 | 3.5
|  | CBE04426 | MD | [14 empty] | DIN Rail mounting | DIN Rail mounting | LINK_MD
|  | CBE04426 | OP
|  | CBE04427 | ECP_1 |  |  | 1 |  |  | 1 |  | 13 | 3 | CNS013601-0001¦¦1¦¦1 | [35 empty] | 8 | ECP_1 | 230 | 80 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_1 |  |  | PH1 | 2.5 | 3.5
|  | CBE04427 | ECP_2 |  |  | 2 |  |  | 2 |  | 13 | 2 | CNS013601-0001¦¦1¦¦2 | [35 empty] | 9 | ECP_2 | 230 | 80 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_2 |  |  | PH1 | 2.5 | 3.5
|  | CBE04427 | ECP_3 |  |  | 3 |  |  | 3 |  | 13 | 3 | CNS013601-0001¦¦2¦¦1 | [35 empty] | 8 | ECP_3 | 230 | 80 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_3 |  |  | PH1 | 2.5 | 3.5
|  | CBE04427 | ECP_4 |  |  | 4 |  |  | 4 |  | 13 | 2 | CNS013601-0001¦¦2¦¦2 | [35 empty] | 9 | ECP_4 | 230 | 80 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_4 |  |  | PH1 | 2.5 | 3.5
|  | CBE04427 | ECP_5 |  |  | 5 |  |  | 5 |  | 13 | 3 | CNS013601-0001¦¦3¦¦1 | [35 empty] | 8 | ECP_5 | 230 | 80 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_5 |  |  | PH1 | 2.5 | 3.5
|  | CBE04427 | ECP_6 |  |  | 6 |  |  | 6 |  | 13 | 2 | CNS013601-0001¦¦3¦¦2 | [35 empty] | 9 | ECP_6 | 230 | 80 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_6 |  |  | PH1 | 2.5 | 3.5
|  | CBE04427 | MD | [14 empty] | DIN Rail mounting | DIN Rail mounting | LINK_MD
|  | CBE04427 | OP
|  | CBE04428 | ECP_1 |  |  | 1 |  |  | 1 |  | 13 | 3 | CNS013601-0001¦¦1¦¦1 | [35 empty] | 8 | ECP_1 | 230 | 80 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_1 |  |  | PH1 | 2.5 | 3.5
|  | CBE04428 | ECP_2 |  |  | 2 |  |  | 2 |  | 13 | 2 | CNS013601-0001¦¦1¦¦2 | [35 empty] | 9 | ECP_2 | 230 | 80 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_2 |  |  | PH1 | 2.5 | 3.5
|  | CBE04428 | ECP_3 |  |  | 3 |  |  | 3 |  | 13 | 3 | CNS013601-0001¦¦2¦¦1 | [35 empty] | 8 | ECP_3 | 230 | 80 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_3 |  |  | PH1 | 2.5 | 3.5
|  | CBE04428 | ECP_4 |  |  | 4 |  |  | 4 |  | 13 | 2 | CNS013601-0001¦¦2¦¦2 | [35 empty] | 9 | ECP_4 | 230 | 80 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_4 |  |  | PH1 | 2.5 | 3.5
|  | CBE04428 | ECP_5 |  |  | 5 |  |  | 5 |  | 13 | 3 | CNS013601-0001¦¦3¦¦1 | [35 empty] | 8 | ECP_5 | 230 | 80 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_5 |  |  | PH1 | 2.5 | 3.5
|  | CBE04428 | ECP_6 |  |  | 6 |  |  | 6 |  | 13 | 2 | CNS013601-0001¦¦3¦¦2 | [35 empty] | 9 | ECP_6 | 230 | 80 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_6 |  |  | PH1 | 2.5 | 3.5
|  | CBE04428 | ECP_7 |  |  | 7 |  |  | 7 |  | 13 | 3 | CNS013601-0001¦¦4¦¦1 | [35 empty] | 8 | ECP_7 | 230 | 80 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_7 |  |  | PH1 | 2.5 | 3.5
|  | CBE04428 | ECP_8 |  |  | 8 |  |  | 8 |  | 13 | 2 | CNS013601-0001¦¦4¦¦2 | [35 empty] | 9 | ECP_8 | 230 | 80 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_8 |  |  | PH1 | 2.5 | 3.5
|  | CBE04428 | MD | [14 empty] | DIN Rail mounting | DIN Rail mounting | LINK_MD
|  | CBE04428 | OP
|  | CBE04429 | ECP_1 |  |  | 1 |  |  | 1 |  | 13 | 3 | CNS013601-0001¦¦1¦¦1 | [35 empty] | 8 | ECP_1 | 230 | 100 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_1 |  |  | PH1 | 2.5 | 3.5
|  | CBE04429 | ECP_2 |  |  | 2 |  |  | 2 |  | 13 | 2 | CNS013601-0001¦¦1¦¦2 | [35 empty] | 9 | ECP_2 | 230 | 100 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_2 |  |  | PH1 | 2.5 | 3.5
|  | CBE04429 | MD | [14 empty] | DIN Rail mounting | DIN Rail mounting | LINK_MD
|  | CBE04429 | OP
|  | CBE04430 | ECP_1 |  |  | 1 |  |  | 1 |  | 13 | 3 | CNS013601-0001¦¦1¦¦1 | [35 empty] | 8 | ECP_1 | 230 | 100 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_1 |  |  | PH1 | 2.5 | 3.5
|  | CBE04430 | ECP_2 |  |  | 2 |  |  | 2 |  | 13 | 2 | CNS013601-0001¦¦1¦¦2 | [35 empty] | 9 | ECP_2 | 230 | 100 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_2 |  |  | PH1 | 2.5 | 3.5
|  | CBE04430 | ECP_3 |  |  | 3 |  |  | 3 |  | 13 | 3 | CNS013601-0001¦¦2¦¦1 | [35 empty] | 8 | ECP_3 | 230 | 100 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_3 |  |  | PH1 | 2.5 | 3.5
|  | CBE04430 | ECP_4 |  |  | 4 |  |  | 4 |  | 13 | 2 | CNS013601-0001¦¦2¦¦2 | [35 empty] | 9 | ECP_4 | 230 | 100 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_4 |  |  | PH1 | 2.5 | 3.5
|  | CBE04430 | MD | [14 empty] | DIN Rail mounting | DIN Rail mounting | LINK_MD
|  | CBE04430 | OP
|  | CBE04431 | ECP_1 |  |  | 1 |  |  | 1 |  | 13 | 3 | CNS013601-0001¦¦1¦¦1 | [35 empty] | 8 | ECP_1 | 230 | 100 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_1 |  |  | PH1 | 2.5 | 3.5
|  | CBE04431 | ECP_2 |  |  | 2 |  |  | 2 |  | 13 | 2 | CNS013601-0001¦¦1¦¦2 | [35 empty] | 9 | ECP_2 | 230 | 100 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_2 |  |  | PH1 | 2.5 | 3.5
|  | CBE04431 | ECP_3 |  |  | 3 |  |  | 3 |  | 13 | 3 | CNS013601-0001¦¦2¦¦1 | [35 empty] | 8 | ECP_3 | 230 | 100 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_3 |  |  | PH1 | 2.5 | 3.5
|  | CBE04431 | ECP_4 |  |  | 4 |  |  | 4 |  | 13 | 2 | CNS013601-0001¦¦2¦¦2 | [35 empty] | 9 | ECP_4 | 230 | 100 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_4 |  |  | PH1 | 2.5 | 3.5
|  | CBE04431 | ECP_5 |  |  | 5 |  |  | 5 |  | 13 | 3 | CNS013601-0001¦¦3¦¦1 | [35 empty] | 8 | ECP_5 | 230 | 100 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_5 |  |  | PH1 | 2.5 | 3.5
|  | CBE04431 | ECP_6 |  |  | 6 |  |  | 6 |  | 13 | 2 | CNS013601-0001¦¦3¦¦2 | [35 empty] | 9 | ECP_6 | 230 | 100 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_6 |  |  | PH1 | 2.5 | 3.5
|  | CBE04431 | MD | [14 empty] | DIN Rail mounting | DIN Rail mounting | LINK_MD
|  | CBE04431 | OP
|  | CBE04432 | ECP_1 |  |  | 1 |  |  | 1 |  | 13 | 3 | CNS013601-0001¦¦1¦¦1 | [35 empty] | 8 | ECP_1 | 230 | 100 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_1 |  |  | PH1 | 2.5 | 3.5
|  | CBE04432 | ECP_2 |  |  | 2 |  |  | 2 |  | 13 | 2 | CNS013601-0001¦¦1¦¦2 | [35 empty] | 9 | ECP_2 | 230 | 100 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_2 |  |  | PH1 | 2.5 | 3.5
|  | CBE04432 | ECP_3 |  |  | 3 |  |  | 3 |  | 13 | 3 | CNS013601-0001¦¦2¦¦1 | [35 empty] | 8 | ECP_3 | 230 | 100 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_3 |  |  | PH1 | 2.5 | 3.5
|  | CBE04432 | ECP_4 |  |  | 4 |  |  | 4 |  | 13 | 2 | CNS013601-0001¦¦2¦¦2 | [35 empty] | 9 | ECP_4 | 230 | 100 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_4 |  |  | PH1 | 2.5 | 3.5
|  | CBE04432 | ECP_5 |  |  | 5 |  |  | 5 |  | 13 | 3 | CNS013601-0001¦¦3¦¦1 | [35 empty] | 8 | ECP_5 | 230 | 100 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_5 |  |  | PH1 | 2.5 | 3.5
|  | CBE04432 | ECP_6 |  |  | 6 |  |  | 6 |  | 13 | 2 | CNS013601-0001¦¦3¦¦2 | [35 empty] | 9 | ECP_6 | 230 | 100 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_6 |  |  | PH1 | 2.5 | 3.5
|  | CBE04432 | ECP_7 |  |  | 7 |  |  | 7 |  | 13 | 3 | CNS013601-0001¦¦4¦¦1 | [35 empty] | 8 | ECP_7 | 230 | 100 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_7 |  |  | PH1 | 2.5 | 3.5
|  | CBE04432 | ECP_8 |  |  | 8 |  |  | 8 |  | 13 | 2 | CNS013601-0001¦¦4¦¦2 | [35 empty] | 9 | ECP_8 | 230 | 100 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_8 |  |  | PH1 | 2.5 | 3.5
|  | CBE04432 | MD | [14 empty] | DIN Rail mounting | DIN Rail mounting | LINK_MD
|  | CBE04432 | OP
|  | CBE04433 | ECP_1 |  |  | 1 |  |  | 1 |  | 13 | 3 | CNS013601-0001¦¦1¦¦1 | [35 empty] | 8 | ECP_1 | 230 | 125 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_1 |  |  | PH1 | 2.5 | 3.5
|  | CBE04433 | ECP_2 |  |  | 2 |  |  | 2 |  | 13 | 2 | CNS013601-0001¦¦1¦¦2 | [35 empty] | 9 | ECP_2 | 230 | 125 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_2 |  |  | PH1 | 2.5 | 3.5
|  | CBE04433 | MD | [14 empty] | DIN Rail mounting | DIN Rail mounting | LINK_MD
|  | CBE04433 | OP
|  | CBE04434 | ECP_1 |  |  | 1 |  |  | 1 |  | 13 | 3 | CNS013601-0001¦¦1¦¦1 | [35 empty] | 8 | ECP_1 | 230 | 125 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_1 |  |  | PH1 | 2.5 | 3.5
|  | CBE04434 | ECP_2 |  |  | 2 |  |  | 2 |  | 13 | 2 | CNS013601-0001¦¦1¦¦2 | [35 empty] | 9 | ECP_2 | 230 | 125 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_2 |  |  | PH1 | 2.5 | 3.5
|  | CBE04434 | ECP_3 |  |  | 3 |  |  | 3 |  | 13 | 3 | CNS013601-0001¦¦2¦¦1 | [35 empty] | 8 | ECP_3 | 230 | 125 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_3 |  |  | PH1 | 2.5 | 3.5
|  | CBE04434 | ECP_4 |  |  | 4 |  |  | 4 |  | 13 | 2 | CNS013601-0001¦¦2¦¦2 | [35 empty] | 9 | ECP_4 | 230 | 125 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_4 |  |  | PH1 | 2.5 | 3.5
|  | CBE04434 | MD | [14 empty] | DIN Rail mounting | DIN Rail mounting | LINK_MD
|  | CBE04434 | OP
|  | CBE04435 | ECP_1 |  |  | 1 |  |  | 1 |  | 13 | 3 | CNS013601-0001¦¦1¦¦1 | [35 empty] | 8 | ECP_1 | 230 | 125 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_1 |  |  | PH1 | 2.5 | 3.5
|  | CBE04435 | ECP_2 |  |  | 2 |  |  | 2 |  | 13 | 2 | CNS013601-0001¦¦1¦¦2 | [35 empty] | 9 | ECP_2 | 230 | 125 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_2 |  |  | PH1 | 2.5 | 3.5
|  | CBE04435 | ECP_3 |  |  | 3 |  |  | 3 |  | 13 | 3 | CNS013601-0001¦¦2¦¦1 | [35 empty] | 8 | ECP_3 | 230 | 125 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_3 |  |  | PH1 | 2.5 | 3.5
|  | CBE04435 | ECP_4 |  |  | 4 |  |  | 4 |  | 13 | 2 | CNS013601-0001¦¦2¦¦2 | [35 empty] | 9 | ECP_4 | 230 | 125 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_4 |  |  | PH1 | 2.5 | 3.5
|  | CBE04435 | ECP_5 |  |  | 5 |  |  | 5 |  | 13 | 3 | CNS013601-0001¦¦3¦¦1 | [35 empty] | 8 | ECP_5 | 230 | 125 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_5 |  |  | PH1 | 2.5 | 3.5
|  | CBE04435 | ECP_6 |  |  | 6 |  |  | 6 |  | 13 | 2 | CNS013601-0001¦¦3¦¦2 | [35 empty] | 9 | ECP_6 | 230 | 125 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_6 |  |  | PH1 | 2.5 | 3.5
|  | CBE04435 | MD | [14 empty] | DIN Rail mounting | DIN Rail mounting | LINK_MD
|  | CBE04435 | OP
|  | CBE04436 | ECP_1 |  |  | 1 |  |  | 1 |  | 13 | 3 | CNS013601-0001¦¦1¦¦1 | [35 empty] | 8 | ECP_1 | 230 | 125 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_1 |  |  | PH1 | 2.5 | 3.5
|  | CBE04436 | ECP_2 |  |  | 2 |  |  | 2 |  | 13 | 2 | CNS013601-0001¦¦1¦¦2 | [35 empty] | 9 | ECP_2 | 230 | 125 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_2 |  |  | PH1 | 2.5 | 3.5
|  | CBE04436 | ECP_3 |  |  | 3 |  |  | 3 |  | 13 | 3 | CNS013601-0001¦¦2¦¦1 | [35 empty] | 8 | ECP_3 | 230 | 125 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_3 |  |  | PH1 | 2.5 | 3.5
|  | CBE04436 | ECP_4 |  |  | 4 |  |  | 4 |  | 13 | 2 | CNS013601-0001¦¦2¦¦2 | [35 empty] | 9 | ECP_4 | 230 | 125 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_4 |  |  | PH1 | 2.5 | 3.5
|  | CBE04436 | ECP_5 |  |  | 5 |  |  | 5 |  | 13 | 3 | CNS013601-0001¦¦3¦¦1 | [35 empty] | 8 | ECP_5 | 230 | 125 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_5 |  |  | PH1 | 2.5 | 3.5
|  | CBE04436 | ECP_6 |  |  | 6 |  |  | 6 |  | 13 | 2 | CNS013601-0001¦¦3¦¦2 | [35 empty] | 9 | ECP_6 | 230 | 125 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_6 |  |  | PH1 | 2.5 | 3.5
|  | CBE04436 | ECP_7 |  |  | 7 |  |  | 7 |  | 13 | 3 | CNS013601-0001¦¦4¦¦1 | [35 empty] | 8 | ECP_7 | 230 | 125 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_7 |  |  | PH1 | 2.5 | 3.5
|  | CBE04436 | ECP_8 |  |  | 8 |  |  | 8 |  | 13 | 2 | CNS013601-0001¦¦4¦¦2 | [35 empty] | 9 | ECP_8 | 230 | 125 | 690 |  | 2.5 | 50 | 50 | 14 | 1 | 1 |  |  |  |  | 1 |  |  | ECP_8 |  |  | PH1 | 2.5 | 3.5
|  | CBE04436 | MD | [14 empty] | DIN Rail mounting | DIN Rail mounting | LINK_MD
|  | CBE04436 | OP

## Product Accessory
ClassId |  | CNSELEK¦5¦4 | CNSELEK¦5¦4 | CNSELEK¦5¦4 | CNSELEK¦5¦4 | CNSELEK¦5¦4 | CNSELEK¦5¦4 | CNSELEK¦5¦4
Priority | Must field if accessory is added | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field | Optional field
Type | Material Master Data | Connection points | Connection points | Product property | Product property | Product property | Product property | Product property
PropertyId | - | CNS_PARENT_CLS_ID_INST_ID | AAO676 | AAN350 | AAO663 | AAO677 | AAW338 | AAN553
PropertyName | - | 00004D001 | 000059001 | 000054001 | 000058001 | 00005A001 | 00005B001 | CNS_ASSOCIATED_PART_VARIANT_NAME
Description | Articlenumber main product | Connection point name / Pin name Main product (only necessary for pin based accessory) | Articlenumber accessory | Part relation to the main device (default = 1) 1 - accessory 2 - counterpart 3 - Label parts (inscription / marking) 4 - maintenance part 5 - resolve part 6 - spare 7 - system component 8 - Services 9 - Successor 10 - Substitute 11 - Alternative order unit | GTIN (string) | Manufacturer name (string) | Manufacturer product designation (string) | Accessory variant name / usage info
Unit | - | - | - | - | - | - | - | -
Body

## contactor a. fuses
ClassId
Priority |  | Must field if available, if not created from ECADPORT | Must field if available, if not created from ECADPORT | Must field | Optional | Optional | Must field | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional | Optional
Type |  | Product main group | Product main group | Material Master Data | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property | Product property
PropertyId | ECLASS property | REFERENCE_FEATURE_GROUP_ID | REFERENCE_FEATURE_SYSTEM_NAME | AAO676 | AAN521 | BAH005 | AAS575 | AAF726 | AAB821 | BAD915 | AAC820 | AAC821 | AAT080 | AAC824 | AAF583 | BAG975 | BAC140 | BAB392 | AAB456 | AAC828 | AAB447 | AAB460 | AAB542 | AAB667 | BAC426 | BAC378 | AAS568 | BAA303 | AAB958 | AAB959 | AAC148 | BAA297 | BAC050 | AAN354 | AAH656 | AAS573 | BAD304 | AAS574 | AAB438 | AAB476 | AAS566 | AAS569 | AAM479 | AAH655 | AAS565 | AAB416 | AAB455 | AAS570 | AAS567 | AAP406 | BAD346 | BAD706 | AAZ487 | AAP697 | AAP798 | AAB414 | AAN384 | AAN375 | BAC915
PropertyName | Variable name (CNS internal) | Only Classification | Only Classification | AAO676 | AAN521 | BAH005 | AAS575 | AAF726 | AAB821 | BAD915 | AAC820 | AAC821 | AAT080 | AAC824 | AAF583 | BAG975 | BAC140 | BAB392 | AAB456 | AAC828 | AAB447 | AAB460 | AAB542 | AAB667 | BAC426 | BAC378 | AAS568 | BAA303 | AAB958 | AAB959 | AAC148 | BAA297 | BAC050 | AAN354 | AAH656 | AAS573 | BAD304 | AAS574 | AAB438 | AAB476 | AAS566 | AAS569 | AAM479 | AAH655 | AAS565 | AAB416 | AAB455 | AAS570 | AAS567 | AAP406 | BAD346 | BAD706 | AAZ487 | AAP697 | AAP798 | AAB414 | AAN384 | AAN375 | BAC915
Description | English variable description | ECLASS number 27-02-40-** 27-37-**-** 27-14-21-** | ECLASS number (up to the current version) | product article number of manufacturer (string) | Color (insert number or the name of the material, in common 38 values possible ) 1 - aluminum 2 - anthracite 3 - beige 4 - Black 5 - black-transparent 6 - Blue 7 - Brass 8 - Bronze 9 - Brown 10 - Chromium 11 - cream white/electro white 12 - cyan (blue-green) 13 - Gold 14 - green 15 - green-yellow 16 - Grey 17 - light grey 18 - Lilac/violet 19 - metallic 20 - multi-colored 21 - Natural 22 - Nickel 23 - Orange 24 - pink 25 - Platinum 26 - red 27 - Silver 28 - Stainless steel 29 - Titanium 30 - Transparent 31 - Transparent 32 - turquoise 33 - violet 34 - White 35 - Without 36 - Without housing 37 - Wood 38 - yellow | rated voltage | Power loss per pole | rated current | Max. rated operating current | Voltage type 1 - AC 2 - AC, alternating current 3 - AC/DC 4 - DC 5 - DC, direct current 6 - UC, direct current/alternating current | Min operating temperature | Max operating temperature | Pole number | Nominal current | Nominal voltage | degree of protection 1 - IP65/IP67 (according to IEC 60529) 2 - IP65/IP67 3 - IP00 4 - IP2X 5 - IP2XC 6 - IP3X 7 - IP05 8 - IP10 9 - IP12 10 - IP13B 11 - IP20 12 - IP21 13 - IP22 14 - IP23 15 - IP23D 16 - IP24 17 - IP24D 18 - IP25 19 - IP25D 20 - IP30 21 - IP31 22 - IP32 23 - IP33 24 - IP34 25 - IP34D 26 - IP35 27 - IP40 28 - IP41 29 - IP42 30 - IP43 31 - IP44 32 - IP45 33 - IP50 34 - IP52 35 - IP53 36 - IP54 37 - IP55 38 - IP56 39 - IP57 40 - IP58 41 - IP64 42 - IP65 43 - IP65/IP67 44 - IP66 45 - IP66/IP67 46 - IP67 47 - IP67K 48 - IP68 49 - IP69K 50 - IPX0 51 - IPX1 52 - IPX3 53 - IPX4 54 - IPX5 55 - IPX7 56 - IP67/IP69K 57 - IP69 | Combustibility class 1 - 5V 2 - HB 3 - HBF 4 - HBF1 5 - HBF2 6 - V0 7 - V1 8 - V2 9 - VTM0 10 - VTM1 11 - VTM2 | certificate/approval 1 - BG-PRÜFZERT 2 - Blue angel 3 - Blue Angel (RAL-UZ 2) 4 - Blue Angel (RAL-UZ 5) 5 - Blue Angel (RAL-UZ 12a) 6 - Blue Angel (RAL-UZ 13) 7 - Blue Angel (RAL-UZ 14) 8 - Blue Angel (RAL-UZ 17) 9 - Blue Angel (RAL-UZ 21) 10 - Blue Angel (RAL-UZ 24) 11 - Blue Angel (RAL-UZ 27) 12 - Blue Angel (RAL-UZ 30a) 13 - Blue Angel (RAL-UZ 32) 14 - Blue Angel (RAL-UZ 34) 15 - Blue Angel (RAL-UZ 35) 16 - Blue Angel (RAL-UZ 38) 17 - Blue Angel (RAL-UZ 47) 18 - Blue Angel (RAL-UZ 48) ... | Rated operating power with AC-3, 400V | Lowest value of setting range for overload tripper | Conditional rated short-circuit current Iq | Rated operating current Ie | Greatest value of overload release adjustment range | suitable for mounting onto standard rails 1 - No 2 - Yes | Function 1 - electronic for central control unit 2 - electronic group switch 3 - electronic serial switch 4 - electronic switch 5 - electronic with back-back delay 6 - mechanical for central control 7 - mechanical group switch 8 - mechanical serial switch 9 - mechanical switch 10 - Two-way contactor 11 - Star-delta contactor 12 - PLC-PLC 13 - PLC-PC 14 - PLC programming unit 15 - PLC other devices 16 - PLC extension | Connection type 1 - backside screw connection 2 - Bar-type current transformer 3 - Bolt connection 4 - Cable terminal screw 5 - Clamping strap 6 - Connecting rail 7 - Flat plug-in connector 8 - Frame clamp 9 - Pc-board connection 10 - Print connection 11 - Rail connection 12 - Ring cable connection 13 - Screw connection 14 - Spring pulley connection 15 - tunnel terminal 16 - patterned | Rated conditional short-circuit current, type 1, 480 Y/277 V | Power loss, static, current-independent [Pls] | min. rated control voltage Us with AC 50 Hz | min. rated control voltage Us with AC 60 Hz | isolating function present 1 - No 2 - Yes | Type of protocol 1 - PROFIBUS PA 2 - Foundation Fieldbus FF-H1 protocol 3 - PROFIBUS DP 4 - manufacturer-specific 5 - CSMA/CD protocol 6 - FIP protocol 7 - HART protocol 8 - IEEE 802.11b 9 - IEEE 802.11d 10 - IEEE 802.11e 11 - IEEE 802.11f 12 - IEEE 802.11g 13 - IEEE 802.11i 14 - IEEE 802.11j 15 - IEEE 802.11n 16 - IO-Link 17 - PROFIBUS protocol 18 - Protocol via IEEE 488-Bus 19 - Protocol via RS-232 20 - Protocol via RS-485 21 - Protocol via SCSI-Bus 22 - CANopen 23 - Protocol via RS-422 24 - Standard protocol MAP 25 - Standard protocol TOP 26 - Token protocol 27 - EtherCAT | Type of actuation 1 - AC 2 - AC/DC 3 - DC 4 - Internal power supply | material declaration 1 - No 2 - Yes | min. overload protector | Temperature compensated overload protection 1 - No 2 - Yes | Bearing track assembly possible 1 - No 2 - Yes | Rated current [In] for the power loss specification | Release class 1 - Other 2 - adjustable 3 - CLASS 10 4 - CLASS 20 | Rated operating current Ie with AC-3, 400 V | Rated power, 460 V, 60 Hz, 3-phase | Rated conditional short-circuit current, type 1, 600 Y/347 V | supported protocol 1 - ASi 2 - AS interface safety at work 3 - CAN 4 - CANopen 5 - Data-Highway 6 - DeviceNet 7 - DeviceNet Safety 8 - EtherNet/IP 9 - Foundation Fieldbus 10 - INTERBUS 11 - INTERBUS-Safety 12 - KNX 13 - LON 14 - MODBUS 15 - other bus systems 16 - PROFIBUS 17 - PROFIBUS DP 18 - PROFIBUS PA 19 - PROFIBUS Safety 20 - PROFINET CBA 21 - PROFINET IO 22 - PROFIsafe 23 - SafetyBUS p 24 - sercos 25 - SUCONET 26 - TCP/IP 27 - IO-Link 28 - PROFINET 29 - EtherCAT 30 - USB 31 - BACnet | max. overload protector | Kind of motor starter 1 - Other 2 - Two-way starter 3 - Star-delta starter 4 - repair switch 5 - Direct starter | Design of the electrical connection for auxiliary and control current circuit 1 - Without 2 - Soldering lug connection 3 - Plug/coupler 4 - Round conductor/lamellar copper rails 5 - Round conductor/copper rails 6 - Round conductor 7 - Lamellar copper rails 8 - Terminal screw/screwed fastening 9 - 3 lines AWG 12 10 - 3 lines AWG 10/3 terminals 10 mm² 11 - 3 lines AWG 10 12 - Screw connection 13 - Spring pulley connection | Rated operating power with AC-3, 230 V | Rated conditional short-circuit current, type 2, 230 V | Rated power, 575 V, 60 Hz, 3-phase | Number of control centers | External reset possible 1 - No 2 - Yes | suitable for EMERGENCY-OFF 1 - No 2 - Yes | Degree of protection (NEMA), front side 1 - NEMA 3, 4, 7, 9 2 - NEMA 3, 4, 12 3 - NEMA 7, 9 4 - NEMA 1, 2, 3R, 12, 13 5 - NEMA 1, 4X, 12K, Indoor use only, 13 6 - NEMA 1, 2, 3, 3R, 4, 4X, 12K, 13 7 - NEMA 1, 2, 3, 3R, 4, 4X, 12, 13 8 - NEMA 1, 2, 3, 3R, 4, 4X, 12K 9 - NEMA 1, 2, 3, 3R, 4, 4X 10 - NEMA 1, 2, 4X, 12, Indoor use only 11 - NEMA 1, 2, 3, 3R, 4, 4X, 12 ... | Number of signal lamps | Application standards | Design of the electrical connection 1 - 3 lines AWG 10 2 - 3 lines AWG 10/3 terminals 10 mm² 3 - 3 lines AWG 12 4 - Lamellar copper rails 5 - Plug/coupler 6 - Round conductor 7 - Round conductor/copper rails 8 - Round conductor/lamellar copper rails 9 - Screw connection 10 - Soldering lug connection 11 - Spring pulley connection 12 - Terminal screw/screwed fastening 13 - Without | over and/or under voltage detection present 1 - No 2 - Yes | over and/or under current detection present 1 - No 2 - Yes | Switch function 1 - Control switch 2 - Louver switch 3 - Main switch 4 - Switch-off 5 - On/Off 6 - Selective switch
Unit | Units | - | - | - | - | V | W | A | A | - | °C | °C | - | - | - | - | - | - | kW | A | kA | A | A | - | - | - | A | W | V | V | - | - | - | - | A | - | - | A | - | A | kW | A | - | A | - | - | kW | A | kW | - | - | - | - | - | - | - | - | - | -
Body
|  | 27070203 | 13 | CBE04417 |  | 230 |  | 40 |  | AC | -25 | 60 | 1 |  |  | IP20 | [9 empty] | 13
|  | 27070203 | 13 | CBE04418 |  | 230 |  | 40 |  | AC | -25 | 60 | 2 |  |  | IP20 | [9 empty] | 13
|  | 27070203 | 13 | CBE04419 |  | 230 |  | 40 |  | AC | -25 | 60 | 3 |  |  | IP20 | [9 empty] | 13
|  | 27070203 | 13 | CBE04420 |  | 230 |  | 40 |  | AC | -25 | 60 | 4 |  |  | IP20 | [9 empty] | 13
|  | 27070203 | 13 | CBE04421 |  | 230 |  | 63 |  | AC | -25 | 60 | 1 |  |  | IP20 | [9 empty] | 13
|  | 27070203 | 13 | CBE04422 |  | 230 |  | 63 |  | AC | -25 | 60 | 2 |  |  | IP20 | [9 empty] | 13
|  | 27070203 | 13 | CBE04423 |  | 230 |  | 63 |  | AC | -25 | 60 | 3 |  |  | IP20 | [9 empty] | 13
|  | 27070203 | 13 | CBE04424 |  | 230 |  | 63 |  | AC | -25 | 60 | 4 |  |  | IP20 | [9 empty] | 13
|  | 27070203 | 13 | CBE04425 |  | 230 |  | 80 |  | AC | -25 | 60 | 1 |  |  | IP20 | [9 empty] | 13
|  | 27070203 | 13 | CBE04426 |  | 230 |  | 80 |  | AC | -25 | 60 | 2 |  |  | IP20 | [9 empty] | 13
|  | 27070203 | 13 | CBE04427 |  | 230 |  | 80 |  | AC | -25 | 60 | 3 |  |  | IP20 | [9 empty] | 13
|  | 27070203 | 13 | CBE04428 |  | 230 |  | 80 |  | AC | -25 | 60 | 4 |  |  | IP20 | [9 empty] | 13
|  | 27070203 | 13 | CBE04429 |  | 230 |  | 100 |  | AC | -25 | 60 | 1 |  |  | IP20 | [9 empty] | 13
|  | 27070203 | 13 | CBE04430 |  | 230 |  | 100 |  | AC | -25 | 60 | 2 |  |  | IP20 | [9 empty] | 13
|  | 27070203 | 13 | CBE04431 |  | 230 |  | 100 |  | AC | -25 | 60 | 3 |  |  | IP20 | [9 empty] | 13
|  | 27070203 | 13 | CBE04432 |  | 230 |  | 100 |  | AC | -25 | 60 | 4 |  |  | IP20 | [9 empty] | 13
|  | 27070203 | 13 | CBE04433 |  | 230 |  | 125 |  | AC | -25 | 60 | 1 |  |  | IP20 | [9 empty] | 13
|  | 27070203 | 13 | CBE04434 |  | 230 |  | 125 |  | AC | -25 | 60 | 2 |  |  | IP20 | [9 empty] | 13
|  | 27070203 | 13 | CBE04435 |  | 230 |  | 125 |  | AC | -25 | 60 | 3 |  |  | IP20 | [9 empty] | 13
|  | 27070203 | 13 | CBE04436 |  | 230 |  | 125 |  | AC | -25 | 60 | 4 |  |  | IP20 | [9 empty] | 13